[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

TO:
NAESB WEQ Standards Review Subcommittee (SRS) Participants and Interested Parties

FROM:

Ed Overtree, Meeting/Project Manager
RE:
WEQ Standards Review Subcommittee (SRS) Conference Call Meeting Final Minutes – January 29, 2007
DATE:
January 30, 2007
NORTH AMERICAN ENERGY STANDARDS BOARD

WEQ SRS CONFERENCE CALL MEETING

January 29, 2007 - 2:00 pm to 3:00 pm Central
FINAL MINUTES
1.  
Welcome and Administrative
Mr. Saini welcomed participants to the meeting.  Mr. Overtree gave the antitrust guidelines.  Mr. Saini asked to add one item -- “Voltage and Reactive Control” -- to the Agenda, after item 3, “Underfrequency Load Shedding.”  Mr. Schwermann moved to adopt the agenda as thus revised and Mr. Cyrulewski seconded the motion.  The agenda was adopted as revised.  The subcommittee next reviewed the draft minutes of its December 18, 2006 meeting and found no changes.  Mr. Schwermann moved to adopt the December 18 minutes and Mr. Pritchard seconded the motion.  The motion was approved unanimously.      
2. Discuss format for future SRS meetings (holding two hour conference calls every other month with web conferencing)
Mr. Saini noted that having fewer, longer meetings with web conferencing has been suggested because of the delay in standards drafting progress at NERC and the subcommittee’s need to look at SARs together.  The subcommittee agreed that those changes would be desirable.  Please see Future Meetings below for the 2007 schedule.
3. Review NERC SARs and Standards Under Development.

· Resource Adequacy Assessments (reported by Ms. Rehman)
Status:  On hold at NERC until 2008, per NERC’s Plan
Action:  Retain on this subcommittee’s future agenda for monitoring
· Revisions to BAL-004 – Time Error Correction (reported by Ms. Rehman)
Status:  NERC subcommittee meeting reportedly scheduled, but nothing new posted on NERC website yet

Action:  Retain on this subcommittee’s future agenda for monitoring

· Revisions to BAL-005 – ACE Equation Implementation (to be reported by Mr.Wood)
Status:  Mr. Wood did not attend conference call

Action:  Retain on this subcommittee’s agenda for Wood report
· Revisions to BAL-006 – Inadvertent Interchange Data (reported by Ms. Rehman)

Status:  NERC revised SAR reportedly drafted, but nothing new posted on NERC website 

Action:  Retain on this subcommittee’s future agenda for monitoring
· Revisions to IRO-004 – Require timely submission of data (reported by Ms. Kirby)

Status:  On hold at NERC until further notice

Action:  Retain on this subcommittee’s future agenda for monitoring
· Nuclear Plant Off-site Power Supply Coordination (reported by Mr. Saini)
Status: NERC about to post third draft requiring cost estimates and deadline for updating transco agreements  

Action:  No model business practices will be needed, since no standardization is possible.  Mr. Pritchard moved, seconded by Mr. Cyrulewski, to delete this SAR from monitoring by this subcommittee because the development of complementary commercial practices is not needed at this time.  The motion was approved by consensus.

· Under-frequency Load Shedding (reported by Mr. Saini)
Status:  Version 1.0 available and reviewed; comments were due on January 12. 2007  

Action:  No commercial implications, so no MBPs required at this time.  Mr. Pritchard suggested we continue to monitor, however, as SAR is drafted and Mr. Saini so recommended.
· Voltage and Reactive Control (reported by Mr. Saini)
Status:  VAR 001-1 and 002-1 posted and reviewed
Action:  No model business practices will be needed, since no standardization is possible.  Mr. Cyrulewski moved, seconded by Mr. Schwermann, to delete this SAR from monitoring by this subcommittee because the development of complementary commercial practices is not needed at this time.  The motion was approved by consensus.

· Transmission Vegetation Management (no one looked at yet)

Status:  NERC drafting team nominated on January 29. 2007  

Action:  Review on web conference March 19.

· Facility Ratings (no one looked at yet)

Status:  NERC drafting team nominated on January 29. 2007  

Action:  Review on web conference March 19.

4. Review December NERC Bulletin

Status:  No one has had time to review  

Action:  Review on web conference March 19.

5. Other Business

Mr. Schwermann asked whether or not the JIC was to be abolished and, if so, would this subcommittee have added responsibilities.  Ms. Kirby advised checking with the WEQ Executive Committee.  She added that for the time being, the SRS will continue with the task of identifying whether complementary commercial practices are needed for new NERC SARs and NERC Standards recently developed. 
6. Future Meetings
The SRS scheduled the 2007 conference calls, with web conferencing, at 2:00 – 4:00 p.m. Central time on:
March 19
May 21
July 23
September 24 and 

November 12
7. Adjourn

The meeting was adjourned by consensus at 2:38 p.m. Central time.
8. Attendance
	Name
	Organization

	Jim Cyrulewski
	JD RJC Associates

	DeDe Kirby
	NAESB

	Bob McKee
	Market Transmission

	Rebecca Moore-Darrah
	MISO

	Ed Overtree
	NAESB

	Marjorie Perlman
	EnergyEast

	Alan Pritchard
	Duke Energy

	Barbara Rehman
	Bonneville Power Authority

	Narinder Saini
	Entergy

	Bob Schwermann
	Sacramento Municipal Utility District


WEQ Standards Review Subcommittee Conference Call Final Minutes – January 29, 2006

Page 1

