TVA Comments on NERC Resource Adequacy SAR
The following comments concerning the Resource Adequacy SAR were also filed with NERC.

While TVA is not totally opposed to resource adequacy standards, we believe it may not be a good idea from a regional standpoint due to the diversity of systems.  TVA believes that the current standards are adequate.  However, if NERC moves forward with new standards, TVA would like to see some flexibility for the RRO, the sub-region, or the reserve sharing group to set their own margins.

There are additional sensitivities that need to be considered as part of resource adequacy requirements, such as the uniqueness of each sub-region for interruptible products and demand-side management options, quick-start combustions turbines, and alternate fuel sources.
