[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

August 10, 2006
TO:
NAESB WEQ Standards Review Subcommittee (SRS) Participants and Interested Parties

FROM:

DeDe Kirby, Meeting/Project Manager
RE:
Standards Review Subcommittee Conference Call Agenda – August 21, 2006
Dear SRS Participants and Interested Parties,

The WEQ Standards Review Subcommittee will hold a conference call on August 21, 2006 from 2:00 PM to 4:00 PM Central.  During the conference call, the SRS will review and discuss questions on the draft scoping document on R05026 (Thirteen incremental enhancements to OASIS). Also, the subcommittee will review NERC Standards Authorization Requests currently under development, current NERC Ballots, and the latest NERC Bulletin for possible NAESB business standards development.  Work papers for the meeting are posted on the WEQ SRS page at http://www.naesb.org/weq/weq_standards_review.asp.  
Please call the office (713-356-0060) for call-in instructions.  As with all NAESB meetings, the meeting is open to any interested party.  

Please feel free to call the NAESB office should you have any questions or comments.

Best Regards,

DeDe Kirby
NORTH AMERICAN ENERGY STANDARDS BOARD

STANDARDS REVIEW SUBCOMMITEE
CONFERENCE CALL – August 21, 2006 - 2:00 pm to 4:00 pm Central

DRAFT AGENDA


1.  
Welcome

· Antitrust Guidelines

· Welcome to members and attendees

· Introduction and Roll Call

· Adoption of agenda
· Adoption of June 8, 2006 and July 13, 2006 Draft Minutes

2. Develop future plan of action for draft scoping document for R05026 (Thirteen incremental enhancements to OASIS)
· Comparison to NOPR on OATT Reform

3. Review NERC Ballots (includes draft standards recently balloted)
.
· Urgent Action: SPP Regional Difference – BAL-006 (Also posted for a 30 day Pre-ballot review through March 20, 2006)

· Purpose: SPP is requesting a regional difference from certain NERC TLR procedures and requirements in order to implement their proposed Energy Imbalance Service Market as filed with FERC
· Status: The initial ballot for the Urgent Action SPP Regional Difference to IRO-006 did not achieve a quorum, and the standard will undergo a re-ballot from April 28 through May 18, 2006
· Action Item for WEQ SRS to learn status of SAR
· Balance Resources and Demand

· Purpose: To maintain Interconnection scheduled frequency within a predefined frequency profile under all conditions (i.e., normal and abnormal), to prevent unwarranted load shedding and to prevent frequency related cascading collapse of the interconnected grid.
· Status: Phase II of the proof-of concept field-testing began on July 6 with eight balancing authorities and three reliability coordinators.  Since then the testing has expanded to include 15 balancing authorities and six reliability coordinators.  The testing is closely monitored, and reliability coordinators have the authority to suspend the test at any time for reliability-related reasons.  Since the testing began, there has been only one instance where the Eastern interconnection's Frequency Trigger Limit was exceeded for 30 minutes or longer. The drafting team is posting the draft 5 standards (BAL-007-1 through BAL-011-1) for a 45-day comment period beginning June 1, 2006.
· Action item from June 8th to determine if commercial implications

· Phase III/IV Planning Standards

· Purpose: Certain planning standards that were part of the Phase III- IV NERC compliance program were not included in the Version 0 reliability standards.  The Version 0 drafting team, supported by industry comments, realized it could not achieve industry consensus on these specific standards in the timeframe or within the scope of the Version 0 standards project.  These standards are important, nonetheless, as they contain critical reliability requirements in support of recommendations from the NERC and U.S./Canada Power System Outage Task Force reports on the August 14, 2003 blackout.  Recognizing the importance of these standards, the NERC board resolved on October 15, 2004, that: "A satisfactory resolution of the issues regarding Phases III and IV of the planning standards would be to: (1) develop reliability standards covering the Phase III and Phase IV issues separate from the Version 0 effort, using the NERC standards development process; (2) have the Planning Committee expeditiously complete the drafting of the proposed standards needed to address the Phase III and Phase IV issues, and move those standards through the NERC standards development process as promptly as possible, but not later than the May 2005 board meeting."  This SAR proposes the development of reliability standards that address the disturbance monitoring and reporting requirements of those Phase III-IV planning standards.
· Status: The drafting team subdivided these standards into two sets.  Set One contains 12 standards: eight (MOD-024, MOD-025, PRC-003, PRC-004, PRC-005, PRC-020, PRC-021, PRC-022) were approved by a Ballot Pool on February 3 and approved for adoption by the NERC Board of Trustees on February 7, 2006; two standards (PRC-002 and PRC-018) were posted for comment through January 17 and the drafting team is considering the comments; two standards (PRC-019 and PRC-024) require field testing. Set Two contains seven standards: three (EOP-005, MOD-013, MOD-016) were posted for a ten-day ballot period through March 30, 2006; three (VAR-001, VAR-002, VAR-003) were posted for comment through April 15, 2006 and are under review by the drafting team; and two (MOD-026, MOD-027) require field testing.  The drafting team has posted its response to comments and announces a 30-day pre-ballot review for Draft 5 Set 1 (PRC-002 and PRC-018). Balloting will begin after the review period ends.  The drafting team has also posted Draft 4 Set 2 for a 30-day pre-ballot review (VAR-001 and VAR-002, and TOP-002-1, which was modified as a result of the VAR standards). Balloting will begin after the review period ends.  Ballot Pools approved EOP-005-1, MOD-013-1, and MOD-016-1 on April 26, 2006.  The NERC Board of Trustees approved these standards for adoption at its May 2, 2006 meeting.
· Action item from June 8, 2006 meeting to discuss potential commercial implications with NERC 
4. Review SARs under development to determine if companion NAESB requests are needed (please note that this agenda item includes all SARs at NERC currently in the development phase that have not already been voted on by the SRS): 

· Provide Missing Measures and Compliance Elements in Existing Standards

· Purpose: The translation to Version 0 Reliability standards was limited to include only existing requirements, measures and compliance elements.  The CCMC has reviewed the Version 0 standards and identified many existing reliability standards that are missing measures and compliance elements.  Revisions to these standards are needed to complete the missing elements defined in the Reliability Standards Process Manual and to enable inclusion of these standards in the Compliance Monitoring Program.  
· Revisions to EOP-004-0 Disturbance Reporting

· Purpose: The United States Department of Energy (DOE) recently superceded form EIA-417 with OE-417.  The Attachments to EOP-004-0 Disturbance Reporting include reference and text from EIA-417 as well as mirroring some of the reporting requirements included in EIA-417. The standard needs to be modified to reflect the new DOE OE-417.
· Resource Adequacy Assessments
· Purpose: The purpose of this standard is to implement certain recommendations from the Resource and Transmission Adequacy Task Force (RTATF) Report and the Gas/Electricity Interdependency Task Force Report, approved by the NERC Board on June 15, 2004, related to resource adequacy
· Status: The drafting team has posted consideration to comments on the SAR, and revised the SAR and is seeking feedback on the changes made)
· Action Item for WEQ SRS to note if changes correspond or are related to NOPR on OATT Reform
5. Review March - July 2006 NERC Bulletin
6. Other Business

7. Future Meetings
· September 14, 2006

· October 12, 2006

· November 9, 2006

· December 21, 2006

8. Adjourn

� Language included describing the purpose and status of SARS is taken from the NERC website ‘Standards Under Development page at http://www.nerc.com/~filez/standards/Reliability_Standards_Under_Development.html.





WEQ Standards Review Subcommittee Conference Call Agenda – August 21, 2006
Page 4

