[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

TO:
NAESB WEQ Standards Review Subcommittee (SRS) Participants and Interested Parties

FROM:

DeDe Kirby, Meeting/Project Manager
RE:
WEQ Standards Review Subcommittee (SRS) Conference Call Meeting Draft Minutes – August 21, 2006
DATE:
August 12, 2006

NORTH AMERICAN ENERGY STANDARDS BOARD

WEQ SRS CONFERENCE CALL MEETING

August 21, 2006 - 2:00 pm to 4:00 pm Central

DRAFT MINUTES
1.  
Welcome and Administrative
Mr. Saini welcomed participants to the meeting.  Ms. Kirby gave the anti-trust advice.  The agenda was adopted by consensus.  Mr. Saini moved to adopt the June 8, 2006 and July 13, 2006 draft minutes and Mr. Dwyer seconded the motion.  The minutes were adopted with all that voted in favor of the motion.

2. Develop future plan of action for draft scoping document for R05026 (Thirteen incremental enhancements to OASIS)

Mr. Saini stated that the subcommittee was not making progress on the document.  He added that the requestors had been contacted, but no additional information had been given.  He suggested that the SRS ask the Electronic Scheduling and Information Technology Subcommittee (ESS/ITS) to assist in the drafting of the scoping document.  

Ms. Kirby clarified that Mr. Sorenson, chair of the ESS/ITS, had been part of the initial scoping effort.  Mr. Saini added that the additional participation would assist the SRS in its task.  Ms. Kirby stated that the subcommittees would not be drafting the standards themselves, just the scoping document.  The scoping document must go before the Joint Interface Committee before official assignment is made to NAESB.  If assigned to NAESB, the request will be worked on by the assigned subcommittee.  If the subcommittee determines there are no standards to be drafted under the request, they will submit the appropriate Recommendation to the WEQ Executive Committee.  However, that is a determination of the subcommittee assigned to work on the standards.  
Ms. Rehman moved that the SRS work with the ESS/ITS to complete the scoping document.  Mr. Saini seconded the motion.  The motion passed by consensus.    
3. Review NERC Ballots (includes draft standards recently balloted) 

· Urgent Action: SPP Regional Difference – BAL-006 (Also posted for a 30 day Pre-ballot review through March 20, 2006)

· Purpose: SPP is requesting a regional difference from certain NERC TLR procedures and requirements in order to implement their proposed Energy Imbalance Service Market as filed with FERC
· Status: The initial ballot for the Urgent Action SPP Regional Difference to IRO-006 did not achieve a quorum, and the standard will undergo a re-ballot from April 28 through May 18, 2006
Discussion: Mr. Rana noted that this standard had already been balloted and adopted.  Mr. Saini moved that there were no commercial implications.  Ms. Rehman seconded the motion.  The motion passed by consensus. 
· Balance Resources and Demand

· Purpose: To maintain Interconnection scheduled frequency within a predefined frequency profile under all conditions (i.e., normal and abnormal), to prevent unwarranted load shedding and to prevent frequency related cascading collapse of the interconnected grid.
· Status: Phase II of the proof-of concept field-testing began on July 6 with eight balancing authorities and three reliability coordinators.  Since then the testing has expanded to include 15 balancing authorities and six reliability coordinators.  The testing is closely monitored, and reliability coordinators have the authority to suspend the test at any time for reliability-related reasons.  Since the testing began, there has been only one instance where the Eastern interconnection's Frequency Trigger Limit was exceeded for 30 minutes or longer. The drafting team is posting the draft 5 standards (BAL-007-1 through BAL-011-1) for a 45-day comment period beginning June 1, 2006.
Discussion: Mr. Saini moved that there were no commercial implications in the standards developed under the SAR.  Ms. Rehman seconded the motion.  The motion passed by consensus.  
· Phase III/IV Planning Standards

· Purpose: Certain planning standards that were part of the Phase III- IV NERC compliance program were not included in the Version 0 reliability standards.  The Version 0 drafting team, supported by industry comments, realized it could not achieve industry consensus on these specific standards in the timeframe or within the scope of the Version 0 standards project.  These standards are important, nonetheless, as they contain critical reliability requirements in support of recommendations from the NERC and U.S./Canada Power System Outage Task Force reports on the August 14, 2003 blackout.  Recognizing the importance of these standards, the NERC board resolved on October 15, 2004, that: "A satisfactory resolution of the issues regarding Phases III and IV of the planning standards would be to: (1) develop reliability standards covering the Phase III and Phase IV issues separate from the Version 0 effort, using the NERC standards development process; (2) have the Planning Committee expeditiously complete the drafting of the proposed standards needed to address the Phase III and Phase IV issues, and move those standards through the NERC standards development process as promptly as possible, but not later than the May 2005 board meeting."  This SAR proposes the development of reliability standards that address the disturbance monitoring and reporting requirements of those Phase III-IV planning standards.
· Status: The drafting team subdivided these standards into two sets.  Set One contains 12 standards: eight (MOD-024, MOD-025, PRC-003, PRC-004, PRC-005, PRC-020, PRC-021, PRC-022) were approved by a Ballot Pool on February 3 and approved for adoption by the NERC Board of Trustees on February 7, 2006; two standards (PRC-002 and PRC-018) were posted for comment through January 17 and the drafting team is considering the comments; two standards (PRC-019 and PRC-024) require field testing. Set Two contains seven standards: three (EOP-005, MOD-013, MOD-016) were posted for a ten-day ballot period through March 30, 2006; three (VAR-001, VAR-002, VAR-003) were posted for comment through April 15, 2006 and are under review by the drafting team; and two (MOD-026, MOD-027) require field testing.  The drafting team has posted its response to comments and announces a 30-day pre-ballot review for Draft 5 Set 1 (PRC-002 and PRC-018). Balloting will begin after the review period ends.  The drafting team has also posted Draft 4 Set 2 for a 30-day pre-ballot review (VAR-001 and VAR-002, and TOP-002-1, which was modified as a result of the VAR standards). Balloting will begin after the review period ends.  Ballot Pools approved EOP-005-1, MOD-013-1, and MOD-016-1 on April 26, 2006.  The NERC Board of Trustees approved these standards for adoption at its May 2, 2006 meeting.
Discussion: Ms. Rehman moved that there were no commercial implications in the standards being developed under the SAR.  Mr. Saini seconded the motion.  The motion passed by consensus.
4. Review SARs under development to determine if companion NAESB requests are needed (please note that this agenda item includes all SARs at NERC currently in the development phase that have not already been voted on by the SRS): 

· Provide Missing Measures and Compliance Elements in Existing Standards

· Purpose: The translation to Version 0 Reliability standards was limited to include only existing requirements, measures and compliance elements.  The CCMC has reviewed the Version 0 standards and identified many existing reliability standards that are missing measures and compliance elements.  Revisions to these standards are needed to complete the missing elements defined in the Reliability Standards Process Manual and to enable inclusion of these standards in the Compliance Monitoring Program.
Discussion: Mr. Blevins noted that these changes were mainly compliance measures that were not contained in the original NERC Version 0 standards.  He added that there were no new standards under draft.  The group took an action item to review the item at the next meeting.  
· Revisions to EOP-004-0 Disturbance Reporting

· Purpose: The United States Department of Energy (DOE) recently superseded form EIA-417 with OE-417.  The Attachments to EOP-004-0 Disturbance Reporting include reference and text from EIA-417 as well as mirroring some of the reporting requirements included in EIA-417. The standard needs to be modified to reflect the new DOE OE-417.
Discussion: Ms. Rehman noted that this item appeared to be an issue between NERC and the DOE.  She added that posting requirements for disturbance reporting were already contained in OASIS, so no new changes were needed at NAESB.  Mr. Blevins stated that he would find out the official status of the SAR at NERC.  He moved that there were no commercial standards to be developed under the SAR.  Mr. Saini seconded the motion.  The motion passed by consensus. 
5. Review March - July 2006 NERC Bulletin  
No items were noted by the group as lending themselves to business practice development.
6. Other Business

No other business was discussed at this time.
7. Future Meetings
The meeting schedule was changed to the following dates to avoid meeting conflicts for the SRS chairs: 
· September 18, 2006

· October 16, 2006

· November 20, 2006

· December 18, 2006

8. Adjourn

The meeting was adjourned by consensus at 3:23 p.m. Central time.
9. Attendance
	Name
	Organization

	Paul Dwyer
	Connectiv

	Bill Blevins
	NERC

	DeDe Kirby
	NAESB

	Bruce Kay
	ISO New England

	Marjorie Perlman
	Energy East

	Raj Rana
	American Electric Power

	Barbara Rehman
	Bonneville Power Administration

	Narinder Saini
	Entergy


� Mr. Kay abstained from the vote because he was not present during the meetings.


� Please note that all purpose and status statements are taken from the NERC website for Standards Under Development: � HYPERLINK "http://www.nerc.com/~filez/standards/Reliability_Standards_Under_Development.html" ��http://www.nerc.com/~filez/standards/Reliability_Standards_Under_Development.html�.  





WEQ Standards Review Subcommittee Conference Call Draft Minutes – August 21, 2006
Page 3

