Business Practices Subcommittee

WEQ/WGQ Energy Day Subcommittee

March 1-2, 2005

Proposed Standards

S6  
Electric generator operators and gas system operators should establish regular communication procedures during actual or forecasted extreme weather events.  

· Electric generator operators and gas system operators should communicate at least weekly during the winter and/or summer months.

· Communications should include a review of the conditions for the upcoming week, including but not limited to:

· Weather and temperature forecasts;

· Posted notices by pipeline operators;

· Equipment-related restrictions on gas supply; and

· Overall capacity requirements to serve electric load in the electric generator operator’s area.

During unanticipated extreme weather conditions, electric generator operators should have access to gas pipelines’ Electronic Bulletin Boards to check any generating unit’s  availability under their operational control.

During extreme weather conditions, electric generator operators should have access to information on the service-level details (firm vs. interruptible) of gas pipeline contracts for gas-fired electric generating units under their control.  

Electric generator operators should develop a seven (7) day capacity margin forecast each week based on the communications above, which includes an assessment of:

· notices issued by gas pipelines and the potential impact on gas unit availability; and

· weather forecast and the potential impact of Extreme Weather Conditions (temperatures below zero or greater than 95º F) on gas unit availability.

Electric generator operators should develop an Extreme Weather Conditions analysis based on the weekly capacity margin forecast and declare each day in coming week as: Extreme Weather Watch, Extreme Weather Warning, Extreme Weather Event, or No Extreme Weather Conditions.

· Electric generator operators should review and update the Extreme Weather Conditions analysis daily.

Electric generator operators should complete an assessment of the weather conditions and electric generation capacity situation for the winter and summer months, and if the effective temperature is less than or equal to a regionally set temperature threshold, declare an:  

· Extreme Weather Watch if the electric generation capacity margin in the region approaching a regionally set MW threshold. 

· Extreme Weather Warning if the electric generation capacity margin in the region is below a regionally set MW threshold.

· Extreme Weather Event if the electric generation capacity margin in the region is below 0 MW requiring emergency actions to deal with a capacity deficiency.

In the event an Extreme Weather Watch is declared, the electric generator operator will:

· post special notice to the electric generator operator’s website

· notify satellite control centers

· cancel Economic Outages if capacity margin in the region drops below the regionally set M threshold.
· notify state regulators (utility commissions and air regulators)

In the event an Extreme Weather Warning is declared, the electric generator operator will:

· request that dual-fuel units to take steps to switch to oil

· notify state regulators (utility commissions and air regulators)

· cancel Economic Outages

· alert demand response resources to prepare for activation if a capacity deficiency is declared

In the event an extreme Weather Event is declared, the electric generator operator will:

· where applicable, consider shifting the wholesale electric market timeline from 12 noon to 9 a.m.  local time the day prior to Operating Day

· complete a commitment analysis by 9 a.m. local time the day prior to Operating Day

· provide notice of use to gas generation units that will be needed.  Notification will take place between 9:30 a.m. and 10 a.m. local timethe day prior to Operating Day

· complete a daily review of gas nominations to determine if gas units under their control have confirmed gas supplies

· request that gas units with the capability to burn oil to switch to oil

· cancel Economic Outages

· notify state regulators (including air regulators), Electric & Gas Operations Committee, and market participants

· notify neighboring electric generator operators of potential capacity shortage

