Business Practices Subcommittee

WEQ/WGQ Energy Day Subcommittee

March 1-2, 2005

Proposed Standards
Pipeline Segment Workpaper – Revised 2/24/05

Suggested Changes to Posted Proposed Standards

D1

A Power Plant Operator (PPO) is a Point Operator (or that Point Operator’s agent) who has direct control over the requirements and operations of one or more natural gas-fired electric generating facilities and is responsible for coordinating natural gas deliveries to meet those requirements.  

S1 
Communications between the Transportation Service Provider (TSP) and the Power Plant Operator (PPO) should be used in addition to the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  
S2 
At power plant delivery locations where the Transportation Service Provider (TSP) provides contract / tariff services that allow non-uniform hourly flows and for which there are previously scheduled quantities for such services, the Power Plant Operator (PPO) and the TSP should use the following communication procedures regarding hourly operational flows: 


1)

Prior to the effective day of flow, a PPO should communicate to the TSP’s designated contact 
its initial hourly operational flow requirements for a gas day. 

2)
As soon as any changes to hourly operational flow requirements are known, a PPO should communicate such changes to the TSP’s designated contact. 
3)
If at any time the hourly flow requirements provided in 1) and 2) above cannot be allowed by the TSP, the TSP should advise the PPO as soon as practicable.
4.)
The communication of hourly operational flow requirements, provided in 1) and 2) above, should only address variations in hourly operational flow rates for previously scheduled quantities and should not include changes in daily scheduled quantities.
When the PPO is communicating its requirements to the TSP, the communication should include the applicable delivery location(s), the effective date, and the forecasted operational flow quantity(s) by hour.

In the event of conflicts between this standard and the TSP’s existing tariff or general terms and conditions, the latter will prevail.

S3 – delete and replace with S3A


1) 
2) 
3) 
4) 
5) 



S4 – delete and replace with S3A

S3A (Includes language from S3 and S4) –
A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  However, at power plant delivery locations, when a Power Plant Operator (PPO) identifies an operational need for increases or reductions to scheduled quantities outside the standard nomination cycle(s), should immediately notify the Transportation Service Provider (TSP) of such requirements, and the PPO and TSP should work together to resolve the disposition of the specified requirements based upon the appropriate application of tariff requirements, business practices, or other similar provisions.  
At power plant delivery locations where the TSP provides contract / tariff services that allow non-uniform hourly flows or at locations where the PPO may request non-uniform hourly flows, the PPO and the TSP should use the following communication procedures:
1) 
2) The  PPO should communicate its request for anticipated daily and hourly requested gas flows to the TSP’s designated contact.
3) The TSP should:

a. Accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow gas flow based on conditions at the time of the request, without impacting services that have been previously scheduled, anticipated flows, firm contract requirements, and/or general system operations.
b. Notify the PPO if a previously requested gas flow can no longer be allowed.

c. 
4) 
Such communication should include the applicable Service Requester Contract, the receipt and/or delivery location(s), the effective gas day, the requested gas flow quantity(s) by hour and the total requested gas flow quantity for the gas day.

In the event of conflicts between this standard and the TSP’s existing tariff or general terms and conditions, the latter will prevail.

S5 (?) (Could eventually be included in S3A) - Delete

P1 (formerly the first part of S-6)
Regional Transmission Operators, Independent System Operators should work with their interconnected Transportation Service Providers (TSPs) to ensure that clear communications exist between such parties.  Regular communication procedures, if necessary, 
· 
should include, but not be limited to the following:

· Weather and temperature forecasts for the upcoming period; and
· Informational Postings by the TSP as required by NAESB WGQ Standard 4.3.23.
· 
· 


S-6 (The remainder of the previous S-6 is applicable to WEQ only.  It needs modifications to include Summer/Hot Weather conditions and consistency of terms with other proposed standards)

Electric generator operators should develop a seven (7) day Capacity Margin forecast each week based on the communications above, which includes an assessment of:

· notices issued by gas pipelines and the potential impact on gas unit availability; and

· weather forecast and the potential impact of Cold Weather Conditions (temperatures below zero) on gas unit availability.

Electric generator operators should develop a Cold Weather Conditions analysis based on the weekly Capacity Margin forecast and declare each day in coming week as: Cold Weather Watch, Cold Weather Warning, Cold Weather Event, or No Cold Weather Conditions.

· Electric generator operators should review and update the Cold Weather Conditions analysis daily.

Electric generator operators should complete an assessment of the weather conditions and electric generation capacity situation for the winter months, and if the effective temperature is less than or equal to Oº F, declare a:  

· Cold Weather Watch if the electric generation capacity margin is at least 1000 MW. 

· Cold Weather Warning if the electric generation capacity margin is below 1000 MW.

· Cold Weather Event if the electric generation capacity margin is below 0 MW requiring emergency actions to deal with a capacity deficiency.

In the event a Cold Weather Watch is declared, the electric generator operator will:

· post special notice to the electric generator operator’s website

· notify satellite control centers

· cancel Economic Outages if capacity margin drops below 1000 MW

· notify state regulators (utility commissions and air regulators)

In the event a Cold Weather Warning is declared, the electric generator operator will:

· request that dual-fuel units to take steps to switch to oil

· notify state regulators (utility commissions and air regulators)

· cancel Economic Outages

· alert demand response resources to prepare for activation if a capacity deficiency is declared

In the event a Cold Weather Event is declared, the electric generator operator will:

· shift the wholesale electric market timeline from 12 noon to 9 a.m. day prior to Operating Day

· complete a commitment analysis from 9 a.m. day prior to Operating Day

· provide notice of use to gas generation units that will be needed.  Notification will take place between 9:30 a.m. and 10 a.m. day prior to Operating Day

· complete a daily review of gas nominations to determine if gas units have confirmed gas supplies

· request that gas units with the capability to burn oil to switch to oil

· cancel Economic Outages

· notify state regulators (including air regulators), Electric & Gas Operations Committee, and market participants

· notify neighboring electric generator operators of potential capacity shortage

