3/17/05 - LDC Segment Proposed Modifications for 3/21-22/05 BPS meeting


Business Practices Subcommittee

WEQ/WGQ Energy Day Subcommittee

March 21-22, 2005

Proposed Standards

Revised 3/2/05

Suggested Changes to Posted Proposed Standards

D1

A Power Plant Operator (PPO) has direct control over the gas requirements (e.g., burn rates) for natural gas-fired electric generating facility(s) and is responsible for coordinating natural gas deliveries to meet those requirements.  

P4

Additional communications between the Transportation Service Provider (TSP) and the Power Plant Operator (PPO) should be used along with the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  

P5
The TSP/PPO communication standards are not intended to convey any rights or services beyond or in addition to those contained in the TSP tariff and general terms and conditions.  In the event of a conflict between any standard and the TSP’s tariff or general terms and conditions, the latter will prevail.

S2 

At power plant delivery locations where there are previously scheduled daily quantities, the Power Plant Operator (PPO) and any affected Transportation Service Provider (TSP) along the path of gas flow, should use the following communication procedures regarding hourly operational flows: 

1)
Prior to the effective day of flow, a PPO should communicate to the TSP’s designated contact its initial hourly operational flow requirements for a gas day. 

2) As soon as any changes (the threshold of change to be determined by the TSP and PPO) to hourly operational flow requirements are known, a PPO should communicate such changes to the TSP’s designated contact.

3)Not withstanding the conditions of S3A, the communication of hourly operational flow requirements, provided above, should only address variations in hourly operational flow rates for previously scheduled quantities and should not include changes in daily scheduled quantities.

4) The TSP should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow gas flow based on conditions at the time of the request, without impacting services that have been previously scheduled, anticipated flows, no-notice services, firm contract requirements, and/or general system operations. If at any time the hourly operational flow requirements provided in above cannot be provided by the TSP, the TSP should notify the PPO as soon as practicable.

When the PPO is communicating its requirements to the TSP, the communication should include the applicable delivery location(s), the effective date, and the forecasted operational flow quantity(s) by hour.

S3 – delete 

S4 – delete
S3A 
A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  However, at power plant delivery locations, when a Power Plant Operator (PPO) identifies an unanticipated operational need for increases or reductions to daily scheduled quantities outside the standard nomination cycle(s), the PPO should immediately notify the Transportation Service Provider (TSP) of such requirements, and the PPO and TSP should work together to resolve the disposition of the specified requirements (e.g., submitting a nomination) based upon the appropriate application of tariff requirements, business practices, or other similar provisions.  

The PPO and any affected TSPs along the path of gas flow should use the following communication procedures:
1) The PPO should communicate its request for anticipated daily and hourly requested gas flows to the TSP’s designated contact.

2) As soon as any changes (the threshold of change to be determined by the TSP and PPO) to daily and/or hourly operational flow requirements are known, a PPO should communicate such changes to the TSP’s designated contact.

3) The TSP should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow gas flow based on conditions at the time of the request, without impacting services that have been previously scheduled, anticipated flows, no-notice services, firm contract requirements, and/or general system operations.

4) If at any time the hourly operational flow requirements provided above cannot be provided by the TSP, it should notify the PPO as soon as practicable.

Such communication should include the applicable Service Requester Contract, the receipt and/or delivery location(s), the effective gas day, the requested gas flow quantity(s) by hour and the total requested gas flow quantity for the gas day.

S5 - Delete
P1
For better coordination, a Regional Transmission Operator (RTO), an Independent System Operator (ISO), or any other appropriate independent electric transmission entity and its interconnected Transportation Service Provider (TSP) should promptly communicate when any of these parties receives a severe weather forecast or foresees a potential energy shortfall.  

During such conditions, a RTO, an ISO, or any other appropriate independent electric transmission entity should evaluate a gas fired generating unit’s operational capability by accessing pertinent information available on the TSP’s Informational Postings web site at a minimum.

  Such communication, should include, but not be limited to the following:

· Weather and temperature forecasts for the upcoming period; and

· Informational Postings by the TSP as required by NAESB WGQ Standard 4.3.23.

· Gas capacity requirements to serve electric loading the electric generator operator’s area, as appropriate. (Note: something to be discussed with gas control personnel)Electric generation non proprietary aggregate gas schedules including percentage that is firm.(Note: something to think about from a legal/regulatory perspective-whether aggregated data by pipeline can be provided)

· The TSP would indicate their expected ability to satisfy the generation needs identified by the RTO above. (Note: something to think about)

P2

For the purpose of training and maintaining the functionality of the communication channels, testing of the communication process should occur periodically between the Power Plant Operator and the Transportation Service Provider.

P3

Appropriate gas and electric personnel should maintain adequate familiarity with the EBB’s and the OASIS web sites.

S7

When engaging in communications described in S2 and S3A, the Power Plant Operator  (PPO) should communicate with the Transportation Service Provider (TSP) to which it is directly connected.  If the TSP affirms that flow variations are operationally feasible, the PPO should commence additional communications, as necessary, with TSP(s) upstream of the directly connected TSP.  In addition, the TSP directly connected with the PPO should affirm any flow variations agreed to by the upstream TSP prior to flow.
S8

Where a Power Plant Operator (PPO) is directly connected to a Transportation Service Provider (TSP) regulated by state or local agency, the PPO should engage in communications analogous to those described in S2 and S3A, as specified in that TSP’s operating protocols/procedures, tariff or general terms and conditions.

S-6 (The remainder of the previous S-6 is applicable to WEQ only.  It needs modifications to include Summer/Hot Weather conditions and consistency of terms with other proposed standards)

Electric generator operators should develop a seven (7) day Capacity Margin forecast each week based on the communications above, which includes an assessment of:

· notices issued by gas pipelines and the potential impact on gas unit availability; and

· weather forecast and the potential impact of Cold Weather Conditions (temperatures below zero) on gas unit availability.

Electric generator operators should develop a Cold Weather Conditions analysis based on the weekly Capacity Margin forecast and declare each day in coming week as: Cold Weather Watch, Cold Weather Warning, Cold Weather Event, or No Cold Weather Conditions.

· Electric generator operators should review and update the Cold Weather Conditions analysis daily.

Electric generator operators should complete an assessment of the weather conditions and electric generation capacity situation for the winter months, and if the effective temperature is less than or equal to Oº F, declare a:  

· Cold Weather Watch if the electric generation capacity margin is at least 1000 MW. 

· Cold Weather Warning if the electric generation capacity margin is below 1000 MW.

· Cold Weather Event if the electric generation capacity margin is below 0 MW requiring emergency actions to deal with a capacity deficiency.

In the event a Cold Weather Watch is declared, the electric generator operator will:

· post special notice to the electric generator operator’s website

· notify satellite control centers

· cancel Economic Outages if capacity margin drops below 1000 MW

· notify state regulators (utility commissions and air regulators)

In the event a Cold Weather Warning is declared, the electric generator operator will:

· request that dual-fuel units to take steps to switch to oil

· notify state regulators (utility commissions and air regulators)

· cancel Economic Outages

· alert demand response resources to prepare for activation if a capacitdeficiency is declared

In the event a Cold Weather Event is declared, the electric generator operator will:

· shift the wholesale electric market timeline from 12 noon to 9 a.m. day prior to Operating Day

· complete a commitment analysis from 9 a.m. day prior to Operating Day

· provide notice of use to gas generation units that will be needed.  Notification will take place between 9:30 a.m. and 10 a.m. day prior to Operating Day

· complete a daily review of gas nominations to determine if gas units have confirmed gas supplies

· request that gas units with the capability to burn oil to switch to oil

· cancel Economic Outages

· notify state regulators (including air regulators), Electric & Gas Operations Committee, and market participants

· notify neighboring electric generator operators of potential capacity shortage

Page 1

