WEQ/WGQ Energy Day Meeting April 7, 2005 – Proposed Standards S12-S18 - Redlined

 (April 7, 2005)
Proposed Standard S12 (WEQ and WGQ)
NAESB WEQ Standards Nos [S15, S16, S17] and WGQ Standards Nos [S16, S17] should apply to Regional Transmission Operators (RTOs), Independent System Operators (ISOs), and any other independent transmission operator (ITO) only and Power Plant Operators (PPOs) operating in those regions in order to provide RTOs, ISOs and ITOs with information regarding power plant gas supply that they need to determine if there is sufficient near-term electric generation that is needed to meet electric demand and to better prepare the system operators for mitigating action.
Proposed Standard S13 (WEQ)
The Regional Transmission Operators, Independent System Operators, independent transmission operators and Power Plant Operators should sign up for operational flow orders and other critical notices from the appropriate gas Transportation Service Provider(s) pursuant to NAESB WGQ Standard Nos. 5.2.2, 5.3.35 and 5.3.37.
Proposed Standard S14 (WGQ)
A Transportation Service Provider should provide Regional Transmission Operators (RTO), Independent System Operators (ISO), any other appropriate independent transmission operators (ITO) and Power Plant Operators (PPO) with notification of operational flow orders and other critical notices through the RTO / ISO / ITO / PPO’s choice of Electronic Notice Delivery mechanism(s) as set forth in NAESB WGQ Standard Nos. 5.2.1, 5.2.2 and 5.3.35 – 5.3.38. 

Proposed Standard S15 (WEQ)
Upon request, a Power Plant Operator should provide appropriate Regional Transmission Operators, Independent System Operators, and any other independent transmission operators with pertinent information related to its gas transportation and gas supply contracts.
Proposed Standard S16 (WEQ and WGQ)
Regional Transmission Operators, Independent System Operators and independent transmission operators should establish operational communication procedures with the appropriate gas Transportation Service Provider(s).  Training on and testing of such communication process should occur periodically.

Proposed Standard S17 (WEQ and WGQ)

When  a Regional Transmission Operator, Independent System Operator or independent transmission operatordeems it necessary, in accordance with its operating guidelines, it should implement the established operational communication procedures pursuant to NAESB WEQ Standard No. [S16] and WGQ Standard No [S16] with the appropriate gas Transportation Service Provider(s).

Proposed Standard S18 (
Upon request Regional Transmission Operator, Independent System Operator and any other independent transmission operator should include any appropriate entities in the distribution mechanism for public information provided to entities within its footprint.
