Scope of issues identified in S6. (April 6, 2005)
Apply to RTOs, ISOs and any other independent transmission operator only (and PPOs operating in those regions).




To provide RTOs, ISOs and ITOs with information regarding power plant gas supply that they need to determine near-term resource adequacy and to better prepare the system operators for mitigation action.
1. The RTO, ISO and ITO should sign up for pipeline OFOs and other critical notices.
A Transportation Service Provider should provide Regional Transmission Operators (RTO), Independent System Operators (ISO), any other appropriate independent electric transmission entity(ies) (IET) and Power Plant Operators (PPO) with notification of operational flow orders and other critical notices through the RTO / ISO / IET / PPO’s choice of Electronic Notice Delivery mechanism(s) as set forth in NAESB WGQ Standard Nos. 5.2.1, 5.2.2 and 5.3.35 – 5.3.38. 

2. Whether PPO’s should be required to notify the RTO’s of the types of supply and transportation contracts.

Upon request, a Power Plant Operator (PPO) should provide Regional Transmission Operators (RTO), Independent System Operators (ISO), and any other appropriate independent electric transmission entity(ies) (IET) with pertinent information related to its gas transportation and gas supply contracts.
3. Whether RTO’s should set up conference calls with pipelines in emergency conditions.



RTOs, ISOs and IETs should establish and periodically test operational communication procedures with appropriate TSP(s).
When a potential near-term resource inadequacy is identified, the RTOs, ISOs and IETs should implement the established operational communication procedures with the appropriate TSP(s) to better prepare the system operators for mitigation.
