Energy Day Proposed Standards

April 18-19, 2005


General Comments:

(Southern Company)

General Comment:  The WEQ typically drafts standards in a manner slightly different than the WGQ.  To the extent any of these are to be considered WEQ “standards”, the WEQ would typically consider the individual “standards” to be “requirements” within a single standard titled something like “Communications with Gas Transportation Providers”.  At the beginning of the standard, the WEQ would typically have an applicability statement and a set of definitions, followed by numbered requirements.  As such, we would probably have definitions for

RTOs

ISOs

ITOs
Electric TSP
Gas TSPs, and

PPOs

And then subsequently refer to them by the appropriate acronym.
Proposed Standard D1 (Committee)

Power Plant Operator (PPO) is the term used to describe the entity that has direct control over the gas requirements (e.g., burn rates) for natural gas-fired electric generating facility(s) and is responsible for coordinating natural gas deliveries to meet those requirements.


D1 (LDC) – Withdraw in favor of D1(Committee)

D1 (Pipeline)

Power Plant Operator is the term used to describe the entity that has direct control over the gas requirements (e.g., burn rates) for natural gas-fired electric generating facility(ies) and is responsible for coordinating natural gas deliveries with the interconnected Transportation Service Provider to meet those requirements.

D2 (Pipeline) *NEW*

A Power Plant Operator’s Facility is the term used to describe the natural gas-fired electric generating unit(s) under the direct control of the Power Plant Operator.

Proposed Standard S1B (Replaces S1 and S1A) (Committee)

The Transportation Service Provider (TSP)/Power Plant Operator (PPO) communication standards set forth in NAESB WGQ standard nos. [TBD] and WEQ standard nos. [TBD] are not intended to convey any rights or services beyond or in addition to those contained in the TSP tariff and general terms and conditions. These additional communication standards should be used along with the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  In the event of a conflict between any of these communication standards and the TSP’s tariff or general terms and conditions, the latter will prevail.

S1B (LDC)

The Transportation Service Provider (TSP)/Power Plant Operator (PPO) communication standards set forth in NAESB WGQ standard nos. [TBD] and WEQ standard nos. [TBD] are not intended to convey any rights or services beyond or in addition to those contained in the TSP(s) tariff and/or general terms and conditions. These additional communication standards should be used along with the NAESB WGQ standard nomination timeline and scheduling processes for the TSP (s)’ contract / tariff services.  In the event of a conflict between any of these communication standards and the TSP(s) ’ tariff or general terms and conditions, the latter will prevail.

S1B (Pipeline)

The Transportation Service Provider (TSP)/Power Plant Operator (PPO) communication standards set forth in NAESB WGQ standard nos. [TBD] and WEQ standard nos. [TBD] are not intended to convey any rights or services beyond or in addition to those contained in the TSP tariff and/or general terms and conditions. These communication standards should be used in addition to the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  In the event of a conflict between any of these communication standards and the TSP’s tariff or general terms and conditions, the latter will prevail.

S1B (Arizona Public Service and Salt River Project)

The Transportation Service Provider (TSP)/Power Plant Operator (PPO) communication standards set forth in NAESB WGQ standard nos. [TBD] and WEQ standard nos. [TBD] are not intended to convey any rights or services beyond or in addition to those contained in the TSP tariff and general terms and conditions and/or impose any obligations that would otherwise be inconsistent with FERC regulations, including affiliate code of conduct requirements. These additional communication standards should be used along with the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  In the event of a conflict between any of these communication standards and the TSP’s tariff or general terms and conditions, the latter will prevail.
S1C (LDC) *NEW*

Prior to the effective day of flow, the PPO should communicate its requested initial hourly operational flow needs for a gas day to the TSP directly connected to the PPO’s facility.
S1C (Pipeline)

The pipeline segment does not believe that this proposed standard is necessary as it, as a concept, is covered in the pipeline revised S2 (1).

Proposed Standard S2 (Committee)

At power plant delivery locations where the Transportation Service Provider (TSP) operationally supports non-uniform hourly flows and for which there are previously scheduled daily quantities for such services, the Power Plant Operator (PPO) should communicate any change to the hourly flow rate through the same entity(ies) with whom the original hourly flow rate information was made to the extent necessary to arrange the change  and should use the following communication procedures regarding hourly operational flows: 

1) Prior to the effective day of flow, the PPO should communicate its initial hourly operational flow requirements for a gas day to the TSP directly connected to the PPO. 

2) As soon as any changes (the threshold of change to be determined by the TSP and PPO) to hourly operational flow requirements are known, a PPO should communicate such changes to the directly connected TSP.

3) The communication of hourly operational flow requirements, provided above, should only address variations in hourly operational flow rates for previously scheduled daily quantities and should not include changes in such daily quantities.

4) The TSP directly connected to such PPO should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations. 

5) If at any time the PPO’s requested revised hourly operational flow requirements  cannot be allowed, the TSP directly connected to such PPO should notify the PPO as soon as practicable.

6) In the event that the TSP directly connected to the PPO can not accommodate the PPO’s request for hourly flow changes without corresponding hourly flow rate changes from the upstream delivery entity, the PPO has the following option.  The PPO can notify the appropriate contractual party that is upstream of the directly connected TSP of the PPO’s additional hourly requirements.  The contractual party and the upstream delivery entity should work together with the directly connected TSP to resolve the disposition of the specified requirements based upon the appropriate application of tariff requirements, business practices, or other similar provisions.
7) In all communications the following information should include: the applicable delivery location(s), the effective date, the forecasted operational flow quantity(s) by hour, and the appropriate contract number, when necessary.

S2 (LDC)

At power plant delivery locations where the Transportation Service Provider (TSP) operationally supports non-uniform hourly flows and for which there are previously scheduled daily quantities for such services, the Power Plant Operator (PPO) should communicate any change to the hourly flow rate through the same entity(ies) with whom the original hourly flow rate information was made to the extent necessary to arrange the change  and should use the following communication procedures regarding hourly operational flows: 

1) As soon as any changes (the threshold of change to be determined by the TSP and PPO) to requested hourly operational flow needs are known, a PPO should communicate such changes to the directly connected TSP.

2) The communication of requested hourly operational flow needs, provided above, should only address variations in hourly operational flow rates for previously scheduled daily quantities and should not include changes in such daily quantities.

3) The TSP directly connected to the PPO’s facility should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations. 

4) If at any time the PPO’s requested revised hourly operational flow needs cannot be allowed, the TSP directly connected to such PPO’s facility should notify the PPO as soon as practicable.

5) In the event that the TSP directly connected to the PPO can not accommodate the PPO’s request for hourly flow changes without corresponding hourly flow rate changes from the upstream delivery entity, the PPO has the following option.  The PPO can notify the appropriate contractual party that is upstream of the directly connected TSP of the PPO’s additional hourly needs.  The contractual party and the upstream delivery entity should work together with the directly connected TSP to resolve the disposition of the specified requests based upon the appropriate application of tariff requirements, business practices, or other similar provisions.

6) In all PPO/TSP communications the following information should be provided: the applicable delivery location(s), the effective date, the forecasted operational flow quantity(s) by hour, and the appropriate contract number, and, as necessary, the upstream TSP(s) and the appropriate upstream contractual party.


S2 (Pipeline)

At power plant delivery locations where the Transportation Service Provider (TSP) may allow non-uniform hourly flows and for which there are previously scheduled daily quantities for such services, the Power Plant Operator (PPO) should communicate anticipated hourly flow rates and changes to the TSP that is directly connected to the PPO’s Facility(ies) and should use using the following communication procedures regarding hourly operational flows: 

1) Prior to the effective day of flow, the PPO should communicate its initial hourly operational flow needs for a gas day to the TSP that is directly connected to the PPO’s Facility(ies). 

2) As soon as any changes (the threshold of change to be determined by the TSP and PPO) to hourly operational flow needs are known, a PPO should communicate such changes to the TSP that is directly connected to the PPO’s Facility(ies).

3) The communication of hourly operational flow needs, provided above, should only address variations in hourly operational flow rates for previously scheduled daily quantities and should not include changes in such daily quantities.

4) The TSP that is directly connected to the PPO’s Facility(ies) should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations. 

5) If at any time the PPO’s requested hourly operational flow needs can no longer be allowed, the TSP that is directly connected to the PPO’s Facility(ies) should notify the PPO as soon as practicable.

6) In all PPO/TSP communications, the following information should be provided: the applicable delivery location(s), the effective date, the forecasted operational flow quantity(s) by hour, and, if applicable, the appropriate contract number.
S2 (Southern Company)

Comment: we are generally supportive of S2 as proposed on 4/4 by the Pipeline Segment.  While we may be open to certain grammatical changes to improve readability, we believe the essential elements of S2 should remain as proposed by the Pipeline segment.


S2 (Arizona Public Service and Salt River Project)


3) 

4) 

8) 
9) 
10) 
11) 
Proposed Standard S3A – (Committee)

A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  However, at power plant delivery locations, when a Power Plant Operator (PPO) identifies an operational need for increases or reductions to daily scheduled quantities outside the standard nomination cycle(s), the PPO should immediately notify the Transportation Service Provider (TSP) of such requirements, and the PPO and TSP should work together to resolve the disposition of the specified requirements (e.g., submitting a nomination) based upon the appropriate application of tariff requirements, business practices, or other similar provisions.  

At power plant delivery locations where the TSP provides contract / tariff services that allow non-uniform hourly flows or at locations where the PPO may request non-uniform hourly flows, the PPO and the TSP should use the following communication procedures:
1) The PPO should communicate its request for anticipated daily and hourly requested gas flows to the TSP’s designated contact.

2) The TSP should:

a. Accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow gas flow based on conditions at the time of the request, without impacting services that have been previously scheduled, anticipated flows, firm contract requirements, and/or general system operations.

b. Notify the PPO if a previously requested gas flow can no longer be allowed.

Such communication should include the applicable Service Requester Contract, the receipt and/or delivery location(s), the effective gas day, the requested gas flow quantity(s) by hour and the total requested gas flow quantity for the gas day.

In the event of conflicts between this standard and the TSP’s tariff or general terms and conditions, the latter will prevail.


S3A (LDC)

A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  At power plant delivery locations where the Transportation Service Provider (TSP) supports non-uniform hourly flows, when a Power Plant Operator (PPO) identifies an operational need for increases or reductions to daily scheduled quantities outside the standard nomination cycle(s), the PPO should immediately notify the all affected TSPs of such needs including requested hourly flow changes, and the PPO and TSP(s) should work together to resolve the disposition of the specified requests (e.g., submitting a nomination) based upon the appropriate application of tariff requirements, business practices, or other similar provisions of all affected TSP(s).  The PPO and the TSP should use the following communication procedures:

1) As soon as any changes (the threshold of change to be determined by the TSP and PPO) to requested operational flow needs are known, a PPO should communicate such changes.

2) The TSP directly connected to the PPO’s facility should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations. 

3) If at any time the PPO’s requested revised operational flow needs cannot be allowed, the TSP directly connected to such PPO’s facility should notify the PPO as soon as practicable.

4) In the event that the TSP directly connected to the PPO can not accommodate the PPO’s request for daily and hourly flow changes without corresponding changes from the upstream delivery entity, the PPO has the following option.  The PPO can notify the appropriate contractual party that is upstream of the directly connected TSP of the PPO’s additional needs.  The contractual party and the upstream delivery entity should work together with the directly connected TSP to resolve the disposition of the specified requests based upon the appropriate application of tariff requirements, business practices, or other similar provisions.
5) In all PPO/TSP communications the following information should be provided: the applicable service requester contract(s), the applicable receipt and delivery location(s), the effective date, the requested gas flow quantity(s) by day and hour, and, as necessary, the upstream TSP(s) and the appropriate upstream contractual party.

6) If a TSP affirms a PPO’s specific request to allow gas flow, the PPO must nominate as soon as possible on all affect TSP(s) and no later than the next scheduled nomination cycle in order to continue flow.


S3A (Pipeline)

A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  However, at power plant delivery locations where the Transportation Service Provider (TSP) provides contract / tariff services that may allow non-uniform hourly flows, when a Power Plant Operator (PPO) identifies an operational need for increases or reductions to daily scheduled quantities outside of the standard nomination cycle(s), the PPO should immediately notify the TSP that is directly connected to the PPO’s Facility(ies) of such needs. The PPO and the TSP should work together to resolve the disposition of the specified needs (e.g., submitting a nomination) based upon the appropriate application of tariff requirements, business practices, or other similar provisions.  

 The PPO and the TSP that is directly connected to the PPO’s Facility(ies) should use the following communication procedures:
1) The PPO should communicate its request for anticipated daily and hourly gas flows to the TSP that is directly connected to the PPO’s Facility(ies).

2) The TSP that is directly connected to the PPO’s Facility(ies) should:

a. Accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting services that have been previously scheduled, anticipated flows, no-notice services, firm contract requirements, and/or general system operations.

b. If at any time the PPO’s requested daily and hourly operational flow needs can no longer be allowed, the TSP that is directly connected to the PPO should notify the PPO as soon as practicable.  

3) In all PPO/TSP communications, the following information should be provided: the applicable service requester contract(s), the applicable receipt and delivery location(s), the effective date, the requested gas flow quantity(s) by day and hour, and, as necessary, the upstream TSP and the appropriate upstream contractual party. procedures, nominate as soon as possible and but no later than the
Such communication should include the applicable Service Requester Contract, the receipt and/or delivery location(s), the effective gas day, the requested gas flow quantity(s) by hour and the total requested gas flow quantity for the gas day.

In the event of conflicts between this standard and the TSP’s tariff or general terms and conditions, the latter will prevail.
S3A (Southern Company)

Comment: we are supportive of S3A as proposed on 4/4 by the Pipeline Segment.  While we may be open to certain grammatical changes to improve readability, we believe the essential elements of S3 should remain as proposed by the Pipeline segment.
S3A (Arizona Public Service and Salt River Project)

At power plant delivery locations where the TSP requires scheduling of flows on a daily quantity basis but supports non-uniform hourly flows to the extent operationally possible, the TSP should alert the PPO if system conditions warrant enhanced control.  The TSP and  PPO should establish a threshold of variation from normal PPO hourly profile that requires communication in these conditions.  When notified of system conditions warranting enhanced control the Power Plant Operator (PPO) should communicate any change to the normal hourly profile that exceeds the established threshold..  

1) Each PPO should communicate its normal PPO hourly profile and the timeframe or season for which it applies. 

2) The PPO should identify and communicate actual or anticipated flow rate changes that will exceed the established threshold directly to the TSP.

3) The communication of hourly operational flow requirements, provided above, should only address variations in hourly operational flow rates that exceed the threshold for previously scheduled daily quantities and should not include changes in such daily quantities.
4) In all communications the following information should be included: the applicable delivery location(s), the effective date, the forecasted operational flow quantity(s) by hour, and the appropriate contract number, when necessary.
Proposed Standard S6

S6 evolved into S12 – S18.


S7 (Pipeline) *NEW*

When engaging in communications described in NAESB WGQ Standard No. [S1B], [S2], and [S3A] and NAESB WEQ Standard No. [S1B], [S2], and [S3A], the Power Plant Operator (PPO) should communicate with the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies).  If the TSP determines that flow variations are operationally feasible, the PPO should, as necessary, notify the appropriate contractual party on the delivery entity that is upstream of the TSP that is directly connected to the PPO’s Facility(ies).  Such contractual party and the upstream delivery entity should work together with the TSP that is directly connected to the PPO’s Facility(ies) to resolve the disposition of the specified requirements based upon the appropriate application of tariff requirements, business practices or other similar provisions.
S7 (LDC) *NEW*
When engaging in communications described in NAESB WGQ Standard No. [S2] and [S3A] and NAESB WEQ Standard No. [S2] and [S3A], the Power Plant Operator (PPO) should communicate with the Transportation Service Provider (TSP) directly connected to the PPO’s Facility(ies).  If the TSP determines that flow variations are operationally feasible, the PPO should, as necessary, notify the appropriate contractual party(ies) on the delivery entity(ies) upstream of the TSP directly connected to the PPO’s Facility(ies) of the PPO’s additional needs.  Such contractual party(ies) and the upstream delivery entity(ies) should work together with the TSP directly connected to the PPO’s Facility(ies) to resolve the disposition of the specified requests based upon the appropriate application of tariff requirements, business practices or other similar provisions.
S7 (Southern Company)

Comment: we are supportive of S7 as proposed on 4/4 by the Pipeline Segment.  Any changes below are strictly grammatical. To the extent S7 is a WGQ only standard, the distinction made below between “gas” TSP and “electric” TSP can be removed.

When engaging in communications described in NAESB WGQ Standard No. [S2] and [S3A] and NAESB WEQ Standard No. [S2] and [S3A], the Power Plant Operator (PPO) should communicate with the gas Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies).  If the gas TSP determines that flow variations are operationally feasible, the PPO should notify the appropriate contractual party and the specified upstream delivery entity.  The contractual party and the upstream delivery entity should work together with the gas TSP directly connected to the PPO’s Facility(ies) to resolve the disposition of the specified requirements based upon the appropriate application of tariff requirements, business practices or other similar provisions.


S8 (Pipeline) *NEW*

Where a Power Plant Operator’s Facility is directly connected to a Transportation Service Provider (TSP) that is regulated by a state or local agency, the Power Plant Operator should engage in communications analogous to those described in NAESB WGQ Standard No. [S1B], [S2],  and [S3A] and NAESB WEQ Standard No. [S1B], [S2], and [S3A], as specified in that TSP’s operating protocols/procedures, tariff or general terms and conditions.
S8 (LDC)

Withdrawn

S8 (Southern Company)

Comment: we are supportive of S8 as proposed on 4/4 by the Pipeline Segment. Any changes below are strictly grammatical. To the extent S8 is a WGQ only standard, the distinction made below between “gas” TSP and “electric” TSP can be removed.

Where a Power Plant Operator’s (PPO’s) Facility is directly connected to a gas Transportation Service Provider (TSP) that is regulated by a state or local agency, the PPO should engage in communications analogous to those described in NAESB WGQ Standard No. [S2] and [S3A] and NAESB WEQ Standard No. [S2] and [S3A], as specified in that gas TSP’s operating protocols/procedures, tariff or general terms and conditions.

Proposed Standard S12 (WEQ and WGQ) (Committee)
NAESB WEQ Standards Nos [S15, S16, S17] and WGQ Standards Nos [S16, S17] should apply to Regional Transmission Operators (RTOs), Independent System Operators (ISOs), and any other independent transmission operator (ITO) only and Power Plant Operators (PPOs) operating in those regions in order to provide RTOs, ISOs and ITOs with information regarding power plant gas supply that they need to determine if there is sufficient near-term electric generation that is needed to meet electric demand and to better prepare the system operators for mitigating action.

S12 (WEQ) (LDC)
NAESB WEQ Standards Nos [S15, S16, S17] should apply to Regional Transmission Operators (RTOs), Independent System Operators (ISOs), and any other independent transmission operator (ITO) only and Power Plant Operators (PPOs) operating in those regions in order to provide RTOs, ISOs and ITOs with information regarding power plant gas supply that they need to determine if there is sufficient near-term electric generation that is needed to meet electric demand and to better prepare the system operators for mitigating action.

S12 (Southern Company)
Comment:  From a WEQ perspective (based on how the WEQ typically drafts standards), this “requirement” is un-necessary.  The applicability of each of the other requirements are self-evident in the wording of those requirements.  The WEQ might, however, include a statement of this type in an applicability statement at the beginning of the standard.  Otherwise, we recommend its removal from consideration.

NAESB WEQ Standards Nos [S15, S16, S17] and WGQ Standards Nos [S16, S17] should apply to Regional Transmission Operators (RTOs), Independent System Operators (ISOs), and any other independent transmission operators (ITOs) only and Power Plant Operators (PPOs) operating in those regions in order to provide RTOs, ISOs and ITOs with information regarding power plant gas supply that they need to determine if there is sufficient near-term electric generation that is needed to meet electric demand and to better prepare the system operators for mitigating action.

S12 (WEQ and WGQ) (CAISO)
NAESB WEQ Standards Nos [S15, S16, S17] and WGQ Standards Nos [S16, S17] should apply to any entity involved in the commitment and dispatch of generating resources  and Power Plant Operators (PPOs)  in order to share information regarding power plant gas supply that is needed to determine if there is sufficient near-term electric generation to meet electric demand and to better prepare the system operators for mitigating action.
Comment – it is highly inappropriate for NAESB to create a ”national” standard that includes only ISOs and RTOs, to the exclusion of all other entities similarly involved in the commitment and dispatch of generating resources.  If these standards are being written under the auspices of NAESB, the understanding is that they should reflect a national standard not just a standard impacting a few select entities, such as ISO’s and RTO’s.

Proposed Standard S12 (IRC)
As Power Plant Operators (PPOs) are responsible for their fuel arrangements, this standard should require PPOs to inform Independent System Operators (ISOs), Regional Transmission Organizations (RTOs), independent transmission operators (ITOs), other Balancing Authorities (BA) or Reliability Coordinators (RC) information regarding power plant fuel supply which could affect the reasonable operation of the electric grid.
Proposed Standard S15 (WEQ) (Committee)
Upon request, a Power Plant Operator should provide appropriate Regional Transmission Operators, Independent System Operators, and any other independent transmission operators with pertinent information related to its gas transportation and gas supply contracts.

S15 (Southern Company)
Upon request, a PPO should provide appropriate RTOs, ISOs, and ITOs with pertinent information related to its gas transportation and gas supply contracts.

Proposed Standard S15 (WEQ) (CAISO)
Unless otherwise prohibited by agreement, tariff, or protocol rules, a Power Plant Operator should, upon request, provide appropriate (see comment above concerning applicability) with pertinent information concerning the service level of  its procured gas transportation and gas supply (i.e. firm or interruptible service).

Proposed Standard S15 (IRC)
Power Plant Operators will provide appropriate ISOs, RTOs, ITOs, BA, and RCs with pertinent information related to the firmness of their gas transportation and gas supply. This will be supported by relevant contracts when requested

Proposed Standard S14 (WGQ) (Committee)
A Transportation Service Provider should provide Regional Transmission Operators (RTO), Independent System Operators (ISO), any other appropriate independent transmission operators (ITO) and Power Plant Operators (PPO) with notification of operational flow orders and other critical notices through the RTO / ISO / ITO / PPO’s choice of Electronic Notice Delivery mechanism(s) as set forth in NAESB WGQ Standard Nos. 5.2.1, 5.2.2 and 5.3.35 – 5.3.38.
S14 (Southern Company)
A gas TSP should provide RTOs, ISOs, ITOs, and PPOs with notification of operational flow orders and other critical notices through the RTO / ISO / ITO / PPO’s choice of Electronic Notice Delivery mechanism(s) as set forth in NAESB WGQ Standard Nos. 5.2.1, 5.2.2 and 5.3.35 – 5.3.38.
Proposed Standard S14 (WGQ) (CAISO)
A Transportation Service Provider should provide (see above note concerning applicability) and Power Plant Operators (PPO) with notification of regional gas system conditions that could impact the reliability of regional gas-fired generating units through an agreed upon method of notification.  .
Comment – Notification of OFOs and “critical notices” could inundate the electric industry participants with a great deal of useless information.  Also, specifying the method of notification limits more appropriate options.  Currently, CAISO and the gas transportation providers communicate by telephone whenever either party identifies a potential problem.  This process works extremely well.
Proposed Standard S14 (IRC)

Transportation Service Providers should provide PPOs with notification of any constraints, delays or reductions in fuel supply. It is the obligation of the PPO to notify the relevant electric operators.

Proposed Standard S13 (WEQ) (Committee)
The Regional Transmission Operators, Independent System Operators, independent transmission operators and Power Plant Operators should sign up for operational flow orders and other critical notices from the appropriate gas Transportation Service Provider(s) pursuant to NAESB WGQ Standard Nos. 5.2.2, 5.3.35 and 5.3.37.

S13 (Southern Company)
Electric TSPs and/or PPOs (comment: For entities that are not in an RTO, it may be sufficient for one or the other, but it may not be necessary for both) should sign up for operational flow orders and other critical notices from the appropriate gas TSPs pursuant to NAESB WGQ Standard Nos. 5.2.2, 5.3.35 and 5.3.37.

Proposed Standard S13 (WEQ) (CAISO)
(see above note on applicability) and Power Plant Operators should make arrangements with the appropriate gas Transportation Service Provider(s) for notification of gas system conditions that could jeopardize the reliability of gas-fired generating units
Comment – Allow the parties to communicate as determined by the parties.  It should be recognized that notification of an OFO does not necessarily indicate a condition that would jeopardize generation.  There have been several recent occasions in California where an OFO was issued because of an excess of gas entering the region.

Proposed Standard S13, S18 and P1-P3 (IRC)

IRC proposes to delete these standards in their entirety as these standards duplicate public information already available to reliability coordinators and necessitate additional resources to review and analyze information on natural gas systems which have little or no risk to the electric grid. Furthermore, these standards are overly broad, requiring ISOs / RTOs to communicate information which is already in the public domain, distracting electric system operators from their primary responsibility of operating the electrical grid in a safe and reliable manner.

Proposed Standard S16 (WEQ and WGQ) (Committee)

Regional Transmission Operators, Independent System Operators and independent transmission operators should establish operational communication procedures with the appropriate gas Transportation Service Provider(s).  Training on and testing of such communication process should occur periodically.

S16A (WEQ) (LDC)

Regional Transmission Operators, Independent System Operators and independent transmission operators should establish operational communication procedures with the appropriate gas Transportation Service Provider(s).  Training on and testing of such communication process should occur periodically.

S16B (WGQ) (LDC)

At the request of Regional Transmission Operators(RTO), Independent System Operators(ISO) and/or independent transmission operators(ITO), Transportation Service Provider(s) should establish operational communication procedures with the requesting RTO(s), ISO(s) and/or ITO(s).  Training on and testing of such communication process should occur periodically.


Proposed Standard S16 (WEQ and WGQ) (Pipeline)

Regional Transmission Operators, Independent System Operators and independent transmission operators should establish operational communication procedures with the appropriate gas Transportation Service Provider(s).

S16 (Southern Company)
RTOs, ISOs, and ITOs should establish operational communication procedures with the appropriate gas TSP(s).  Training on and testing of such communication process should occur periodically.

Proposed Standard S16 (WEQ and WGQ) (CAISO)

(see comment above concerning applicability) should establish operational communication procedures with the appropriate gas Transportation Service Provider(s).  Training on and testing of such communication process should occur periodically.

Proposed Standard S16 (IRC)

PPOs will establish operational communication procedures with the appropriate gas Transportation Service Provider(s). Training on and testing of such communication processes should occur periodically.

Proposed Standard P1 (formerly the first part of S-6) (Committee)

For better coordination, a Regional Transmission Operator (RTO), an Independent System Operator (ISO), or any other appropriate independent electric transmission entity and its interconnected Transportation Service Provider (TSP) should promptly communicate when any of these parties receives a severe weather forecast or foresees a potential energy shortfall.  

During such conditions, a RTO, an ISO, or any other appropriate independent electric transmission entity should evaluate a gas fired generating unit’s operational capability by accessing pertinent information available on the TSP’s Informational Postings web site at a minimum.

  Such communication, should include, but not be limited to the following:

· Weather and temperature forecasts for the upcoming period; and

· Informational Postings by the TSP as required by NAESB WGQ Standard 4.3.23.

· Gas capacity requirements to serve electric loading the electric generator operator’s area, as appropriate. (Note: something to be discussed with gas control personnel)Electric generation non proprietary aggregate gas schedules including percentage that is firm.(Note: something to think about from a legal/regulatory perspective-whether aggregated data by pipeline can be provided)

· The TSP would indicate their expected ability to satisfy the generation needs identified by the RTO above. (Note: something to think about)


S9 (LDC) (Proposed as an alternative to P1) – Withdraw in favor 
of S17 (LDC)



P1/S9 (Pipeline)

The pipeline segment believes that the P1/S9 standard is no longer necessary as the concepts are covered in standards S12-S18.

(CAISO)

Comment - Proposed Standard P1 and S9 below should be removed since they delve into issues that are reliability-related rather than a business practice.



  
· 
· 
· 
· 





Proposed Standard S13, S18 and P1-P3 (IRC)

IRC proposes to delete these standards in their entirety as these standards duplicate public information already available to reliability coordinators and necessitate additional resources to review and analyze information on natural gas systems which have little or no risk to the electric grid. Furthermore, these standards are overly broad, requiring ISOs / RTOs to communicate information which is already in the public domain, distracting electric system operators from their primary responsibility of operating the electrical grid in a safe and reliable manner

Proposed Standard P2 (Committee)

For the purpose of training, mutual familiarity between the gas and electric industries in verification of the functionality of the communication channels, testing of the communication process should occur periodically.


S10 (LDC) (Proposed as alternative to P2) – Withdraw in favor of 
S16A (LDC) and S16B (LDC)

(Pipeline)

The pipeline segment believes that the language in the LDC standard should be used, but that it should be a principle.
(CAISO)





Comment – these items should be included in the communications agreement between the parties and should not be a separate standard.

Proposed Standard S13, S18 and P1-P3 (IRC)

IRC proposes to delete these standards in their entirety as these standards duplicate public information already available to reliability coordinators and necessitate additional resources to review and analyze information on natural gas systems which have little or no risk to the electric grid. Furthermore, these standards are overly broad, requiring ISOs / RTOs to communicate information which is already in the public domain, distracting electric system operators from their primary responsibility of operating the electrical grid in a safe and reliable manner.
Proposed Standard P3 (Committee)
Appropriate gas and electric personnel maintain adequate familiarity with the EBB’s and the OASIS web sites.

S11 (LDC) (Proposed as alternative to P3) – Withdraw in favor of S16A (LDC) and S16B (LDC)

(Pipeline)

The pipeline segment believes that the LDC wording should be used, but that this concept should be a principle.

(CAISO)





Comment – searching for information on EBBs or OASIS’ has no value added if you have already established a communications between the impacted gas and electric entities.  This should not be a standard.

Proposed Standard S13, S18 and P1-P3 (IRC)

IRC proposes to delete these standards in their entirety as these standards duplicate public information already available to reliability coordinators and necessitate additional resources to review and analyze information on natural gas systems which have little or no risk to the electric grid. Furthermore, these standards are overly broad, requiring ISOs / RTOs to communicate information which is already in the public domain, distracting electric system operators from their primary responsibility of operating the electrical grid in a safe and reliable manner.
Proposed Standard S17 (WEQ and WGQ) (Committee)
When a Regional Transmission Operator, Independent System Operator or independent transmission operator deems it necessary, in accordance with its operating guidelines, it should implement the established operational communication procedures pursuant to NAESB WEQ Standard No. [S16] and WGQ Standard No [S16] with the appropriate gas Transportation Service Provider(s).

S17 (WEQ) (LDC)
When a Regional Transmission Operator, Independent System Operator or independent transmission operator deems it necessary, in accordance with its operating guidelines, it should implement the established operational communication procedures pursuant to NAESB WEQ Standard No. [S16A] and WGQ Standard No [S16B] with the appropriate gas Transportation Service Provider(s).

(Pipeline)

The pipeline segment believes that the phrase “in accordance with its operating guidelines” needs further discussion to ensure that it is limited to non-routine activities.

S17 (Southern Company)

When RTOs, ISOs, or ITOs deem it necessary, in accordance with the operating guidelines established in WEQ Standard No. [S16] WGQ Standard No. [S16], it should implement the established operational communication procedures pursuant to those standards with the appropriate gas TSP(s).

Proposed Standard S17 (WEQ and WGQ) (CAISO)
When (see comment above concerning applicability) deems it necessary,  it should implement the established operational communication procedures pursuant to NAESB WEQ Standard No. [S16] and WGQ Standard No [S16] with the appropriate gas Transportation Service Provider(s).
Comment – the term “deems it necessary” should suffice.  Allow the impacted parties to determine the appropriate “trigger”.  

Proposed Standard S17 (IRC)

When a RC or BA deems it necessary, in accordance with its operating guidelines, it should implement the established operational communication procedures pursuant to NAESB WEQ Standard No. [S16] and WGQ Standard No [S16] with the appropriate gas Transportation Service Providers

Proposed Standard S18 (WEQ) (Committee)
Upon request Regional Transmission Operator, Independent System Operator and any other independent transmission operator should include any appropriate entities in the distribution mechanism for public information provided to entities within its footprint.

S18 (Southern Company)
Comment:  It is unclear what this standard is intended to do.  Public information is available to anyone, so what is the purpose of this standard?

Upon request, RTOs, ISOs, and ITOs should include any appropriate entities in the distribution mechanism for public information provided to entities within its footprint.
Suggested reword:  RTOs, ISOs, and ITOs should distribute appropriate public information (question: what information are we talking about?) to any entity upon request in a non-discriminatory fashion.
S18 (CAISO)



Comment – this is an unreasonable burden.  Moreover, it is inappropriate for the electric industry to be placed in the position of “speaking” for the gas industry – especially when this burden comes during critical times.

Proposed Standard S13, S18 and P1-P3 (IRC)

IRC proposes to delete these standards in their entirety as these standards duplicate public information already available to reliability coordinators and necessitate additional resources to review and analyze information on natural gas systems which have little or no risk to the electric grid. Furthermore, these standards are overly broad, requiring ISOs / RTOs to communicate information which is already in the public domain, distracting electric system operators from their primary responsibility of operating the electrical grid in a safe and reliable manner.

Energy Day Proposed Standards April 18 – 19, 2005

Draft: April 15, 2005

Page 21 of 32

