Proposed Business Practices Adopted by the

Energy Day –WEQ/WGQ BPS Subcommittee

April 25-26, 2005


D1 (WEQ and WGQ) 

Power Plant Operator is the term used to describe the entity that has direct control over the gas requirements (e.g., burn rates) for natural gas-fired electric generating facility(ies) and is responsible for coordinating natural gas deliveries with the appropriate Transportation Service Provider(s) to meet those requirements.  This definition applies to NAESB WEQ Standard Nos. [D2, S1B, S2X, S3X, S7X, S13, S15, S16] and NAESB WGQ Standard Nos. [D2, S1B, S2X, S3X, S7X, S14, S16].
D2 (WEQ and WGQ)

A Power Plant Operator’s Facility is the term used to describe the natural gas-fired electric generating unit(s) under the direct control of the Power Plant Operator. This definition applies to NAESB WEQ Standard Nos. [S2X, S3X, S7X] and NAESB WGQ Standard Nos. [S2X, S3X, S7X].

D3 (WEQ and WGQ)
Balancing Authority is the term used by the Wholesale Electric Quadrant to describe the entity responsible for integrating electric resource plans ahead of time, for maintaining electric load-interchange-generation balance within its metered boundaries, and for supporting electric interconnection frequency in real time.  This definition applies to NAESB WEQ Standard Nos. [S15, S16] and NAESB WGQ Standard No. [S16].

S1B (WEQ and WGQ)
The Transportation Service Provider (TSP)/Power Plant Operator (PPO) communication standards set forth in NAESB WEQ Standard Nos. [All WEQ Related] and WGQ Standard Nos. [All WGQ Related] do not convey any rights or services beyond or in addition to those contained in the TSP’s tariff and/or general terms and conditions and/or do not impose any obligations that would otherwise be inconsistent with FERC regulations, including affiliate code of conduct requirements.  These communication standards should be used in addition to the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  In the event of a conflict between any of these communication standards and the TSP’s tariff or general terms and conditions, the latter will prevail.
S2X (WEQ and WGQ)

The Power Plant Operator (PPO) and the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies) should establish procedures to communicate material changes in circumstances that may impact hourly flow rates. The PPO should provide hourly flow rates as established in the TSP’s and PPO’s communication procedures.

S3X (WEQ and WGQ)

This standard applies to a Power Plant Operator (PPO) and the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies) subject to NAESB WEQ Standard No. [S1B] and NAESB WGQ Standard No. [S1B].  A PPO  should not operate without an approved schedule pursuant to the NAESB WGQ standard nomination timeline and scheduling processes or as permitted by the TSP’s tariff and/or general terms and conditions, and/or contract provisions, except as provided for in this standard.  In the event that a PPO identifies the need to schedule gas outside of the above referenced nomination and scheduling processes, the PPO should provide daily and hourly flow rates as established in the TSP’s and PPO’s communication procedures.  The PPO and the TSP should work together to resolve the PPO’s request.  The resolution of the PPO’s request should be based upon whether or not it can be accommodated in accordance with the appropriate application of the TSP’s tariff requirements, contract provisions, business practices, or other similar provisions, and without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations.  Where the TSP determines that it is feasible to provide the PPO with changes in flow rates without additional communications, none are required.

S7X (WEQ and WGQ)
Subject to NAESB WEQ Standard No. [S1B] and NAESB WGQ Standard No. [S1B], when engaging in communications described in NAESB WEQ Standard Nos. [S2X] and [S3X] and NAESB WGQ Standard Nos. [S2X] and [S3X]: 

1. The Power Plant Operator (PPO) should communicate with the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies) (Directly Connected TSP).  If the Directly Connected TSP determines that requested flow rates are not operationally feasible unless (1) the upstream delivery entity(ies) makes changes to support the requested flow rates and (2) the upstream delivery entity(ies) supports such a process, then, the following communication procedures should be used if the PPO wishes to pursue the request: 

(a) the PPO should communicate its requested flow rates to the appropriate contractual party(ies) on the affected delivery entity(ies) upstream of the PPO’s Facility(ies),  

(b) as appropriate, the Directly Connected TSP should contact the interconnected upstream delivery entity(ies) regarding the potential flow change; and,

(c)
the appropriate contractual party(ies), the upstream delivery entity(ies), and the PPO should work together with the Directly Connected TSP to determine if the PPO’s requested flow rates can be accommodated based upon the appropriate application of the tariff requirements, business practices, contract provisions, or other similar provisions of the affected parties.

2. Conditioned upon the tariff requirements, business practices, contract provisions, or other similar provisions of the affected TSP(s) and/or the ability of such TSP(s) to allow the requested flow rates based on conditions at the time of the request, as well as the ability of the supplier(s) to effect changes in the flow rate, the TSP(s) should accept or deny the PPO’s specific request without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations. 

3. If the affected TSP(s) affirms a PPO's specific requested flow rate, the PPO and the TSP(s) should work together to resolve the PPO’s request based on the appropriate application of the tariff requirements, business practices, contract provisions, or other similar provisions of the TSP(s).  If required, the PPO should ensure that nominations are placed on all affected TSPs.

These procedures will govern such communications unless the applicable parties mutually agree to create alternative communication procedures that are more appropriate.

S13 (WEQ)
The Regional Transmission Organizations, Independent System Operators, independent transmission operators, and/or Power Plant Operators should sign up to receive operational flow orders and other critical notices from the appropriate gas Transportation Service Provider(s), pursuant to NAESB WGQ Standard Nos. 5.2.2, 5.3.35, and 5.3.37, unless the party(ies) needing the information has arranged to receive it through an alternative communication process(es).

S14 (WGQ) 
A Transportation Service Provider should provide Regional Transmission Organizations (RTO), Independent System Operators (ISO), any other appropriate independent transmission operators (ITO), and Power Plant Operators (PPO) with notification of operational flow orders and other critical notices through the RTO / ISO / ITO / PPO’s choice of Electronic Notice Delivery mechanism(s) as set forth in NAESB WGQ Standard Nos. 5.2.1, 5.2.2, and 5.3.35 – 5.3.38.

S15 (WEQ)
Unless otherwise prohibited by agreement, tariff, or protocol rules, a Power Plant Operator should, upon request, provide pertinent information concerning the service level (i.e., firm or interruptible) of its procured gas transportation and gas supply to the appropriate independent Balancing Authority and/or Reliability Coordinator.
S16 (WEQ and WGQ)
Regional Transmission Organizations (RTOs), Independent System Operators (ISOs), other independent transmission operators (ITOs), and/or independent Balancing Authorities (BAs) should establish operational communication procedures with the appropriate gas Transportation Service Provider(s) (TSP) and/or Power Plant Operator(s).  These procedures should be invoked when either:

a. the RTOs, ISOs, ITOs, and/or independent BAs anticipate conditions that could create a substantial risk for the electric generation capacity to be insufficient to meet near-term electric demand which may be alleviated by gas-fired generation; or,

b. the TSP anticipates conditions that could create a substantial risk for the gas system to be insufficient to meet near-term gas demand;

Training on and testing of such communication procedures should occur periodically. These procedures will govern such communications unless the applicable parties in the gas and electric industry mutually agree to create alternative communication procedures that are more appropriate and meet the parties’ collective regional operational needs. 

� All proposed standards adopted by a subcommittee will go out for industry comment and be forwarded to the appropriate quadrant Executive Committee(s) for vote.  Following that vote, the membership of the affected quadrants will ratify.  Once ratified, they are considered final action and will be published as standards.





April 25-26, 2005

Page 2 of 4

