Final Group Modification of S16F – May 27, 2005 

S16F
Regional Transmission Organizations, Independent System Operators, other independent transmission operators, independent Balancing Authorities and/or Regional Reliability Coordinators should establish written operational communication procedures with the appropriate gas Transportation Service Provider(s) and/or Power Plant Operator(s).  These procedures should be implemented when an extreme condition could occur, as defined in such procedures. 

These procedures will govern unless the applicable parties in the gas and electric industry mutually agree to create alternative written communication procedures that are more appropriate and meet the parties’ collective regional operational needs.
Training on and testing of such communication procedures should occur periodically. 
