Revised (January 11, 2006) Proposed Standard Submitted by KeySpan
The Transportation Service Provider (TSP) should provide on its Informational Postings Website a link to a reference guide that identifies the industry standard or other methodology for the following:

· Obtaining natural gas samples,

· Analytical test method (s),

· Calculation method(s), in conjunction with any physical constant(s) and underlying assumption(s).

As appropriate, the information should be provided for each location posted for the natural gas quality specifications pursuant to NAESB WQG Standard 4.3.90.

