Pipeline
 Work paper

Proposed Gas Quality Standard

Request R03035B

For the locations posted pursuant to NAESB WGQ Standard No. 4.3.90, the Transportation Service Provider should provide on its Informational Postings Web Site a list that identifies the industry standard (or other methodology, as applicable) for the following:

· Industry procedures used for obtaining natural gas samples,

· Analytical test method(s),

· Calculation method(s), in conjunction with any physical constant(s) and underlying assumption(s).

� This work paper is supported by the following pipeline companies:  Dominion Transmission, Inc.; Duke Energy Gas Transmission; El Paso Natural Gas Company; Enbridge Energy Company, Inc.; Florida Gas Transmission; Gas Transmission Northwest Corporation; Gulf South Pipeline, LP; Iroquois Gas Transmission System; National Fuel Supply Corporation; Natural Gas Pipeline Company of America; Northern Natural Gas Company; Panhandle Eastern Pipe Line Company; Tennessee Gas Pipeline; Transwestern Pipeline Company; Trunkline Gas Company; Williams Gas Pipeline





