NATIONAL FUEL GAS DISTRIBUTION

WORKPAPER FOR 8/30/06 BPS MEETING – R06008


Proposed changes to Standard:

4.3.90
The Transportation Service Provider (TSP) should provide on its Informational Postings Web Site daily average gas quality information for prior gas day(s), to the extent collected, computed or otherwise obtained, for location(s) that are representative of mainline gas flow.  The information available for the identified location(s) should be provided in a downloadable format. Information should be reported in units as specified in the tariff or general terms and conditions.  In any event, Service Requester compliance with gas quality requirements is in accordance with the TSP’s tariff or general terms and conditions.

Listed below are the following are examples of gas quality attributes that could should be included, in the posting for the applicable Gas Day(s) for the given and location(s).  For Wobbe Number and Cricondentherm Hydrocarbon Dew Point, where the TSP uses an equivalent methodology to characterize these attribute(s), such methodology may be used to substitute for or supplement such attribute(s).

• Heating Value

• Wobbe Number

• Cricondentherm Hydrocarbon Dew Point

• Hydrocarbon Components, % of C1 – Cnn, as used in determining Heating Value

• Specific Gravity

• Water

• Nitrogen

• Carbon Dioxide

• Oxygen

• Hydrogen

• Helium

• Total Sulfur

• Hydrogen Sulfide

• Carbonyl Sulfide

• Mercaptans

• Mercury and/or any other contaminants being measured

• Other pertinent gas quality information that is specified in the TSP’s tariff or the general terms and conditions.

Proposed Standard 4.3.x1:

For data provided pursuant to NAESB WGQ Standard No. 4.3.90, the Transportation Service Provider (TSP) should calculate a Wobbe Number for location(s) that are representative of mainline gas flow.  
Proposed Standard 4.3.x2:

Where a Transportation Service Provider (TSP) has tariff gas quality provisions to control hydrocarbon dropout, for data provided pursuant to NAESB WGQ Standard No. 4.3.90, the TSP should measure or calculate a Cricondentherm Hydrocarbon Dew Point (CHDP) for location(s) that are representative of mainline gas flow.  
Proposed Standard 4.3.x3:

Where a Transportation Service Provider (TSP) has tariff provisions to enforce gas quality or interchangeability specifications but does not collect, compute or otherwise obtain selected gas quality attributes listed in NAESB WGQ Standard No. 4.3.90 at location(s) that are representative of mainline gas flow, the TSP may satisfy NAESB WGQ Standard No. 4.3.90 by providing such selected attributes at other location(s) of its choosing.
