[image: image1.png]



                                        North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org

Home Page: www.naesb.org

Collection of Glossary Terms Related to DR, DSM, EE

Draft as of 11-26-07


1. Actual Annual MWh change – FERC - The actual sum of MWh changes due to customer participation in a sponsored Demand Response (DR) program. 
2. Actual MWh Change – FERC - The total annual change in energy consumption (measured in MWh) that resulted from the deployment of DR programs during the year. 
3. Actual Peak Reduction - EIA - The actual reduction in annual peak load (measured in kilowatts) achieved by consumers that participate in a utility DSM program. It reflects the changes in the demand for electricity resulting from a utility DSM program that is in effect at the same time the utility experiences its annual peak load, as opposed to the installed peak load reduction capability (i.e., Potential Peak Reduction). It should account for the regular cycling of energy efficient units during the period of annual peak load. 
Actual Peak Reduction – FERC - The coincident reductions to the annual peak load (measured in megawatts) achieved by customers that participate in a DR program at the time of the annual system peak of the utility or ISO. It reflects the changes in the demand for electricity resulting from a sponsored DR program that is in effect at the same time a utility or ISO experiences its annual system peak load, as opposed to the installed peak load reduction capability (i.e., Potential Peak Reduction). It should account for the regular cycling of energy efficient units during the period of annual system peak load. For curtailment service providers (CSP), the actual peak reduction should include the DR load provided at the time of the peak for the region in which they aggregate customer load. For utilities, it should include the DR load at the time of the utility annual system peak load. For ISOs/RTOs, it should include the DR load at the time of the ISO/RTO annual system peak load.
4. Advanced Metering Infrastructure (AMI) – FERC - AMI is defined as the communications hardware and software and associated system and data management software that creates a network between advanced meters and utility business systems and which allows collection and distribution of information to customers and other parties such as competitive retail providers, in addition to providing it to the utility itself. 
5. Ancillary – NERC - demand-side resource displaces generation deployed as operating reserves and/or regulation; penalties are assessed for nonperformance
6. Ancillary Service Market Programs – FERC - DR programs in which customers bid load curtailments in ISO/RTO markets as operating reserves. If their bids are accepted, they are paid the market price for committing to be on standby. If their load curtailments are needed, they are called by the ISO/RTO, and may be paid the spot market energy price. 
7. Ancillary Services - EIA - Necessary services that must be provided in the generation and delivery of electricity. As defined by the Federal Energy Regulatory Commission, they include: coordination and scheduling services (load following, energy imbalance service, control of transmission congestion); automatic generation control (load frequency control and the economic dispatch of plants); contractual agreements (loss compensation service); and support of system integrity and security (reactive power, or spinning and operating reserves).
Ancillary Services - FERC - Demand Response programs in which customers bid load curtailments in ISO/RTO markets as operating reserves. If their bids are accepted, they are paid the market price for committing to be on standby. If their load curtailments are needed, they are called by the ISO/RTO, and may be paid the spot market energy price.
Ancillary Services - PJM - Those services that are necessary to support the transmission of capacity and energy from resources to loads while maintaining reliable operation of the Transmission Provider's Transmission System in accordance with Good Utility Practices. PJM Interconnection currently operates two markets for ancillary services: Regulation is a service that corrects for short-term changes in electricity use that might affect the stability of the power system. Synchronized Reserve supplies electricity if the grid has an unexpected need for more power on short notice. Black Start Service supplies electricity for system restoration in the unlikely event that the entire grid would lose power.
Ancillary Services - EEI - Those services necessary to support the transmission of energy from resources to loads while maintaining reliable operation of the transmission provider’s transmission system. Ancillary services include: Black Start Service, Non-Spinning Reserve Service, Regulation and Frequency Response Service, Replacement Reserve Service, Spinning Reserve Service, Voltage Support Service.
8. Annual Effects – EIA - The total changes in energy use (measured in megawatthours) and peak load (measured in kilowatts) caused by all participants in your DSM programs. This includes new and existing participants in existing programs (those implemented in prior years that are in place during the given year), all participants in new programs (those implemented during the given year), and participants in DSM programs that were terminated after 1992. Please note that Annual Effects are not a summation of 12 monthly peaks or the aggregate of the Incremental Effects for the reporting year, but are the total effects of all DSM programs for all participants (new and existing) for the year. 
9. Asset Management – FERC - The ability to leverage the value of metering data and other available information to increase the value of utility investments and/or to improve customer service. One example is using hourly interval data to measure the load on transformers at the time of the system peak. 
10. Baseline - EEI - A beginning value for measurement that provides a reference point for discussing or analyzing the effects of changes in events and/or assumptions (e.g., a baseline projection of a budget).
Baseline - PJM - Used to measure load response in PJM's Load Response programs. 10 day period that is 2 days prior to the event. Average the daily event period usage. Throw out any day where the day's average daily event period usage is less than 75% of average event period usage. Average the 5 remaining days.

Baseline - ISO-NE - Baseline Conditions are defined as the kW load of a measure in use during performance hours, or the kW load that would have existed, in the absence of a demand reduction measure that affected such measure’s load.  
Baseline - NYSERDA - Condition before the impacts of the New York Energy $martK programs.  Baseline in this report discusses two separate items:  1) the market status before the impacts of New York Energy $martK programs; and 2) the energy used by a customer before intervention of New York Energy $martK programs.
11. Baseline Usage or Demand - ISO-NE - The calculated or measured energy usage (demand) by a piece of equipment or a site prior to the implementation of the project. Baseline physical conditions such as equipment counts, nameplate data, and control strategies will typically be determined through surveys, inspections, and/or metering at the site. (FEMP 2000)
12. Being Used – FERC - The term being used requires that the AMI network is used today in the manner specified. 
13. Bid Limits – FERC - The maximum $/MWh bid that can be submitted by a DR program participant. 
14. Billing or Revenue Meter – FERC - Meters installed at customer locations that meter electric usage and possibly other parameters associated with a customer account and provide information necessary for generating a bill to the customer for the customer account. 
15. Black Start Service - A contracted ancillary service acquired for the benefit of all loads, provided by generating or load resources capable of starting without support of the transmission grid.
16. Capable – FERC - AMI network could initiate interval data and collection without a physical visit to the meter site to reprogram it or to add an extra device of some kind. 
17. Capacity – NERC - demand-side resource displaces or augments generation for planning and/or operating resource adequacy; penalties are assessed for nonperformance 
18. Capacity Market Programs (CAP) – FERC - Demand response programs in which customers offer load curtailments as system capacity to replace conventional generation or delivery resources. Customers typically receive day-of notice of events and face penalties for failure to curtail when called upon to do so.. Incentives usually consist of up-front reservation payments. 
19. Coincident resources – NERC - refers to the amount demand response curtailments that would be realized if all DR products were called simultaneously and all responded by curtailing their enrolled quantity
20. Commercial sector – FERC - An energy-consuming sector that consists of service-providing facilities and equipment of: businesses; federal, state, and local governments; and other private and public organizations, such as religious, social, or fraternal groups. The commercial sector includes institutional living quarters, sewage treatment facilities, and street lighting. Common uses of energy associated with this sector include space heating, water heating, air conditioning, lighting, refrigeration, cooking, and running a wide variety of other equipment. Note: This sector includes generators that produce electricity and/or useful thermal output primarily to support the activities of the above-mentioned commercial establishments. 
21. Conservation - EEI - The protection, improvement, and use of natural resources according to principles that will assure their highest economic or social benefits.
Conservation - MPUC - Programs designed to reduce inefficient electricity use.
22. Cooperative Electric Utility – FERC - An electric utility legally established to be owned by and operated for the benefit of those using its service. The utility company will generate, transmit, and/or distribute supplies of electric energy to a specified area not being serviced by another utility. Such ventures are generally exempt from federal income tax laws. Most electric cooperatives were initially financed by the Rural Utilities Service (formerly the Rural Electrification Administration), U.S. Department of Agriculture. 
23. Critical Peak Pricing (CPP) – FERC - CPP rates are a hybrid of the TOU and RTP design. The basic rate structure is TOU. However, provision is made for replacing the normal peak price with a much higher CPP event price under specified trigger conditions (e.g., when system reliability is compromised or supply prices are very high). 
Critical Peak Pricing (CPP) – NERC - rate and/or price structure designed to encourage reduced consumption during periods of high wholesale market prices or system contingencies by imposing a pre-specified high rate for a limited number of days or hours
24. Critical Peak Pricing (CPP) with controls – NERC - demand-side management that combines direct remote control with a pre-specified high price for use during designated critical peak periods, triggered by system contingencies or high wholesale market prices.
25. Curtailment Service Provider (CSP) – FERC - DR load providers that are not necessarily load serving entities. CSPs may sponsor demand response programs and sell the demand response load to utilities, RTOs and/or ISOs. 
26. Customer Accounts – FERC - A record at the energy provider that identifies an entity receiving electric service at one or several locations within the utility service footprint that is associated with one entity responsible for payment for the energy consumed and metered at the location(s). There may be no meter associated with the customer account (such as with street lights), or one or more meters associated with a particular customer account. 
27. Demand Bidding/Buyback (DB) – FERC - A DR program where customers or curtailment service providers offer bids to curtail based on wholesale electricity market prices or an equivalent. Mainly offered to large customers (e.g., one MW and over), but small customer DR load can be aggregated by curtailment service providers and bid into the demand bidding program sponsor. 
Demand Bidding & Buy-Back – NERC - demand-side resource bids into a wholesale electricity market to offer load reductions at a price, or identifies how much load it is willing to curtail at a specific price
28. Demand Resources - BGE - Various programs used in Demand-Side Management that include: Conservation, Load Management, Demand Response, Distributed Generation, and Energy Efficiency.
Demand Resources - PJM - A resource with a demonstrated capability to provide a reduction in demand or otherwise control load. A Demand Response may be an existing or planned resource.

Demand Resources - ISO-NE - Shall mean a resource defined as On-Peak Demand Resources, Seasonal Peak Demand Resources, Critical Peak Demand Resources, Real-Time Demand Response Resources, or Real-Time Emergency Generation Resources. Demand Resources are installed measures (i.e., products, equipment, systems, services, practices and/or strategies) that result in additional and verifiable reductions in end-use demand on the electricity network in the New England Control Area during Demand Resource On-Peak Hours, Demand Resource Seasonal Peak Hours, Demand Resource Critical Peak Hours, Real-Time Demand Response Event Hours, or Real-Time Emergency Generation Event Hours, respectively. A Demand Resource may include a portfolio of measures aggregated together to meet or exceed the minimum Resource size requirements. 
Demand Resources – ISO-NE, IRC Report - Demand Resources include energy efficiency, load management, real-time demand response, and distributed generation.
29. Demand Response - EEI - Load Response called for by others and price response managed by end-use customers. Load response includes direct load control such as residential air conditioners, partial or curtailable load reductions, and complete load interruptions. Price response includes real-time pricing, dynamic pricing, coincident peak pricing, time-or-use rates, and demand bidding or buyback programs.
Demand Response - BGE - Load Response programs that offer customers incentives to reduce energy demand upon emergency electricity supply situations and opportunities to reduce demand when there are high locational marginal prices of electricity.
Demand Response - ISO-NE - Changes in electric usage by end-use customers from their normal consumption patterns in response to changes in the price of electricity over time, or to incentive payments designed to induce lower electricity use at times of high wholesale market prices or when system reliability is jeopardized. 
Demand Response (DR) – FERC - The planning, implementation, and monitoring of activities designed to encourage customers to modify patterns of electricity usage, including the timing and level of electricity demand. DR covers the complete range of load-shape objectives and customer objectives, including strategic conservation, time-based rates, peak load reduction, as well as customer management of energy bills. 
Demand Response – NERC - changes in electric use by demand-side resources from their normal consumption patterns in response to changes in the price of electricity, or to incentive payments designed to induce lower electricity use at times of high wholesale market prices or when system reliability is jeopardized
30. Demand Response Event – FERC - A period of time identified by the DR program sponsor when it is seeking reduced energy consumption and/or load from customers participating in the program. Depending on the type of program and event (economic or emergency), customers are expected to respond or decide whether to respond to the call for reduced load and energy usage. The program sponsor generally will notify the customer of the DR event before the event begins, and when the event ends. Generally each event is a certain number of hours, and the program sponsors are limited to a maximum number of events per year. 
31. Demand Response Load – FERC - The load reduction that results from demand response activities. 
32. Demand Response/Load Management - PJM - Consist of direct load control, firm service level, or guaranteed load drop.

Demand Response/Load Management - FERC - The planning, implementation, and monitoring of activities designed to encourage customers to modify patterns of electricity usage, including the timing sand level of electricity demand. DR covers the complete range of load-shape objectives and customer objectives, including strategic conservation, time-based rates, peak load reduction, as well as customer management of energy bills.

33. Demand Side Management – NERC - all activities or programs undertaken to influence the amount and timing of electricity use
34. Direct Load Control - ISO-NE - A Demand Response activity by which the program operator remotely shuts down or cycles a customer’s electrical equipment (e.g. air conditioner, water heater) on short notice. Direct load control programs are primarily offered to residential or small commercial customers.  
Direct Load Control – EIA - DSM program activities that can interrupt consumer load at the time of annual peak load by direct control of the utility system operator by interrupting power supply to individual appliances or equipment on consumer premises. This type of control usually involves residential consumers. Direct Load Control as defined here excludes Interruptible Load and Other Load Management effects. 
Direct Load Control (DLC) – FERC - A DR activity by which the program operator remotely shuts down or cycles a customer’s electrical equipment (e.g. air conditioner, water heater) on short notice. Direct load control programs are primarily offered to residential or small commercial customers. 
Direct Load Control – NERC - demand-side management that is under direct remote control of a control center. It is the magnitude of customer demand that can be interrupted at the time of the Regional Council seasonal peak by direct control of the System Operator by interrupting power supply to individual appliances or equipment on customer premises.  
35. Dispatchable – NERC - demand-side resource curtails according to instruction from a control center
36. Distributed Generation - EEI - A term referring to a small generator, typically 10 megawatts or smaller, that is sited at or near load, and that is attached to the distribution grid. Distributed generation can serve as a primary or backup energy source, and can use various technologies.

Distributed Generation (DG) - NYSERDA - Small generation facilities utilizing a range of technologies, including reciprocating engines, small and micro-turbines, fuel cells, photovoltaic array, wind, and other renewable energy sources.
Distributed Generation - PJM - A generating unit that delivers energy to load without the Transmission System or any distribution facilities (unless the entity that owns or leases the distribution facilities consented to such use of the distribution facilities and such consent has been demonstrated to the satisfaction of the Office of Interconnection. 
Distributed Generation - ISO-NE - Shall mean generation resources directly connected to end-use customer load and located behind the end-use customer's billing meter, which reduce the amount of energy that would otherwise have been produced by other capacity resources on the electricity network. 
37. Dual-purpose or jointly enrolled resources – NERC - refers to resources that are enrolled in two or more product categories
38. Duration of Event – FERC - The length of an Emergency or Economic Demand Response Event in hours. 
39. Economic – NERC - dispatchable demand response, demand-side resources offered to provide load reductions to displace generation resources
40. Economic Demand Response Event – FERC - A DR event in which the DR program sponsor directs response to an economic market opportunity rather than for reliability or because of an emergency in the energy delivery system of the program sponsor orthe RTO/ISO. 
41. EIA ID Number – FERC - Unique identification number assigned by EIA to companies and entities operating in the electric power industry. 
42. Electric Power – FERC - The rate at which electric energy is transferred. Electric power is measured by capacity and is commonly expressed in megawatts (MW). 
43. Electric Utility – FERC - A corporation, person, agency, authority, or other legal entity or instrumentality aligned with distribution facilities for delivery of electric energy for use primarily by the public. Included are investor-owned electric utilities, municipal and state utilities, federal electric utilities, and rural electric cooperatives. A few entities that are tariff based and affiliated with companies that own distribution facilities are also included. 
44. Electricity – FERC - A form of energy characterized by the presence and motion of elementary charged particles generated by friction, induction, or chemical change. 
45. Emergency - FERC - A Demand Response event called by the program sponsor in response to an emergency of the delivery system of the demand response sponsor or of another entity such as a utility or ISO. 
Emergency – NERC - demand-side resource curtails during system and/or local capacity constraints
46. Emergency Demand Response Event – FERC - A DR event called by the program sponsor in response to an emergency of the delivery system of the demand response sponsor or of another entity such as a utility or ISO. 
47. Emergency Demand Response Program (EDRP) – FERC - A DR program that provides incentive payments to customers for load reductions during periods when reserve shortfalls arise. 
48. Emergency Programs - FERC - A Demand Response program that provides incentive payments to customers for load reduction during periods when reserves fall short.
49. Energy – FERC - The capacity for doing work as measured by the capability of doing work (potential energy) or the conversion of this capability to motion (kinetic energy). Energy has several forms, some of which are easily convertible and can be changed to another form useful for work. Most of the world's convertible energy comes from fossil fuels that are burned to produce heat that is then used as a transfer medium to mechanical or other means in order to accomplish tasks. Electrical energy is usually measured in kilowatt-hours. 
50. Energy Conservation - ISO-NE - Reduction or elimination of unnecessary energy use and waste. (WEB) 
51. Energy Effects – EIA - The changes in aggregate electricity use (measured in megawatthours) for consumers that participate in a utility DSM program. Energy Effects represent changes at the consumer's meter (i.e., exclude transmission and distribution effects) and reflect only activities that are undertaken specifically in response to utility-administered programs, including those activities implemented by third parties under contract to the utility. To the extent possible, Energy Effects should exclude non-program related effects such as changes in energy usage attributable to nonparticipants, government-mandated energy-efficiency standards that legislate improvements in building and appliance energy usage, changes in consumer behavior that result in greater energy use after initiation in a DSM program, the natural operations of the marketplace, and weather and business-cycle adjustments.
52. Energy Efficiency - EEI - Output quantity per unit of energy input, such as the amount of light (lumens) produced by a bulb per unit of energy input (watts).

Energy Efficiency - FERC - Refers to programs that are aimed at reducing the energy used by specific end-use devices and systems, typically without affecting the services provided. These programs reduce overall electricity consumption, often, but not always, without explicit consideration for the timing of programs-induced savings. Such savings are generally achieved by substituting technology more advanced equipment to produce the same level of end-use services (e.g. Lighting, heating, motor drive) with less electricity. Examples include energy saving appliances and lighting programs, high efficiency heating, ventilation and air conditioning (HVAC) systems or control modifications, efficient building design, advanced electric motor drives and heat recovery systems.

Energy Efficiency - ISO-NE - Shall be defined as installed measures (e.g., products, equipment, systems, services, practices and/or strategies) on end-use customer facilities that reduce the total amount of electrical energy needed, while delivering a comparable or improved level of end-use service. Such measures include, but are not limited to, the installation of more energy efficient lighting, motors, refrigeration, HVAC equipment and control systems, envelope measures, operations and maintenance procedures, and industrial process equipment. 

Energy Efficiency - ISO-NE - Technologies and measures that reduce the amount of electricity and/or fuel required to do the same work, such as powering homes, offices and industries. (WEB) 
Energy Efficiency – EIA - DSM programs that are aimed at reducing the energy used by specific end- use devices and systems, typically without affecting the services provided. These programs reduce overall electricity consumption (reported in megawatthours), often without explicit consideration for the timing of program-induced savings. Such savings are generally achieved by substituting technologically more advanced equipment to produce the same level of end-use services (e.g., lighting, heating, motor drive) with less electricity. Examples include energy saving appliances and lighting programs, high-efficiency heating, ventilating and air conditioning (HVAC) systems or control modifications, efficient building design, advanced electric motor drives, and heat recovery systems. 
Energy Efficiency – FERC - Refers to programs that are aimed at reducing the energy used by specific end-use devices and systems, typically without affecting the services provided. These programs reduce overall electricity consumption (reported in megawatt-hours), often, but not always, without explicit consideration for the timing of program-induced savings. Such savings are generally achieved by substituting technologically more advanced equipment to produce the same level of end-use services (e.g. lighting, heating, motor drive) with less electricity. Examples include energy saving appliances and lighting programs, high-efficiency heating, ventilating and air conditioning (HVAC) systems or control modifications, efficient building design, advanced electric motor drives, and heat recovery systems. 
Energy Efficiency – NERC - permanent changes to electricity use through replacement with more efficient end-use devices or more effective operation of existing devices
53. Energy Efficiency Measures - NYSERDA - Energy-efficient products that are promoted through the New York Energy $martK Program.  Energy efficiency measures lead to energy and cost savings when they replace standard products.

Energy Efficiency Measures - Iowa EE - Activities on the customers’ side of the meter which reduce customers’ energy use or demand including, but not limited to, end-use efficiency improvements; load control or load management; thermal energy storage; or pricing strategies.
54. Energy-Price – NERC - demand-side resource bids to curtail load for scheduling or dispatch and displaces generation resources; penalties are assessed for nonperformance 
55. Energy-Voluntary – NERC - demand-side resource curtails voluntarily when offered the opportunity to do so for compensation, but nonperformance is not penalized
56. Enhanced Customer Service – FERC - The ability to offer ultimate customers the choice of bill data, additional rate options such as real time pricing or critical peak pricing, verify an outage or restoration of service following an outage, more information to understand a customer concern over an electric bill, reduce bill estimates when a meter read is not available, opening or closing of an account due to customer relocation without requiring a site visit to the meter(s), and/or more accurate bills. 
57. Executive Dashboard – FERC - The ability of the AMI network to provide information that would support utility management viewing on a timely basis such information as current outages and MW sales. In this context, the utility would need to also have an executive dashboard application. Timely would not necessarily mean in real-time but it would likely mean that within an hour to 24 hours, management would be able to view usage measured at revenue and billing meters across the utility service territory. 
58. First Contingency – ERCOT, IRC Report - Operating reserves are established to ensure that sufficient fast-acting resources are available to withstand what is referred to as a “first contingency”—defined as the sudden loss of the largest unit.
59. Gas Meter – FERC - A meter that measures natural gas usage for ultimate customers. 
60. ICAP Credit – FERC - An ISO capacity credit to satisfy a resource requirement. 
61. Incremental Effects – EIA - The annual changes in energy use (measured in megawatthours) and peak load (measured in kilowatts) caused by new participants in existing DSM programs and all participants in new DSM programs during a given year. Reported Incremental Effects are annualized to indicate the program effects that would have occurred had these participants been initiated into the program on January 1 of the given year. Incremental effects are not simply the Annual Effects of a given year minus the Annual Effects of the prior year, since these net effects would fail to account for program attrition, equipment degradation, building demolition, and participant dropouts. Please note that Incremental Effects are not a monthly disaggregate of the Annual Effects, but are the total year's effects of only the new participants and programs for that year. 

62. Industrial – FERC - The energy-consuming sector that consists of all manufacturing facilities and equipment used for producing, processing, or assembling goods. The industrial sector encompasses the following types of activity: manufacturing; agriculture, forestry, and fisheries; mining; and construction. Overall energy use in this sector is largely for process heat and cooling and powering machinery, with lesser amounts used for facility heating, air conditioning, and lighting. Fossil fuels are also used as raw material inputs to manufactured products. This sector may include energy deliveries to large commercial customers, and may exclude deliveries to small industrial customers which may be included in the commercial sector. It also may classify by using the North American Industry Classification System or on the basis of energy demand or annual usage exceeding some specified limit set by the energy provider. 
63. Interface with Water or Gas Meters – FERC - The ability of the AMI network to collect water or gas meter readings and to transmit the gas or water meter readings over the AMI network to an entity that can provide the gas or water meter readings to the gas or water utility providing the service. 
64. Internal Demand – NERC - Is the sum of the metered (net) outputs of all generators within the system and the metered line flows into the system, less the metered line flows out of the system.  The demands for station service or auxiliary needs (such as fan motors, pump motors, and other equipment essential to the operation of the generating units) are not included. Internal Demand includes adjustments for all non-dispatchable demand response programs (such as Time-of-Use, Critical Peak Pricing, Real Time Pricing and System Peak Response Transmission Tariffs) and some dispatchable demand response (such as Demand Bidding and Buy-Back).

65. Interruptible/Curtailable Service (I/C) – FERC - Curtailment options integrated into retail tariffs that provide a rate discount or bill credit for agreeing to reduce load during system contingencies. Penalties may be assessed for failure to curtail. In some instances, the demand reduction may be affected by direct action of the System Operator (remote tripping) after notice to the customer in accordance with contractual provisions. For example, demands that can be interrupted to fulfill planning or operating reserve requirements normally should be reported as Interruptible Demand. Interruptible programs have traditionally been offered only to the largest industrial (or commercial) customers. Interruptible Demand as reported here does not include Direct Control Load or price responsive demand response. 
66. Interruptible Load – EIA - DSM program activities that, in accordance with contractual arrangements, can interrupt consumer load at times of seasonal peak load by direct control of the utility system operator or by action of the consumer at the direct request of the system operator. This type of control usually involves commercial and industrial consumers. In some instances, the load reduction may be affected by direct action of the system operator (remote tripping) after notice to the consumer in accordance with contractual provisions. 
67. Interruptible Load – NERC - curtailment options integrated into retail tariffs that provide a rate discount or bill credit for agreeing to reduce load during system contingencies. It is the magnitude of customer demand that, in accordance with contractual arrangements, can be interrupted at the time of the Regional Council’s seasonal peak.  In some instances, the demand reduction may be effected by action of the System Operator (remote tripping) after notice to the customer in accordance with contractual provisions.
68. Kilowatt (kW) – FERC - One thousand watts. 
69. Kilowatthour (kWh) – FERC - One thousand watt-hours. 
70. Line Loss – FERC - Electric energy lost because of the transmission of electricity. Much of the loss is thermal in nature. 
71. Load as a Capacity Resource – NERC - demand-side resources that commit to pre-specified load reductions when system contingencies arise
72. Load (Electric) – FERC - The amount of electric power delivered or required at any specific point or points on a system. The requirement originates at the energy-consuming equipment of the consumers. 
73. Load Forecasting – FERC - The estimation of future load requirements for specified intervals for a period of time. The load forecast may provide an estimate of hourly loads for a group of ultimate customers for the next five years, for example. 
74. Load Management - EEI - Economic reduction of electric energy demand during a utility's peak generating periods. Load management differs from conservation in that load management strategies are designed to either reduce or shift demand from on-peak to off-peak times, while conservation strategies may primarily reduce usage over the entire 24-hour period. Motivations for initiating load management include the reduction of capital expenditure, circumvention of capacity limitations, provision for economic dispatch, cost of service reduction, system efficiency improvements, or system reliability improvements. Actions may take the form of normal or emergency procedures.


Load Management - NYSERDA - Activities designed to influence the timing and magnitude of customer use of electricity.

Load Management - ISO-NE - Shall be defined as installed measures (e.g., products, equipment, systems, services, practices and/or strategies) on end-use customer facilities that curtail electrical usage or shift electrical usage from Demand Resource On-Peak Hours, Demand Resource Seasonal Peak Hours, Demand Resource Critical Peak Hours, or Real-Time Demand Response Event Hours to other hours and reduce the amount of capacity needed, while delivering a comparable or acceptable level of end-use service. Such measures include, but are not limited to, energy management systems, load control end-use cycling, load curtailment strategies, chilled water storage, and other forms of electricity storage. 
75. Load Shape – EIA - a method of describing peak load demand and the relationship of power supplied to the time of occurrence. 
76. Market - BGE - The end-use customers of electricity.
77. Market Baseline Assessment Research - NYSERDA - The act of collecting market data to inform program design, implementation, and evaluation.  Market baseline data is collected via surveys, focus groups, market studies, and secondary research (completed studies or data sources).  Follow-up assessments can be compared to initial baselines to measure whether or not changes in market behavior resulted from program activity.
78. Market Participant - NAESB - A party engaged in the process of providing competitive retail energy to end-use customers including but not limited to the Distribution Company, the Supplier, the Registration Agent, the settlement agent, and the meter reading entity.
79. Maximum Demand – FERC - The greatest amount of all demands of the load that has occurred within a specified period of time. 
80. Maximum Hourly Load – FERC - This is determined by the interval in which the 60-minute integrated. 
81. Measure - BGE - An action taken to reduce energy demand, interchangeable with "Program".

Measure - MPUC - A device or an application that is installed or implemented and that improves energy efficiency.

82. Measurements, Continuous - ISO-NE - Measurements repeated at regular intervals over the baseline period or contract term. (FEMP 2000)
83. Measurements, Long-Term - ISO-NE - Measurements taken over a period of several years. (FEMP 2000)
84. Measurements, Short-Term - ISO-NE - Measurements taken for several hours, weeks, or months. (FEMP 2000)
85. Measurements, Spot - ISO-NE - Measurements taken one-time; snapshot measurements. M&V Option One of four generic M&V approaches (A, B, C, and D) defined for ESPC projects. These options are defined in the International Performance Measurement and Verification Protocol (IPMVP) and in Chapter 2 of this document. (FEMP 2000)
86. Measurement and Verification (M&V) - CPUC - Protocol designed to prescribe how field measurements and data collection will be conducted to support impact evaluations, updates to ex-ante measure savings estimates and process evaluations.

Measurement and Verification (M&V) - NYSERDA - Used to confirm that baselines are accurately defined, ensure that energy measures are properly installed to generate the predicted savings (or energy output), and determine the actual savings achieved by the energy efficiency, or renewable resource, project.

Measurement and Verification - PJM - Hourly integrated meters or statistical sampling. Electric Distribution Company, the Load Serving Entity and the Curtailment Service Provider review the data. The EDC makes final approval.
87. Measurement and Verification Method - ISO-NE - A generic, non-project-specific M&V approach that applies one of the four M&V Options to a specific ECM technology category. Examples of ECM categories are lighting efficiency retrofits and constant-load motor retrofits. (FEMP 2000)
88. Measurement and Verification Plan - ISO-NE - Shall mean the measurement and verification plan submitted by a Demand Resource supplier as part of the qualification process for the Forward Capacity Auction pursuant to the requirements of Section III. 13.1.4.3 of this Market Rule and the ISO New England Manuals. 
89. Measurement and Verification Reference Reports - ISO-NE - Are optional reports submitted by Demand Resource suppliers. Measurement and Verification Reference Reports update the prospective Demand Reduction Value of the Demand Resource project based on measurement and verification studies performed during the Capacity Commitment Period.
90. Measurement and Verification Technique - ISO-NE - An evaluation procedure for determining energy and cost savings. M&V techniques discussed in this document include engineering calculations, metering, utility billing analysis, and computer simulation. (FEMP 2000)
91. Megawatt (MW) – FERC - One million watts of electricity. 
92. Megawatthour (MWh) – FERC - One thousand kilowatt-hours or 1 million watt-hours. 
93. Minimum Term – FERC - The minimum length in years that customers are obligated to participate in the DR program. 
94. Municipality – FERC - A village, town, city, county, or other political subdivision of a state. 
95. Net Energy to Load – NERC - Net Balancing Authority Area generation, plus energy received from other Balancing Authority Areas, less energy delivered to Balancing Authority Areas through interchange. It includes Balancing Authority Area losses but excludes energy required for storage at energy storage facilities.
96. Net Internal Demand – NERC - Equals the Total Internal Demand reduced by Direct Control Load Management and Interruptible Demand.
97. Non-dispatchable – NERC - demand-side resource curtails according to tariff structure, not instruction from a control center
98. Non-Spinning Reserve Service - An ancillary service that provides operating reserve not connected to the system but capable of serving demand within a specific time, or interruptible load that can be removed from the system in a specified time. Generally, the capacity needs to be able to be brought on-line within ten minutes, or the interruptible load needs to be removed within ten minutes.
99. Non-Spin Reserves – NERC - demand-side resource not connected to the system but capable of serving demand within a specified time
100. Operating Company – FERC - The name a utility uses in doing business within a particular state associated with a particular service territory. 
101. Other Load Management – EIA - DSM programs other than Direct Load Control and Interruptible Load that limit or shift peak load from on-peak to off-peak time periods. It includes technologies that primarily shift all or part of a load from one time-of-day to another and secondarily may have an impact on energy consumption. Examples include space heating and water heating storage systems, cool storage systems, and load limiting devices in energy management systems. This category also includes programs that aggressively promote time-of-use (TOU) rates and other innovative rates such as real time pricing. These rates are intended to reduce consumer bills and shift hours of operation of equipment from on-peak to off-peak periods through the application of time-differentiated rates. 
102. Outage Management – FERC - The response of an electric utility to an outage affecting the ultimate customers of the electric service. The utility may use the AMI network to detect outages, verify outages, map the extent of an outage, or verify the service has been restored after repairs have been made. 
103. Peak Demand – FERC - The maximum load during a specified period of time. 
104. Planning - BGE - Determining how to serve customer load through use of Demand Resources or by building new generation.

105. Potential MWh Change – FERC - The potential total annual change in energy consumption (measured in MWh) that would result from the deployment of DR programs. It reflects the total change in consumption if the full demand reduction capability of the program was deployed, as opposed to actual MWh change during the year. 
106. Potential Peak Reduction – EIA - The potential annual peak load reduction (measured in kilowatts) that can be deployed from Direct Load Control, Interruptible Load, Other Load Management, and Other DSM Program activities. (Please note that Energy Efficiency and Load Building are not included in Potential Peak Reduction.) It represents the load that can be reduced either by the direct control of the utility system operator or by the consumer in response to a utility request to curtail load. It reflects the installed load reduction capability, as opposed to the Actual Peak Reduction achieved by participants, during the time of annual system peak load. 
Potential Peak Reduction – FERC - The potential annual coincident peak load reduction (measured in megawatts) that can be deployed from DR programs. It represents the load that can be reduced either by the direct control of the utility system operator or by the consumer in response to a utility request to curtail load. It reflects the installed load reduction capability, as opposed to the Actual Peak Reduction achieved by participants, during the time of annual system peak load. It should account for the regular cycling of energy efficient units during the period of system peak load. For utilities, it should be the potential sum of demand reduction capability to their annual peak load (measured in megawatts) achieved by the program participants. For an ISO or RTO, it should be the sum of coincident reduction capability to the ISO or RTO achieved by participants at the time of system peak of the ISO or RTO. Similarly, for CSPs, it should be the sum of coincident reduction capability for sponsored by the CSP achieved by DR program participants at the time of the peak for the region in which they aggregate customer load.
107. Power Marketers – FERC - Business entities, including energy service providers, that are engaged in buying and selling electricity, but do not own generating or transmission facilities. Power marketers and energy service providers, as opposed to brokers, take ownership of the electricity and are involved in interstate trade. Power marketers file with the Federal Energy Regulatory Commission for status as a power marketer. Energy service providers may not register with FERC but may register with the states if they only undertake only retail transactions. 
108. Power Quality Monitoring – FERC - The ability of the AMI network to discern, record, and transmit to the utility instances where the voltage and/or frequency were not in ranges acceptable for reliability. 
109. Premise Device/Load Control Interface or Capability – FERC - The ability of the AMI network to communicate directly with a device located on the premises of the ultimate customer, which may or may not be owned by the utility. These might include a programmable communicating thermostat or a load control switch. 
110. Pre-Pay Metering – FERC - A metering and/or software and payment system that allows the ultimate customer to pay for electric service in advance. 
111. Price Response – PJM, IRC Report - customers paying prices linked to wholesale day-ahead and real-time prices. 
112. Price Responsive Demand Response – FERC - All DR programs that include the use of time-based rates to encourage retail customers to reduce demands when prices are relatively high. These DR programs may also include the use of automated responses. Customers may or may not have the option of overriding the automatic response to the high prices. 
113. Pricing Event Notification Capability – FERC - The ability of the AMI network to convey to utility customers participating in a price responsive DR program that a DR event is planned, beginning, ongoing, and/or ending. 
114. Program - BGE - A plan of action to accomplish a reduction in energy demand, interchangeable with "Measure".
115. Program Cost – EIA - Utility costs that reflect the total cash expenditures for the year, reported in nominal dollars, that flowed out to support DSM programs. They are reported in the year they are incurred, regardless of when the actual effects occur. 
116. Provision of Usage Information to Customers – FERC - The ability of the AMI network to convey to ultimate customers information on their usage in a timely fashion. Timely in this context would be dependent on the customer class, with larger customers generally receiving the information with less lag time than residential customers. 
117. Public Utility – FERC - Enterprise providing essential public services, such as electric, gas, telephone, water, and sewer under legally established monopoly conditions. 
118. Public Utility District – FERC - Municipal corporations organized to provide electric service to both incorporated cities and towns and unincorporated rural areas. 
119. Publicly Owned Electric Utility – FERC - A class of ownership found in the electric power industry. This group includes those utilities operated by municipalities, political subdivisions, and state and federal power agencies (such as BPA or TVA). 
120. Railroad and Railway Electric Service – FERC - Electricity supplied to railroads and interurban and street railways, for general railroad use, including the propulsion of cars or locomotives, where such electricity is supplied under separate and distinct rate schedules. 
121. Real-Time Demand Response Resource - ISO-NE - Is a type of Demand Resource and shall mean installed measures (e.g., products, equipment, systems, services, practices and/or strategies) on end-use customer facilities that: (i) curtail electrical usage within 30 minutes of receiving a Dispatch Instruction from the ISO; and (ii) continue curtailing electrical usage until receiving Dispatch Instructions from the ISO to restore electrical usage. Such measures include Load Management and Distributed Generation. The period of curtailment shall be consistent with Real-Time Demand Response Event Hours. (ISO-NE)
122. Real-Time Emergency Generation Resource - ISO-NE - Is Distributed Generation whose Federal, State and/or local air quality permit(s) limit the operation of these generators in response to requests from the ISO to the times when the ISO implements voltage reductions of five percent of normal operating voltage that require more than 10 minutes to implement. 

Real-Time Emergency Generation Resources must be: (i) capable of curtailing their electric consumption from the New England grid within 30 minutes of receiving a Dispatch Instruction from the ISO; and (ii) continue that curtailment until receiving a Dispatch Instruction to restore their consumption. 
123. Real Time Pricing – FERC - A retail rate in which the price for electricity typically fluctuates hourly reflecting changes in the wholesale price of electricity. RTP prices are typically known to customers on a day-ahead or hour-ahead basis. 
Real Time Pricing (RTP) – NERC - rate and price structure in which the price for electricity typically fluctuates to reflect changes in the wholesale price of electricity on either a day-ahead or hour-ahead basis
124. Reduce Line Losses – FERC - The ability to use the AMI network to lower the line losses on the transmission system. 
125. Regulation – NERC - demand-side resources responsive to Automatic Generation Control (AGC) to provide normal regulating margin
126. Regulation and Frequency Response Service - An ancillary service which provides for following the moment-to-moment variations in the demand or supply in a control area and maintaining scheduled interconnection frequency.
127. Reliability – NERC - dispatchable demand response, demand-side resources used to supplement generation resources resolving system and/or local capacity constraints
128. Remote Connect/Disconnect – FERC - The ability to physically turn on or turn off power to a particular billing or revenue meter without a site visit to the meter location. 
129. Remotely Change Metering Parameters – FERC - The ability to change parameters associated with a particular revenue or billing meter, such as the length of the data interval measured, without a site visit to the meter location. 
130. Replacement Reserve Service - An ancillary service that is procured from generation resource units planned to be off-line and load acting as a resource that are available for interruption during the period of requirement.
131. Residential – FERC - The energy-consuming sector that consists of living quarters for private households. Common uses of energy associated with this sector include space heating, water heating, air conditioning, lighting, refrigeration, cooking, and running a variety of other appliances. The residential sector excludes institutional living quarters. This sector may exclude deliveries or sales to apartment buildings or homes on military bases (these buildings or homes may be included in the commercial sector). 
132. Response Time – FERC - The maximum notice and lead time that a DR program sponsor provides to DR program participants prior to an economic or emergency demand response event. 
133. Retail – FERC - Sales covering electrical energy supplied for residential, commercial, and industrial end-use purposes. Other small classes, such as agriculture and street lighting, also are included in this category. 
134. Revenue Assurance – FERC - A set of activities designed to increase the revenue from providing electric service to ultimate customers, including locating meters without associated customer accounts, relatively high line losses compared with other similar locations, energy theft, and/or improper metering installations. 
135. Service Territory – FERC - The area within a particular state that an electric utility is allowed to serve ultimate customers for distribution, transmission, or energy services. 
136. Specific Event Limits – FERC - The maximum number of events that can be called during a year. 
137. Spinning Reserve Service - An ancillary service provided where unloaded (not in use) generating capacity of a system's firm resources is available on minutes' notice to take up load on a sustained basis.
138. Spinning/Responsive Reserves – NERC - demand-side resources that is synchronized and ready to provide solutions for energy supply and demand imbalance within the first few minutes of an electric grid event.
139. Standby Demand – NERC - the demand specified by contractual arrangement with a customer to provide power and energy to that customer as a secondary source or backup for an outage of the customer’s primary source.  Standby Demand is intended to be used infrequently by any one customer.
140. Summer Season Demand Resource - ISO-NE - Is a Demand Resource for which there is no or lower demand during winter peak associated with the end-use on which the Demand Resource measure is installed, and therefore the Winter Demand Reduction Value is zero or lower than the Summer Demand Reduction Value. 
141. System (Electric) – FERC - Physically connected generation, transmission, and distribution facilities operated as an integrated unit under one central management or operating supervision. 
142. System Peak Response Transmission Tariff – NERC - rate and/or price structure in which interval metered customers reduce load during coincident peaks as a way of reducing transmission charges
143. Theft Detection – FERC - The ability to detect when a revenue or billing meter has been potentially tampered with and indicate a potential energy theft in progress that should be further investigated by the utility. 
144. Time-Based Rate – FERC - A retail rate in which customers are charged different prices for different times during the day. Examples are time-of-use (TOU) rates, real time pricing, hourly pricing, and critical peak pricing. 
145. Time-of-Use (TOU) – NERC - rate and/or price structures with different unit prices for use during different blocks of time
146. Time-of-use (TOU) Rate – FERC - A rate with different unit prices for usage during different blocks of time, usually defined for a 24 hour day. TOU rates reflect the average cost of generating and delivering power during those time periods. Daily pricing blocks might include an on-peak, partial-peak, and off-peak price for non-holiday weekdays, with the on-peak price as the highest price, and the off-peak price as the lowest price. 
147. Time-Sensitive Pricing – NERC - retail rates and/or price structures designed to reflect time-varying differences in wholesale electricity costs, and thus provide consumers with an incentive to modify consumption behavior during high-cost and/or peak periods
148. Total Internal Demand – NERC - equals the sum of the Internal Demand and the Standby Demand
149. Transformer – FERC - A device that operates on magnetic principles to increase (step up) or decrease (step down) voltage. 
150. Transmission – FERC - The movement or transfer of electric energy over an interconnected group of lines and associated equipment between points of supply and points at which it is transformed for delivery to consumers or is delivered to other electric systems. Transmission is considered to end when the energy is transformed for distribution to the consumer. 
151. Transmission System (Electric) – FERC - An interconnected group of electric transmission lines and associated equipment for moving or transferring electric energy in bulk between points of supply and points at which it is transformed for delivery over the distribution system lines to consumers. 
152. Transportation – FERC - An energy consuming sector that consists of electricity supplied and services rendered to railroads and interurban and street railways, for general railroad use including the propulsion of cars or locomotives, where such electricity is supplied under separate and distinct rate schedules. 
153. Type of Organization – FERC - Identifies the type of organization that best represents the energy market participant – Investor-owned utilities (IOU), Municipal Utility (M), Cooperative Utility (C), State-owned Utility (S), Federally-owned Utility (F), Independent System Operator (ISO), Regional Transmission Operator (RTO), Curtailment Service Provider (CSP), or other (O). 
154. Ultimate Consumer - FERC - A consumer that purchases electricity for its own use and not for resale. 
155. Uncommitted Capacity – FERC - Generating resources that are physically located in the region, but are not dedicated or contractually committed to serve load in the region. 
156. Voltage Support Service - An ancillary service that is required to maintain transmission and distribution voltages on the transmission grid within acceptable limits.
157. Water meter – FERC - A meter that measures water usage for end-use customers. 
158. Watt (W) – FERC - The unit of electrical power equal to one ampere under a pressure of one volt. A watt is equal to 1/746 horsepower. 
159. Watt-hour (Wh) – FERC - The electrical energy unit of measure equal to one watt of power supplied to, or taken from, an electric circuit steadily for one hour. 
160. Year of Study – FERC - Identification of the projected years covered by a specified study. 
Sources Consulted
EEI 
 Edison Electric Institute - Glossary of Electric Terms 

EIA 
 http://www.eia.doe.gov/cneaf/electricity/page/glossary.html#cd
EIA
http://www.eia.doe.gov/cneaf/electricity/dsm/dsm_gloss.html
FERC
http://www.ferc.gov/industries/electric/indus-act/demand-response/glossary.pdf
IRC
http://www.naesb.org/pdf3/irc_dr_report_101607.pdf
MPUC
 65-407 Maine Public Utilities Commission Chapter 380: Electric Energy Conservation Programs

MGE
 http://www.mge.com/about/electric/glossary.htm#l
NERC
http://www.naesb.org/pdf3/nerc_dsmtf_report_110307.doc
BGE
 Either from Rider 5 and 24 of BGE’s Electric Tariff Rates or Improvised

NAESB
 NAESB REQ and RGQ Model Business Practices or NAESB Working Glossary
CPUC
 Excerpt from State of California Public Utilities Commission April 2006

NYSERDA 

ISO-NE

FERC

FEMP 2000

PJM

IOWA EE

The above six (NYSERDA, ISO-NE, FERC, FEMP 2000, PJM, and IOWA EE) were taken from other documents submitted to the NAESB site for DSM-EE.






















Draft Supporting Document for Glossary for DSM-EE, November 26, 2007

Page 1 of 19

