BPS/ESS/ITS Parking Lot
Postbacks/Counterflows Recommendation

1. Request to NERC regarding appropriately including unscheduled firm in the determination of non-firm ATC in the MODs in either the definition of ETC or Postback.
Status: Completed 3/11/2008, memo send to A. Rodriquez
2. Clarify definition of scheduling horizon in the postback table.
Status: completed 5-14-2008
3. Delete “horizon” language in column 1 of the postback table
Status: completed 5-14-2008
4. Should CBM and TRM (scheduled or otherwise) be part of the postback list.
Status: No. Separate, specifically identified components of the ATC/AFC algorithm.
5. What does “scheduled” and “unscheduled” mean? Is it the energy component on the tag or is it the transmission allocation on the tag? For example, if the reservation is 150 MW and the tag shows 100 MW of firm reservation capacity and 60 MWh of energy, is the unscheduled (for the non-firm ATC calculation) MW 50 or 90?
Status: 03/12/2008 – No decision, including no decision on whether to include definition in standard. Subcommittee members to do research to answer questions specified in the postback concepts document. Answered – see section 1.2.3 of 5-14-2008 proposed recommendation 
6. Decide whether to create a requirement for TPs to define “non-standard” postbacks on OASIS. (added on 04/16/08)
Status: Section 1.3 of 5-14-2008 proposed recommendation requires description of additional items to be included in Postback Methodology
7. Review Andy’s list to make sure he didn’t identify a postback item that was not included in “the A table”. (added 04/16/08)

Status:  JT will review by the meeting on 04/17/08. Completed on 4-17-2008.
8. Ensure that the accounting for counterflows (required by the NERC MODs to be included in the ATCID) is documented in the summary and/or rationale portions of the recommendation.
Status: Completed 5-14-2008
9. Discuss with NERC whether it would be appropriate for NAESB to require Transmission Providers to include information on their Post Back methodology in the ATCID.
Status:  Not necessary for this standard; however, sent request to NERC on 5-14-2008 and plan to discuss at 5-29-2008 joint meeting.
10. Include AFC when referring to ATC.

Status:  Included in 5-15-2008 standard. Need to discuss with NERC to ensure that the language is appropriate.
11. Add in the ATC Information Link a separate bullet titled “Postback Methodology”.
Status:  Completed 5-14-2008
12. Standardize “Postback” (one word, capitalized)
Status:  Completed 5-15-2008
13. Search and destroy ATCID, use Postback Methodology instead (throughout document)
Status:  Completed 5-15-2008
14. Include as part of vote for recommendation clean-up by NAESB staff of capitalization of firm and non-firm
Status:  

1 of 2
May 15, 2008

