ATTACHMENT C TC "ATTACHMENT C" \f C \l "1" 
Methodology To Assess Available Transfer Capability TC "Methodology To Assess Available Transfer Capability" \f C \l "2" 
The Transmission Provider must include, at a minimum, the following information concerning its ATC calculation methodology:

(1)
A detailed description of the specific mathematical algorithm used to calculate firm and non-firm ATC (and AFC, if applicable) for its scheduling horizon (same day and real-time), operating horizon (day ahead and pre-schedule) and planning horizon (beyond the operating horizon); 

(2)
A process flow diagram that illustrates the various steps through which ATC/AFC is calculated; and

(3)
A detailed explanation of how each of the ATC components is calculated for both the operating and planning horizons.  

(a)
For TTC, a Transmission Provider shall:  (i) explain its definition of TTC; (ii) explain its TTC calculation methodology; (iii) list the databases used in its TTC assessments; and (iv) explain the assumptions used in its TTC assessments regarding load levels, generation dispatch, and modeling of planned and contingency outages.

(b)
For ETC, a transmission provider shall explain:  (i) its definition of ETC; (ii) the calculation methodology used to determine the transmission capacity to be set aside for native load (including network load), and non-OATT customers (including, if applicable, an explanation of assumptions on the selection of generators that are modeled in service); (iii) how point-to-point transmission service requests are incorporated; (iv) how rollover rights are accounted for; (v) its processes for ensuring that non-firm capacity is released properly (e.g., when real time schedules replace the associated transmission service requests in its real-time calculations); and (vi) describe the step-by-step modeling study methodology and criteria for adding or eliminating flowgates (permanent and temporary).  

(c)
If a Transmission Provider uses an AFC methodology to calculate ATC, it shall:  (i) explain its definition of AFC; (ii) explain its AFC calculation methodology; (iii) explain its process for converting AFC into ATC for OASIS posting; (iv) list the databases used in its AFC assessments; and (v) explain the assumptions used in its AFC 

assessments regarding load levels, generation dispatch, and modeling of planned and contingency outages.

(d)
For TRM, a Transmission Provider shall explain:  (i) its definition of TRM; (ii) its TRM calculation methodology (e.g., its assumptions on load forecast errors, forecast errors in system topology or distribution factors and loop flow sources); (iii) the databases used in its TRM assessments; (iv) the conditions under which the transmission provider uses TRM.  A Transmission Provider that does not set aside transfer capability for TRM must so state.

(e)
For CBM, the Transmission Provider shall state include a specific and self-contained narrative explanation of its CBM practice, including: (i) an identification of the entity who performs the resource adequacy analysis for CBM determination; (ii) the methodology used to perform generation reliability assessments (e.g., probabilistic or deterministic); (iii) an explanation of whether the assessment method reflects a specific regional practice; (iv) the assumptions used in this assessment; and (v) the basis for the selection of paths on which CBM is set aside.

(f)
In addition, for CBM, a Transmission Provider shall:  (i) explain its definition of CBM; (ii) list the databases used in its CBM calculations; and (iii) demonstrate that there is no double-counting of contingency outages when performing CBM, TTC, and TRM calculations.

(g)
The Transmission Provider shall explain its procedures for allowing the use of CBM during emergencies (with an explanation of what constitutes an emergency, the entities that are permitted to use CBM during emergencies and the procedures which must be followed by the transmission providers’ merchant function and other load-serving entities when they need to access CBM).  If the Transmission Provider’s practice is not to set aside transfer capability for CBM, it shall so state.

