ETC – Questions Related Other Services
Standard MOD-028-1 — Area Interchange Methodology (Draft 4: April 16, 2008)
R8. 
When calculating Existing Transmission Commitments (ETCs) for firm commitments (ETCF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
 ETCF = NITSF + GFF + PTPF + RORF + OSF
OSF 
is the firm capacity reserved for any other service(s), contract(s), or agreement(s) not specified above using Firm Transmission Service, including any other firm adjustments to reflect impacts from other ATC Paths of the Transmission Service Provider as specified in the ATCID. 

R9. 
When calculating ETC for non-firm commitments (ETCNF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
ETCNF = NITSNF + GFNF + PTPNF + OSNF
OSNF 
is the non-firm capacity reserved for any other service(s), contract(s), or agreement(s) not specified above using Non-Firm Transmission Service, including any other firm adjustments to reflect impacts from other ATC Paths of the Transmission Service Provider as specified in the ATCID. 

Standard MOD-029-1 — Rated System Path Methodology (Draft 4: April 16, 2008)
R5.
When calculating ETC for firm Existing Transmission Commitments (ETCF) for a specified period for an ATC Path, the Transmission Service Provider shall use the algorithm below: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning] 

ETCF = NLF + NITSF + GFF + PTPF + RORF + OSF

OSF 
is the firm capacity reserved for any other service(s), contract(s), or agreement(s) not specified above using Firm Transmission Service as specified in the ATCID.
R6. 
When calculating ETC for non-firm Existing Transmission Commitments (ETCNF) for all time horizons for an ATC Path the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning] 

ETCNF = NITSNF + GFNF + PTPNF + OSNF

OSNF
is the non-firm capacity reserved for any other service(s), contract(s), or agreement(s) not specified above using non-firm transmission service as specified in the ATCID.
Standard MOD-030-1 — Flowgate Methodology (Draft 4: April 16, 2008)
R6.
When calculating the impact of ETC for firm commitments (ETCFi) for all time periods for a Flowgate, the Transmission Service Provider shall sum the following: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning] 

R6.7.
The impact of other firm services determined by the Transmission Service Provider.
R7.
When calculating the impact of ETC for non-firm commitments (ETCNFi) for all time periods for a Flowgate the Transmission Service Provider shall sum: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning] 

R7.7.
The impact of other non-firm services determined by the Transmission Service Provider. 

Scope B:

1. consistency - no issues

2. sufficient specificity – no issues  for MOD-028 and MOD-030 (for MOD-030 is this specific enough vis-à-vis MOD-028 and MOD-029)
3. clarity – no issues

Scope C:
Issues – 
MOD-028 and MOD-029 What is required to be specified in the ATCID? (among other things) 
MOD-030 Should the TP be required to specify in the ATCID? If so, what details?
Scope D:

1. consistency – issues
2. sufficient specificity – issues
3. clarity – issues
Page 1 of 2
May 20, 2008


