	BPS/ESS/ITS Motions

Existing Transmission Commitments Recommendation

	
	Date
	Motion By
	Second
	Status
	Motion

	1
	5/29/2008
	W. Weathers
	
	passed
	The posting requirement for grandfathered component of ETC consists of posting of a MW value as used in the ATC formula (used to post ATC) with no additional requirement for the grandfathered component.  For MOD 30 posting of equivalent information is acceptable.

	2
	6/12/2008
	W. Weathers
	
	Motion passed
	Include the following language in the standard:

001-n.1.1.1 If the Transmission Provider has already included the MW value of a grandfathered agreement in another ETC component, the Transmission Provider should not include such value in the aggregate MW value for grandfathered agreements.

	3
	6/12/2008
	B. Green
	
	Motion passed
	TPs shall identify how grandfathered agreements have been accounted for in the calculation of ATC. 
For example, some TPs may show all or some grandfathered agreements as a PtP or network reservation or may be included in native load and will use a null value in the GF fields of systemdata. Passing of this motion would require an explanation of this treatment being posted somewhere on OASIS.

	4
	6/12/2008
	M. Otondo
	
	Motion passed
	The information required to be provided in motion #3 will be found in the ATCID.

	5
	6/12/2008
	M. Otondo
	
	Motion Passed
	The concepts outlined in the 6/12/2008 version of the rollover rights concept document (provided by A. Pritchard and amended during the 6/12/2008 meeting) are the basis for the standards to be written for the rollover rights component of ETC.



Page 2 of 2
June 12, 2008

