[image: image1.wmf] 


[image: image2.wmf] 


[image: image3.png]\

o

l




RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
WEQ

                                       Requesters: 
ESS/ITS/BPS Subcommittees



                                       Request No.: 
2008AP 6.d
                                       Request Title:
Modify WEQ-001 to reflect in the definition of certain ancillary services that such ancillary services may be provided by non-generation resources such as demand resources.

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

  X  Accept as requested


      Change to Existing Practice

      Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

  X  Modification




  X  Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  X  Business Practice Standard 


  X  Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


      X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


This recommendation addresses WEQ 2008 Annual Plan item 6.d, Modify WEQ-001 to reflect in the definition of certain ancillary services that such ancillary services may be provided by non-generation resources such as demand resources  The proposed standards will be incorporated into WEQ-001, Business Practice Standards for OASIS.
Recommended Standards:
Modifications to WEQ-001 (Revisions noted with redlines Requirements)
001-2.5.2
Reactive Supply and Voltage Control from Generation or Other Sources Service (RV) - is the provision of reactive power and voltage control by generating facilities or non-generation resources capable of providing this service that are under the control of the control area operator. This service is necessary to the provision of basic transmission service within every control area and in accordance with Standard 3.2 (and Schedule 2) of the pro forma tariff.

001-2.5.3
Regulation and Frequency Response Service (RF) - is provided for transmission within or into the transmission provider's control area to serve load in the area. Customers may be able to satisfy the regulation service obligation by providing generation with automatic generation control capabilities or by other non-generation resources capable of providing this service to the control area in which the load resides and in accordance with Standard 3.3 (and Schedule 3) of the pro forma tariff.

001-2.5.4
Energy Imbalance Service (EI) - is the service for transmission within and into the transmission provider's control area to serve load in the area.  Energy imbalance represents the deviation between the scheduled and actual delivery of energy to a load in the local control area over a single hour and in accordance with Schedule 4 of the pro forma tariff.

001-2.5.5
Operating Reserve - Spinning Reserve Service (SP) - is provided by generating units that are on-line and loaded at less than maximum output or by non-generation resources capable of providing this service. They are available to serve load immediately in an unexpected contingency, such as an unplanned outage of a generating unit and in accordance with Standard 3.5 (and Schedule 5) of the pro forma tariff.

001-2.5.6
Operating Reserve - Supplemental Reserve Service (SU) - is generating capacity or other resources that can be used to respond to contingency situations. Supplemental reserve is not available instantaneously, but rather within a short period (usually ten minutes). It is provided by generating units that are on-line but unloaded, by quick-start generation, by customer interrupted load or by other non-generation resources capable of providing this service and in accordance with Standard 3.6 (and Schedule 6) of the pro forma tariff.
001-2.5.7
Generator Imbalance Service (GI) - is provided when a difference occurs between the output of a generator located in the Transmission Provider’s Control Area and a delivery schedule from that generator to (1) another Control Area or (2) a load within the Transmission Provider’s Control Area over a single hour and in accordance with Schedule 9 of the pro forma tariff.

4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

On April 21, 2008 in Federal Energy Regulatory Commission Docket No. RM05-5-005 Commissioner Wellinghoff submitted a concurrence to the Commission’s issuance of a Notice of Proposed Rulemaking. In his concurrence, Commissioner Wellinghoff encouraged NAESB and its stakeholders to amend WEQ-001, as soon as possible, to avoid any confusion between the Order No. 890 pro forma OATT definitions of certain ancillary service and the WEQ-001 definitions of those same ancillary services. Order No. 890 revised the referenced ancillary service definitions in the pro forma OATT to specifically reflect the possible role of demand resources in the provision of the cited ancillary services. The ancillary services cited in the concurrence include: Reactive Supply and Voltage Control, Regulation and Frequency Response, Energy Imbalances, Spinning Reserves, Supplemental Reserves, and Generator Imbalances.
b.  Description of Recommendation:

Amend certain ancillary service definitions contained in WEQ-001 to reflect the definitions contained in the pro forma OATT as revised by Order No. 890
c.  Business Purpose:

d. Commentary/Rationale of Subcommittee(s)/Task Force(s):

Please review the following concurrence submitted by Commissioner Wellinghoff on April 21, 2008 in Federal Energy Regulatory Commission Docket No. RM05-5-005:

· [to be completed by NAESB Staff]
Please review the following ESS/ITS Subcommittee meeting minutes:

· [to be completed by NAESB Staff]
Please review the Motions Document:  
· [to be completed by NAESB Staff]  

PAGE  
June 5, 2008

Page 1 of 3

_1075620371.doc
[image: image1.png]|

Lo







