

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
WEQ
                                       Requesters:
WEQ Joint ESS/ITS and BPS Subcommittee
                                       Request No.: 
2008 AP Item 6.e.i (WEQ-001)
                                       Request Title:
Modify NAESB Definitions to address internal inconsistencies and inconsistencies with the NERC Glossary (Modify NAESB definitions related to the remaining business practices – WEQ-001)
DRAFT


1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

      Accept as requested



  X  Change to Existing Practice

  X  Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

   X Modification




 X   Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

      Business Practice Standard 


      Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


In Docket RM05-5-005 Notice of Proposed Rule Making Standards for Standards for Business Practices and Communication Protocols for Public Utilities issued April 21, 2008, the commission stated in paragraph 28:
28.
There also appear to be some instances in various NAESB standards where the same term is defined differently.  For example, the definition of Balancing Authority in Standard WEQ-004-0.3 is not identical to the definition of that same term in Standard WEQ-008-0.4.  As the Commission stated in Order No. 676, the standards relating to reliability would be clearer if a single definition were used.  Although in Order No. 676 the Commission generally found that NERC should take the lead in defining reliability-related terms,  we recognize that good reasons may exist in certain cases for some differences in these terms.  We therefore request comment on whether the differences in definitions are significant and whether a single definition for reliability-related terms should be adopted in future standards.  

To address the inconsistencies with the definition of terms documented in WEQ-001 (Business Practices for Open Access Same-Time Information Systems (OASIS), Version 1.4) the Joint ESS/ITS and BPS is recommending the proposed changes to the following definitions. 
Recommended Standards:

001-0.12
Transmission Customer – Any eligible customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service.

002-0.4 Transmission Customer (TC or Customer) - Is any eligible Customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service. (Consistent with the definition in WEQ-001-0.12).
008-0.39 Transmission Customer – Any eligible customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service.
NERC Definition 
1. Any eligible customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service.

2. Any of the following responsible entities: Generator Owner, Load-Serving Entity, or Purchasing-Selling Entity.
001-0.11
Transmission Provider  – Any public utility that owns, operates, or controls facilities used for the transmission of electric energy in interstate commerce.
002-0.5 Transmission Provider or Primary Provider - Is the public utility (or its designated agent) that owns, operates or controls facilities used for the transmission of electric energy in interstate commerce. (Consistent with the definition in WEQ-001-0.11).
002-0.5 Transmission Services Information Provider – Is a Transmission Provider or an agent to whom the Transmission Provider has delegated the responsibility of meeting any of the requirements associated with OASIS. (Consistent with the definition of Responsible Party in WEQ-001-0.9).
007.0.10 Transmission Service Provider (TSP) – The entity that administers the transmission tariff and provides transmission services to qualified market participants under applicable transmission service agreements.
008-0.43 Transmission Service Provider or Transmission Provider - The entity that administers the transmission tariff and provides transmission services to qualified Transmission Customers under applicable transmission service agreements.
NERC Definition: The entity that administers the transmission tariff and provides Transmission Service to Transmission Customers under applicable transmission service agreements.
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

Eliminate inconsistencies between definition of terms within the NAESB Business Practices and between the NERC Standards and NAESB Business Practices.
b.  Description of Recommendation:

Eliminate inconsistencies between definition of terms within the NAESB Business Practices and between the NERC Standards and NAESB Business Practices.
c.  Business Purpose:

Address concerns raised by the FERC in RM05-05-005 paragraph 28 
28.
There also appear to be some instances in various NAESB standards where the same term is defined differently.  For example, the definition of Balancing Authority in Standard WEQ-004-0.3 is not identical to the definition of that same term in Standard WEQ-008-0.4.  As the Commission stated in Order No. 676, the standards relating to reliability would be clearer if a single definition were used.  Although in Order No. 676 the Commission generally found that NERC should take the lead in defining reliability-related terms,  we recognize that good reasons may exist in certain cases for some differences in these terms.  We therefore request comment on whether the differences in definitions are significant and whether a single definition for reliability-related terms should be adopted in future standards.  

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

001-0.12 
Transmission Customer – 

001-0.11
Transmission Provider  – 
Supporting documentation: (NAESB Staff to add appropriate links)
· FERC Docket RM05-5-005

· Comparision of NAESB/NERC Definitions
· WEQ Joint ESS/ITS and BPS Meeting Minutes July 08-09, 2008
· WEQ Joint ESS/ITS and BPS Meeting Minutes July 17, 2008
3
June 28, 2008
Page 4

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







