To:

NAESB Office; WEQ Executive Committee Chairs

From:

Barbara Rehman, Bonneville Power Administrative

Subject:
Additional Minor Corrections

ATC Information Link, 2008 AP Item 2.b.vii, WEQ-001 changes for “ATC Information Link” on OASIS and TTC and ATC methodologies and values
Date: 
June 20, 2008

 During a review of the above Recommendation currently out for member ratification, it was determined that there is a need for additional minor corrections, as set forth below:
(Redline)
001-13.1.5 ATC INFORMATION LINK

If the Transmission Provider does not use CBM or TRM in their assessment of ATC or AFC, that information shall be found in the CBM Implementation Document – CBMID or TRM Implementation Document – TRMID link below.

The information posted at “ATC Information” should include the following links:

· Available Transfer Capability Implementation Document - ATCID (as specified in NERC [MOD-001-?])

· CBM Implementation Document - CBMID (as specified in NERC [MOD-004-?])

· TRM Implementation Document - TRMID (as specified in NERC [MOD-008-?])

· ATC or AFC Methodology Contact (as required by WEQ-001-xx), as applicable,
· Transmission Provider
· Transmission Operator for TTC or TFC questions or concerns associated with Joint/Mulitiple Ownership Facilities
· Load Forecast Descriptive Statement (as specified in WEQ-001-n.6.5 [“n” represents 2008 WEQ Annual Plan Item 2.b.vii])
001 – XX.1 
Procedure for Addressing ATC or AFC Methodology Questions 

The Transmission Provider shall respond to questions related to the applicable ATC of AFC methodologies, including but not limited to derivation of values, underlying assumptions or data inputs within one week of the receipt by the Transmission Provider’s ATC or AFC Methodology Contact and shall respond to the question or shall provide an estimate of the amount of time needed to respond. Such questions must be submitted to the contact specified by the Transmission Provider ‘s contact information under the ATC Information Link as specified under WEQ- 001-13.1.5.

(Clean)
001-13.1.6 ATC INFORMATION LINK

If the Transmission Provider does not use CBM or TRM in their assessment of ATC or AFC, that information shall be found in the CBM Implementation Document – CBMID or TRM Implementation Document – TRMID link below.

The information posted at “ATC Information” should include the following links:

· Available Transfer Capability Implementation Document - ATCID (as specified in NERC [MOD-001-?])

· CBM Implementation Document - CBMID (as specified in NERC [MOD-004-?])

· TRM Implementation Document - TRMID (as specified in NERC [MOD-008-?])

· ATC or AFC Methodology Contact (as required by WEQ-001-xx), as applicable,

· Transmission Provider

· Transmission Operator for TTC or TFC qu;estions or concerns associated with Joint/Mulitiple Ownership Facilities

· Load Forecast Descriptive Statement (as specified in WEQ-001-n.6.5 [“n” represents 2008 WEQ Annual Plan Item 2.b.vii])
001 – XX.1 
Procedure for Addressing ATC or AFC Methodology Questions 

The Transmission Provider shall respond to questions related to the applicable ATC of AFC methodologies, including but not limited to derivation of values, underlying assumptions or data inputs within one week of the receipt by the Transmission Provider’s ATC or AFC Methodology Contact and shall respond to the question or shall provide an estimate of the amount of time needed to respond. Such questions must be submitted to the contact specified by the Transmission Provider ‘s contact information under the ATC Information Link as specified under WEQ- 001-13.1.5.

Page 2 of 2

