NAESB Wholesale Electric Quadrant Executive Committee Meeting

Monday, October 6, 2008 (Conference Call)

Motions:

To accept proposed Recommendation 2008 Annual Plan Item 2(c).  (B. Green/R. Mucci)

MOTION FAILED (Notational Ballot will be sent out)

Friendly Amendments:

- EPSA recommends that Footnote 3 of the standard be revised as follows by removing the words shown with strikeout and replacing them with the yellow highlighted words:

All “No” responses should contain a reason in the Comment field.

All “No” responses must contain one of the following reasons in the Comment field.

Potential “No” Comments:

- Market Sensitive Information

- CEII Information

- Security Sensitive Information

- Reliability Sensitive Information

- Data not created by the Transmission Provider but provided to the Transmission Provider from xxx (include entity identity of information provider)

- Data not utilized by the Transmission Provider

- If none of the above apply, Other (must specify)

All “Yes” responses must contain one of the following explanations in the Comment field.

Potential “Yes” Comments:

- Available on OASIS

- Available upon request (in the electronic format in which it was created along with any necessary decoding instructions)

- Available upon request (in the electronic format in which it was created along with any necessary decoding instructions) but may be subject to a confidentiality agreement

- If none of the above apply, Other (must specify)

(ACCEPTED by B.Green/R. Mucci)

AMENDMENT TO MOTION- PASSES

2.	(WEQ BPS & ESS/ITS Co-chairs) recommend the following changes:

The letter at the front of the recommendation be stricken.

(ACCEPTED by B. Green/R. Mucci)

Rewording of the recommendation Background and Summary language, apply updated language in WEQ-001-13.1.5 ATC Information Link, and modify Supporting Documentation (d) with clarification change to meeting links.

(ACCEPTED by B. Green/R. Mucci)

- SRS recommends the following changes:

The SRS would recommend the footers on the recommendation be updated to remove “on OASIS” since some of the data may be available upon request without being posted on OASIS or the data may not be available at all.

General 	The SRS would recommend the footers on the recommendation be updated to remove “on OASIS” since some of the data may be available upon request without being posted on OASIS or the data may not be available at all.

(ACCEPTED by B. Green/R. Mucci)

001.n	LIST OF ATC RELATED INFORMATION Introductory paragraphs:

- In the first paragraph where the MOD standards are listed the Executive Committee may want to include the version numbers for the MOD standards to be consistent with other standards (See 001-13.1.5 for an example.)

(ACCEPTED by B. Green/R. Mucci)

- In the second paragraph the Executive Committee should consider changing “NERC MOD standards” to “NERC ATC Standards” since NERC ATC Standards was defined in the first paragraph to include MOD-001, 004, 008, 028, 029, and 030.

(ACCEPTED by B. Green/R. Mucci)

- Table Item Number 1 references “partial period outages” which is not specifically referenced in the NERC standards.  As part of the final review of the recommendation, per the cover letter, the group reviewing the NERC MOD standards may need to update this item.

(ACCEPTED by B. Green/R. Mucci: upon verification with NERC (R3.6) before removing from the table) [NAESB staff contacted A. Rodriguez of NERC on October 7, 2008.  Reference to “partial period outages” is still referenced in MOD-001(R3.6). Requested change will not be applied as the request to apply was provisional based on NERC staff assessment of consistency with NERC standards.]

- Table Items Numbers 26 through 28 are subject to change pending approval of MOD-004.

(ACCEPTED by B. Green/R. Mucci: Add language to specify NAESB Leadership will check when the final version of MOD-004 is approved)[see Summary for applied language]

- Table Item Number 33 under ATC-Related Item the SRS is recommending the language be changed to “If the Transmission Service Provider’s AFC calculation process involves a grouping of generators, the ATCID must identify how these generators participate in the group.”  This change is being recommended so the language is consistent with NERC requirement R1.2.4.

(ACCEPTED by B. Green/R. Mucci: upon verification with NERC to delete language down to “If The Trans….). [NAESB staff contacted A. Rodriguez of NERC on October 7, 2008.  Current language is consistent with NERC  MOD-030(R1.1, R1.2.1, R1.2.2, R1.2.3).  Requested change will not be applied as the request to apply was provisional based on NERC staff assessment of consistency with NERC standards.]

4.	B. Green - NERC recommended the following change to Item # 18:  Pre-populate this item in table:

Available column: No

Comment column: (Check with A. Rodriguez (NERC) on population of the column) (ACCEPTED by B. Green/R. Mucci) [NAESB staff contacted A. Rodriguez of NERC on October 7, 2008.  Item #18 available column should be populated as “No” and the comment column should be populated as “Is considered CEII data.”]

Motion:

Delete the existing Recommendation details included in 2008 WEQ annual Plan Item 2.c ATC Information List and replace it with “Recommendation: no action required.”. Conforming changes will need to be made throughout the document.

(E. Davis/E. Skiba)

MOTION PASSES