North American Energy Standards Board

1301 Fannin, Suite 2350   (   Houston, Texas 77002   (   Phone:  (713) 356-0060 (   Fax:  (713) 356-0067

email:   naesb@naesb.org   (   Web Site Address:  www.naesb.org

[image: image1.png]






PUT DATE HERE
RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

For Quadrant: 
Wholesale Electric Quadrant

Requesters: 
WEQ EC Ad Hoc Group formed 5-13-08
Request No.:
2008 WEQ Annual Plan Item 2.c
Request Title:
Business practice standards for data exchange for ATC modeling complementary to the related NERC reliability standards – ATC Related Information List

Dear Wholesale Electric Quadrant Members and Interested Industry Participants – 

For the attached recommendation for standards that are linked to NERC standards development for FERC Order No. 890, our subcommittees have accepted these proposed standards and are asking you to comment on them in a formal comment period.  They are also asking the WEQ Executive Committee to consider this recommendation and comments that are submitted during the formal comment period, and vote on this recommendation.
The subcommittees understand that the proposed standards include references to NERC reliability standards that have not yet been approved through the NERC process, but are based on their current work products.  The proposed standards include placeholders for the NERC references, which will be added once they are approved by NERC.  The subcommittees do not expect that this recommendation will require significant rework by the subcommittees once NERC adopts its related reliability standards.  The subcommittees’ chairs will review the final NERC standards once adopted and will identify if any changes are needed to recommendations that have already been processed through commenting and EC consideration.  If changes are needed, a determination will be made whether the changes can be processed as minor actions, or for more substantive changes, the standards modification process will be used.

We are taking these steps and offering this recommendation for your comment and for EC consideration for vote rather than waiting until NERC completes its full process because:
(1) NERC has developed draft standards for the referenced items which have been processed through at least one ballotting period.

(2) The NAESB subcommittees do not expect the changes to be made by NERC in its current efforts to yield substantive changes to the NAESB related standards.   
(3) The progress being made by the subcommittees now on Order 890 towards meeting the August deadline will be adversely affected if the all NAESB Order No. 890 recommendations with NERC references are held in abeyance until NERC has concluded its efforts.
(4) The interested industry participants and the WEQ EC will have the opportunity to review the  NAESB Order No. 890 recommendations with NERC references for formal comment and consideration as NAESB completes its efforts on each recommendation.  In this manner, the industry and the EC are asked to consider proposed standards within a reasonable workflow.  The alternative is to hold all NAESB Order No. 890 recommendations with NERC references and then submit them all for industry comment and EC consideration which would provide a significant amout of documents for review, comment and consideration.  

(5) Last but certainly not least, submitting the recommendations now to the industry and to the WEQ EC will provide the necessary signals from the industry through formal comments and through EC actions.  If corrective action is needed, NAESB would have the opportunity to meet or come closer to the deadlines set by the FERC.  

Please note that the subcommittees have worked diligiently on this recommendation along with the work products available from NERC and that all steps outlined conform with NAESB operating procedures.  We appreciate your consideration and your comments.
With Best Regards,

Marcie Otondo, Co-Chair, NAESB Electronic Scheduling Subcommittee/Information Technology Subcommittee

Ed Skiba, Co-Chair, NAESB Business Practices Subcommittee
Paul Sorenson, Co-Chair, NAESB Electronic Scheduling Subcommittee/Information Technology Subcommittee
J.T. Wood, Co-Chair, NAESB Business Practices Subcommittee and Co-Chair,  NAESB Electronic Scheduling Subcommittee/Information Technology Subcommittee
1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

 X  Accept as requested



  X  Change to Existing Practice

      Accept as modified below


       Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
  X Initiation




 X  Initiation 

      Modification



 
      Modification

      Interpretation




      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  X Business Practice Standard 


 X  Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

     Business Process Documentation

     Business Process Documentation

3.  RECOMMENDATION

BACKGROUND:  The Joint ESS/ITS and BPS subcommittee reviewed the 2008 WEQ Annual Plan Item 2.b.v.2:

Business practice standards for data exchange for ATC modeling complementary to the related NERC reliability standards including any OASIS posting requirements to achieve the data exchange.  

The business practices developed to address this item will require no coordination with the NERC Order 890 reliability standards development.

Upon review of this annual plan item and the requirements developed by NERC under MOD-001, MOD-004, MOD-008, MOD028, MOD-029, and MOD-030 the joint subcomittee is recommending no NAESB Business Practice Standards be developed for this annual plan item.  The joint subcommittee has opted to take no action on this annual plan item, as the data exchange requirements have been addressed in the NERC standards.  Members of the NERC ATC Drafting Team agreed with this action.   This position was supported by the WEQ EC on May 13 through a simple majority vote to support no changes (2008 WEQ Annual Plan Item 2.b.v.2).  In doing so, on May 13, 2008, the WEQ Executive Committee formed an ad hoc group to consider the need for a list of publicly available and not publicly available ATC/TTC related information.  
SUMMARY:

The WEQ EC ad hoc group met on June 6, 2008 and determined to pursue the list, not through the proscriptive means of detailing each piece of information that should be made available or not made available publicly, and then uniformly apply such requirements to all transmission providers.  Instead the group determined to pursue the list through a standardized report that the TPs would post on OASIS.  The report would be standardized, and each TP would complete the report specific to its own operations, and would maintain the currency of the information posted.  In this approach, the TPs would not have a “one size fits all” approach to the information to be made public or to remain not-public, and the market participants would have access through a standardized report to the TPs decisions on acess to ATC related information. The ad hoc group met also on PUT DATES HERE  to finalize this approach and draft the needed business practices.  
Recommended Standard:

WEQ-001.n
Each Transmission Provider (TP) shall prepare a report according to the format given herein,completing colums  and will post such report on OASIS for public access and download. 
	LIST OF ATC RELATED INFORMATION
This list identifies the data associated with ATC calculations, as addressed in NERC ATC Standards (MOD - 001, MOD – 004, MOD – 008, MOD – 028, MOD – 029 and MOD – 030) and its availability.


	Item #
	NERC Reference
	ATC-Related Item 
	Publicly Available
	Comments

	1
	MOD-001
	ATC values 
	
	

	2
	MOD-001
	The Available Transfer Capability Implementation Document (ATCID) 
	
	

	3
	MOD-001
	Expected generation outages


	
	

	4
	MOD-001
	Expected generation additions


	
	

	5
	MOD-001
	Expected generation retirements
	
	

	6
	MOD-001
	Expected Transmission outages


	
	

	7
	MOD-001
	Expected Transmission additions 


	
	

	8
	MOD-001
	Expected Transmission retirements
	
	

	Additional ATC Related Items (optionally provided by the TP)

	Seq #
	Optional: To Be Provided
	Optional: To Be Provided
	
	


Instructions for completing the report:

1.  
The currency of the report shall be maintained by the TP.  

2.  
This table addresses the provision of data to the industry at-large; compliance with NERC data exchange standards do not necessarily meet the requirements of this standard, and provision of this information to the industry at-large is not guaranteed to satisfy the NERC data exchange requirements.
3.  
TPs are not requried to provide information of other entities.  

4.  
When completing the “Publicly Available” column,  the TP should provide an answer of “yes” or “no.”

5.
For the “yes” responses in the “Publicly Available” column, the TP should provide in the “Comments” column the means by which the information is available:

a. Available on OASIS

b. Available upon request (in the electronic format in which it was created along with any necessary decoding instructions)

c. Available upon request (in the electronic format in which it was created along with any necessary decoding instructions) but may be subject to a confidentiality agreement

6.
For the “no” responses in the “Publicly Available” column, the TP should provide in the “Comments” column the reason for the confidentiality – such as: 

a. Market Sensitive Information

b. CEII Information

c. Security Sensitive Information

d. Reliability Sensitive Information
7.
At the TP’s option. the TP can provide additional ATC related items as shown in the report after item no. 8. 
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

The request can be inferred from the FERC Order No. 890 and 890-A requirements for transparency of ATC/TTC related information.  A recitation of the relevant cites from the orders can be found at the following link:  http://www.naesb.org/pdf3/weq_ec_atc060608w1.doc.
b.  Description of Recommendation:
The recommendation provides a reporting tool to aid in transparency as referenced in FERC Order Nos. 890 and 890-A.  It identifies the information for which each Transmission Provider (TP) will designate the access as public or non-public with reasons given for the access designation.
c.  Business Purpose:
The purpose served by providing the report is market transparency.  In provideing the report, the market participants can easily idntify which ATC related information is publicly available versus that information that requires restricted or no access.
d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
Joint BPS & ESS/ITS Draft Meeting Minutes March 10-13, 2008: http://naesb.org/pdf3/weq_atc_afc031008fm.doc  

ATC-AFC Motions (from March 10-13, 2008 meeting):  http://naesb.org/pdf3/weq_atc_afc031008a8.doc
WEQ EC Meeting 5-13-08:  Add Link
WEQ EC Ad Hoc group Meeting 6-6-08:  Add Link
3
Page 2

