
ESS/ITS ISSUES

Conditional Firm Recommendation

NOTE: References to the proposed standard are references to the “April 4th 2008 oati + WC conditional firm” draft standard.

1. May offer combination of hours/conditions? Need cite = Order 890, paragraph 960. Combination of planning redispatch and CCO (with CCO having to pick either hours or conditions, but not both). Can have planning redispatch or CCO (with CCO having to pick either hours or conditions, but not both) or combined planning redispatch with CCO (with CCO having to pick either hours or conditions, but not both).

Status: Subcommittee determined that CCO will be either/or selection of hours versus conditions. May leave out reference to planning redispatch. Still need to discuss planning redispatch at April 15th meeting 

2. First in line for short term firm ATC that becomes available? If so, how?

Status: Defer to April 15th meeting.  NO.  Short term AFC coming available merely reduces the exposure for the conditions that would cause the conditional part to kick in.
3. Definition of Conditional Curtailment refers to tagging priority (6NN) which is not in OASIS (NERC curtailment equal to 6 would be the OASIS equivalent/designation). Need to review and adjust accordingly.

Status: Proposed standards language needs to be redraft. Subcommittee members should bring proposed language to April 15th meeting. Also, distinction needs to be made between requiring tagging at 6NN versus curtailments that occur when in the 6NN (see item 4 below).

4. Under the number of hours option, the count for number of hours is when curtailment of a tag actually occurs during a reduced priority hour/period. Curtailment when in priority of 7, does not count in the number of hours. Reduction in tag curtailment priority alone does not count in the number of hours. See 3.1.1 and 6.3 of OATI + WC draft

Status: Subcommittee agrees with this principle. The proposed standards language needs to be reviewed to ensure it accurately reflects this principle. Subcommittee members should review proposed language prior to April 15th meeting and bring proposed amendments to draft language if appropriate.

5. If priority is dropped from 7 to 6, does not mean will automatically begin curtailing. Reduction in NERC curtailment code only means that if curtailments do occur, this transmission will be curtailed with other 6 curtailment code transactions – after transactions with curtailment codes of 1 through 5 and before transactions with a curtailment code of 7. Need to review language to ensure it is not suggested that this will occur.

Status: Subcommittee agrees with this principle. The proposed standards language needs to be reviewed to ensure it accurately reflects this principle. Subcommittee members should review proposed language prior to April 15th meeting and bring proposed amendments to draft language if appropriate.

6. Need some mechanism such as an additional priority code other than 6NN for tag validation because conditional firm can be used for a DNR. Also, need to be able to differentiate so that don’t trigger an unreserved used penalty.

Status: Defer to April 15th meeting.

7. Do we modify transstatus or create a new template?

Status: Defer to April 15th meeting.

8. 3.3 – need further discussion: Is it needed? Is it the Service Agreement that should be posted? Should it be a “document”? More specificity on what “detailed” would include? Can a query of OASIS suffice, such as described in 3.3.1?

Status: Defer to April 15th meeting.

9. Is the biennial study completed by a date certain or started by a date certain? OATI + WC draft is written as a completed date, could be changed to a target date completed. 4.3 and 4.4 “Reassessment due time” Should tender of study be 15 days before this date? Section 4.7 

Status: Defer to April 15th meeting. Many permutations such as: do you need a new SIS (item 10 below)? How does work with rollover? (see item 13 below) 

10. Is there a need for new SIS agreement for biennial assessment with a cost estimate? Should NAESB address or is this a TP/Regional practice? This will have some bearing on how #9 above is handled.

Status: Defer to April 15th meeting.

11. 3.5 of Draft Standard - How much specificity in data elements should we include or exclude in these standards.  One could argue that all these references to data elements be deferred to the Implementation Guide. 3.5 says generically that TP must provide data, but does not say when, where, what. We need a stake in the ground for what information goes in what standards. Status: The subcommittee made a decision that the general discussion of the requirement would be in WEQ-001 with the specifics in the S&CP, data dictionary and implementation guide. The proposed standards language needs to be reviewed to ensure it accurately reflects this principle. Subcommittee members should review proposed language prior to April 15th meeting and bring proposed amendments to draft language if appropriate.
12. Check Order 890/890-A to see if 4.2 of proposed standards is correct.

Status: Defer to April 15th meeting.

13. 4.5.1 If customer decides based on the biennial reassessment not to continue service, when does the service terminate? Reassessment due time? End of current biennial period? On the date the new curtailment conditions would become effective? Others? Should NAESB make a standard on the termination date versus a TP/TC contract specific definition? Is there a pro forma Service Agreement (or rider to the LT Firm Service Agreement)? Need to ensure that terminology is consistent throughout the standard. 

Status: Defer to April 15th meeting.


Should NAESB specify?:

Date Tender SIS agreement:

Date Customer returns executed SIS agreement:

Date Reassessment Study due to customer: 

If conditions unchanged or “less onerous” to customer, no notification by customer to TP required – agreement continues

If conditions change and are more onerous, date by which Customer notifies TP whether it will continue service or will terminate contract:

If customer terminates, date of termination will be:

If customer continues service, date of new conditions:

How/where do rollover rights fight in to the time line?

14. 3.5 – multiple sets of conditional data elements for one contract, continuation records?

Status: Subcommittee agrees that there are multiple sets of continuation records. Defer to April 15th meeting the process for modifying/adding records based on reassessment and what is approval/confirmation process for those records and whether the approval/confirmation process (the negotiation state change process) needs to be done on OASIS.
15. Don’t duplicate rollover rights provisions. They should follow the same standards for rollovers that all other LT firm service uses (WEQ-001-9.7) Will need to verify that 9.7 has all of the needed pieces. Delete 5.2 and 5.1 of OATI + WC draft?

Status: Subcommittee agrees. Will need to review proposed standard to ensure it reflects this agreement. Will defer to April 15th meeting the review of the proposed standard language. How does the biennial review affect rollovers?  (I don’t see a flaw in here, just making sure the question gets asked) 
16. Review 5.3 – reassessment time line vs. rollover rights notification – need to make sure this is appropriate, for example if term of contract is 3 years – how does it fit into reassessment?

Status: Defer to April 15th meeting. See item 13 above.

17. Review 6.2 against Order 890 and 890-A to determine when can curtailment. Paragraph 566 of 890-A

Status: Current version may not accurately reflect all scenarios. The proposed section 6.2 works for the hourly conditions scenario, but may not work for the system conditions scenario. Defer to April 15th meeting the review of the standards language to accurately reflect Orders 890 and 890-A. Is section 6.2 needed?
18. As currently written, 6.3 requires notification through the reduction template that priority has been reduced.  Note that the use of the term “Conditional Curtailment” may not be the appropriate term. Is Conditional Curtailment when the priority is reduced or when the schedule is actually curtailed? Is there a correlation in tag validation? Need to be clear that in conditions scenario, the update of the reduction template may be a bit delayed from the actually tag cut. Use of the reduction template for this notification will require modification to the definition of the template and perhaps other items associated with this template. This is for reduction in priority only, how does it work for when it goes back to 7 priority. No need the notice in the reduction template is “removed”. Reduction template doesn’t have an audit, is there a need for an audit for the reduction template? Need to ensure that other TPs are not in the approval loop for changing the tag (e.g. if a tag is changed at 15 minutes before the hour and another TP doesn’t allow changes to tags in that time frame, do not want tag denied) [this item may be broken into several parts in a future version of this document]

Status: Defer to April 15th meeting.
19. Should TP provide a reduction reason associated with the OASIS reduction template? Should we 1) be silent on this, 2) explicitly state its optional, or 3) required TPs to supply REDUCTION_REASON. 

Status: Defer to April 15th meeting.

20. 6.4.1.2 For a given Transmission Provider physical segment, The Transmission Provider shall deny any attempts to reference more than one CCO transmission service reservation in a given Request for Interchange submitted by a customer.
 Need to consider various permutations and make sure this is what we recommend. This is in reference to stacked tags.

Status: Defer to April 15th meeting.

21. 6.4.3 - When in NERC curtailment priority 6 and curtailments are needed, is it pro rata or last in, first out. If last in, first out is it tag time, reservation time, or something else. Should NAESB answer or leave to TPs ? TPs may have various practices now for curtailing 6NN, NAESB might require something different which can then be problematic for the TP.

Status: Subcommittee agreed that it would be a TP specific practice how they manage curtailments for NERC priority code 6 transactions. On April 15th meeting need to review proposed standard to ensure this principles is reflected.

22. Review 6.4 against reduction template section to ensure consistency and non-duplication.

Status: Defer to April 15th meeting.

23. Are 6.6 and 6.6.1 and 6.6.2. sections needed? – the requirements for posting curtailed schedules of any kind are elsewhere. WEQ-001-1.6 (f) information to be posted on OASIS, requires the posting of schedules 7 calendar days from the start of service. Order 605 requires posting of curtailed schedules, which may not be in the WEQ requirements. Search of WEQ standards for “7” didn’t turn up any additional references. Should any of these be in the implementation guide?

Status: B. Rehman is doing further research and will provide information at the April 15th meeting. Defer to decision to April 15th meeting.

24. Redirect on a firm basis if at priority 6, are there issues? It is still a firm product; therefore, there should not be issues. Per redirect standards, redirects can’t occur if there is a schedule on a reservation.

Status: Subcommittee determined that CCO will be handled like any other request to redirect.

25. Should New Firm Capacity be “assigned” to the conditional firm customer first? How would this occur? In practice, does this mean not releasing the capacity (in the amount of conditional firm service granted) for firm sales? Will this impact the terms of the agreement (e.g. would the contractual number of hours decrease or the conditions change)? (related to item 26) Can we distinguish between the availability of ATC in the short term versus the availability of ATC in the long term? Can newly released ATC be “held” for the CCO customer that was first in queue? What happens to that ATC in the interim? Does it go to market or does it go to the first queued CCO customer? 

Status: Defer to April 15th meeting Advise to vote “no”.  Receiving conditional firm should not be an option on real firm service.    Previously confirmed service that resulted from a counteroffer (counteroffer due to total MW not available) has never gained grandfathered status in queue position in the event additional capacity becomes available.    Conditional Firm service must be treated in a consistent manner with all other confirmed service. 
26. In doing reassessments, how do you queue the conditional firm contracts when firm capacity becomes available. For example, if there are 3 conditional customers that are conditional for the same reason and capacity becomes available but the next reassessment that is scheduled to be done is the conditional customer that was queued last, what do you do with the reassessment? Doesn’t seem quite fair that the last queued may get that capacity. Should the capacity be awarded on queue position of the conditional firm customers? (related to item 25)

Status: Defer to April 15th meeting. See comments on #25  
27. How is conditional firm factored in for study purposes/new builds? What if the long term forecast has transmission additions that may have capacity available in future years, if due to lumpiness there is now capacity, how does the conditional firm customer get that capacity? Are they no longer conditional firm? How does this work with rollover rights and the ability to restrict for future load growth?

Status: Defer to April 15th meeting.  Could suggest that they could have their conditions removed at their biennial review, with a queue date established on the date the study agreement is received.
28. Clean up item: get Appendix C updated to refer to WEQ-001

Status: Defer to April 15th meeting. E. Skiba to provide proposed language changes.
29. Add Paragraph 992 from FERC 890 to “Supporting Documentation”

30. The “Supporting Documentation” section references paragraph 1406 from FERC Order 890, wherein it states “Rather, we direct transmission providers located in the same region to coordinate such development among themselves”.  The recommendations appear to overlook any clarification on how entities with Seams agreements/JOAs/etc. are to set up conditional firm transactions and how this is shared between TPs regardless if both TPs utilize conditional firm.  Add clarification in the document (maybe under Miscellaneous Provisions) like “Neighboring Transmission Providers will work together to develop a process, where appropriate, to share information regarding conditional firm transactions with each other”.
31. Section “001-n.4.5” mentions “If the conditions or number of hours of Conditional Curtailments becomes more onerous to the Transmission Customer, the Transmission Customer may choose to discontinue the CCO as of the date of such change”, but the subsequent sections under 001-n.4.5 do not appear to state whether the customer may choose to reinitialize the use of CCO after discontinuing it.  Add a new sub-section under 001-n.4.5 (e.g. 001-n.4.5.2) stating that the Transmission Customer may not reinitialize 
32. Concerned with the entire auditing function of the Conditional Firm product, with respect to the number of hours. This needs to be defined in detail
33. When the service is reduced for condition or period (Hours) that the priority on the tag being 6 (non-firm) and not decrementing the Firm ATC. Due to some TPs’ Business Practice of releasing unscheduled firm to the non-firm ATC, there would appear to be a situation where the non-firm ATC may not be calculated correctly.   Again this is an auditing issue with respect to ATC.
34. Discuss billing or price on the offer of Conditional Firm
�Reason for this restriction is trying to sort out aggregating of different conditional firm TSRs with different conditions.  Could be dome, but this simplifying requirement should ease burden of implemtation.






Page 4 of 5
April 4, 2008


