[image: image1.png]\

o

l






This presents “Option 4” for supporting reservation request provisions such as Conditional Curtailment Option (CCO) – it includes the addition of new templates to present new data elements required for the specification of CCOs and other needed information, but also those new data elements that were added to the reduction, transstatus and transell template in the current ratified S&CP effectively leaving the pre-890 template structures intact at the expense of “undoing” changes that have already been ratified but not published in a NAESB “book” or adopted (or seen) by FERC.
The approach presented normalizes the information based on functional requirements and defines templates for each information set.
Data Dictionary needs updated REDUCTION_TYPE to include: HOURS and FACILITY.
The reduction template proposal by PRS with regard to priority were functionally restored. 
The transstatus template replaced a PRS element with an alternate suggestion of SERVICE_PROVISIONS. The value would be a count of provisional services with zero to indicate none. The protocol document makes no distinction in the transstatus results as to which are present. The view is that this would be a business process distinction (i.e., what services have which provisions) governed by other references such as OATTS of TPs.
NOTE: I attempted to keep indications of some areas of change with comments since using different computers seemed to loose the normal change indications.

Business Practices for Open Access Same-Time Information Systems (OASIS) Standards & Communication Protocols

Version 1.5
Document Change Log:

	Date
	Section
	Description of Change

	06/06/2007
	002-1.1
	Added annotations to definitions as they relate to definitions contained in other WEQ Standards.

	06/06/2007
	002-2.1 (d)
	Revised language related to Standards of Conduct – Final Action WEQ 2007 Annual Plan Item 3(a)(2).

	06/06/2007
	002-3.3 (a)-(c)
	Changed document section references to use the correct NAESB Standard enumeration.

	06/06/2007
	002-3.4 (b)
	Divided section for informational postings into requirements for INFO.HTM and new section for Standards of Conduct posting requirements.  Per Final Action WEQ 2007 Annual Plan Item 3(a)(2)

	06/06/2007
	002-3.4 (b)(i)
	Revised reference to WEQ 002-4.5 instead of section 4.5 – even though Final Action reflected “section”

	06/06/2007
	002-3.4(b)(ii)(k)
	Subsection k deleted per Final Action WEQ 2007 Annual Plan Item 3(a)(2)

	06/06/2007
	002-3.6
	Revised references to NAESB standards

	06/06/2007
	002-3.6 (b)
	Typographical error.

	06/06/2007
	002-4.2.3.1
	Changed document section references to use the correct NAESB Standard enumeration.

	06/06/2007
	002-4.2.7.5
	Changed document section references to use the correct NAESB Standard enumeration.

	06/06/2007
	002-4.2.7.6
	Changed document section references to use the correct NAESB Standard enumeration.

	06/06/2007
	002-4.2.10
	The introduction to the OASIS transaction process refers the reader to the Implementation Guide for specific detailed information on this process.

	06/06/2007
	002-4.2.10.1
	The detailed description of the general OASIS transaction process has been moved to the OASIS Implementation Guide WEQ 013-2.  This section introduces use of REQUEST_TYPE data element and refers to the Implementation Guide for specific information related to REQUEST_TYPE.

	06/06/2007
	002-4.2.10.2
	The detailed definitions for the STATUS data element and the STATUS transition state diagram have been moved to the OASIS Implementation Guide WEQ 013-2.2. This section introduces use of STATUS data element and refers to the Implementation Guide for specific information related to STATUS.

	06/06/2007
	002-4.2.12
	Moved examples to the OASIS Implementation Guide WEQ 013-4.2.

	06/06/2007
	002-4.2.13
	The information in this section and all subsections has been moved to the OASIS Implementation Guide WEQ 013-2.3 through 2.6 and expanded for clarity.

	06/06/2007
	002-4.3.6.1
	Add RELINQUISH to recognized REQUEST_TYPES (Final Action R04006C1)

	06/06/2007
	002-4.3.6.2
	Reference to specific enumerated values for REQUEST_TYPE and STATUS has been removed.

	06/06/2007
	002-4.3.6.3
	Reference to specific enumerated values for STATUS has been removed

	06/06/2007
	002-4.3.6.4
	Reference to specific enumerated values for STATUS has been removed. 

	06/06/2007
	002-4.3.8.2
	Reference to specific enumerated values for STATUS has been removed.

	06/06/2007
	002-4.3.8.3
	Reference to specific enumerated values for STATUS has been removed.

	06/06/2007
	002-4.3.8.4
	Reference to specific enumerated values for STATUS has been removed.

	06/06/2007
	002-4.3.10.4
	Changed specific reference to FERC Statutes with reference to WEQ 009 Standards of Conduct Standards.

	06/06/2007
	002-4.3.10.5
	Changed specific reference to FERC Statutes with reference to WEQ 009 Standards of Conduct Standards.

	06/06/2007
	002-4.3.10.6
	Changed specific reference to FERC Statutes with reference to WEQ 009 Standards of Conduct Standards.

	06/06/2007
	002-4.4
	The contents of this section and all subsections have been moved to the OASIS Implementation Guide WEQ 013-4.1.

	06/06/2007
	002-4.5
	This section was subdivided into two subsections to describe the requirements for information posted on INFO.HTM and new posting requirements for specific Standards of Conduct related information, under WEQ009.

	09/10/2007
	Various
	Minor edits including spacing, grammatical changes resulting from review using Microsoft Word Spelling and Grammar Check function.

	09/10/2007
	Various
	Formatted OASIS template names so all template names when referenced in paragraphs are designated bold/italicized.

	09/10/2007
	Header
	Added reference to indicate the OASIS Version Number

	09/10/2007
	002-2.3 (d)
	Changed HTTP Version

	09/10/2007
	002-3.3 (e)
	Removed parenthetical phrase “(such as fetch_http)”

	09/10/2007
	002-4.2.2
	Corrected reference for OASIS data dictionary.

	09/10/2007
	002-4.2.7.2
	Revised example to be consistent with other examples contained in the business practice including: adding version number and removing brackets around data value.

	09/10/2007
	002-4.2.7.3
	Revised example to be consistent with other examples contained in the business practice including: adding version number.

	09/10/2007
	002-4.2.10.3.1
	Revised examples.  Removed double quotes and comma from value of STATUS_NOTIFICATION Data Element. In content type example provided data values and added return characters to be consistent with other examples.

	09/10/2007
	002-4.3
	Corrected reference for OASIS data dictionary.

	09/10/2007
	002-4.3.4.1
	In sixth paragraph corrected template reference.

	09/10/2007
	002-4.3.4.2
	Changed references of “Security Coordinator” to “Reliability Coordinator” and “Control Area” to “Balancing Area” to be consistent with current NERC terminology.

	09/10/2007
	002-4.3.10.4 
	Revised introductory sentence so English version and OASIS version of template name are both listed consistent with other sections of the document.

	09/10/2007
	002-4.3.10.5
	Revised introductory sentence so English version and OASIS version of template name are both listed consistent with other sections of the document.

	09/10/2007
	002-4.3.10.6
	Revised introductory sentence so English version and OASIS version of template name are both listed consistent with other sections of the document.

	09/10/2007
	002-4.3.11
	Corrected OASIS template name. Changed “dtsconductaudit” to “stdconductaudit”.

	09/25/2007
	002-2.4 (a)
	Updated Browser Requirements and added  timeline for supporting Generally Available Browsers

	09/25/2007
	002-4.2.10.3.1
	Changed formatting to improve readability.

	09/25/2007
	002-4.3.2.1
	Transmission Capacity Offerings Available for Purchase.  Modified to include ability to query on OFFER_INCREMENT using SERVICE_INCREMENT and add OFFER_INCREMENT data element to template transoffering

	09/25/2007
	002-4.3.4.1
	Added ANNOTATION Data Element to Transaction Schedule Response (scheduledetail). 

	09/25/2007
	002-4.3.4.2
	Added security template data elements to support posting of Annotations to data related to outages or curtailments.

	09/25/2007
	002-4.3.4.3
	Add Conditional Curtailment Option (Conditional Long-term Firm) support to REDUCTION template.


Changed systemdata template data elements to support posting of forecasted and actual daily peak load data (Order 890 pp 413 and 416). Added data elements to support posting of Annotations (Order 890 pp 369).

	

	09/25/2007
	002-4.3.6.2
	Changed transstatus data elements to document Provider approval of transfers, tracking of on-going rollover rights and conditional firm reassessment periods (Order 890 pp 244 and 1267).

	09/25/2007
	002-4.3.6.3
	Changed transsell data elements to support the documentation of Provider approval of transfers, tracking of on-going rollover rights and conditional firm reassessment periods (Order 890 pp 1378).

	09/25/2007
	002-4.3.6.4
	Changed transcust data elements to support the re-bid of partial service capacity and removed ability of Customer to set PRECONFIRMED after initial submission (Order 890 pp 1378 and 1401).

	09/25/2007
	002-4.3.6.5
	Template description and data elements have been extended to support RECALL and TRANSFER request types.

	09/25/2007
	002-4.3.7.1
	Added data element OFFER INCREMENT to template transpost (Order 890 pp 815).

	09/25/2007
	002-4.3.7.2
	Added data element OFFER INCREMENT to template transupdate (Order 890 pp 815).

	09/25/2007
	002-4.3.8.4
	Removed capability to change pre-confirmed status in the anccust template to be consistent with WEQ 002-4.3.6.4

	09/25/2007
	002-5.10
	Section changed from Migration Requirements to Implementation Plan with requirements for migration to Version 1.5 template constructs.

	09/25/2007
	002-5.10.1
	New section to document Data Element mapping from Version 1.4 to 1.5.

	09/25/2007
	002-5.10.2
	New section to document Restricted Value mapping from Version 1.4 to 1.5.

	11/06/2007
	002-4.3.6.2
	WEQ EC approved recommended change submitted in comments from JT Wood, Southern Company on 11/6/2007.

	11/06/2007
	002-4.3.6.3
	WEQ EC approved recommended change submitted in comments from JT Wood, Southern Company on 11/6/2007 and typo correction from ‘preformed’ to ‘performed’ as stated by W. Weathers.

	11/06/2007
	002-4.3.7.2
	WEQ EC approved recommended change submitted in comments from JT Wood, Southern Company on 11/6/2007.

	04/23/2008
	002-4.3.4.3
	Added data elements related to tracking reduction in curtailment priority

	04/23/2008
	002-4.3.6.2
	Removed data elements related to tracking rollover rights and renewal and reassessment deadlines.  Added data element to flag that reservation provision data is associated with the reservation.

	04/23/2008
	002-4.3.6.2.1
	New templates defined to provide provisional information related to a reservation 

	04/14/2008
	002-4.3.6.3
	Removed primary provider specific data elements that were added in previous revision.  Primary Providers are not limited to using the template interface to post information/changes to OASIS.


___________________________________________________________

002-4.3.4.3
Transmission Reservation Reduction (reduction)

The Transmission Reservation Reduction (reduction) Template provides information related  to the reduction in the Transmission Customer’s rights t23schedule use of all or a portion of  capacity reserved for a given transmission reservation. Specific cases where such a reduction in reserved capacity would be returned in response to this query Template include:  secondary market sales (as posted using the transassign or transsell Templates via the REASSIGNED_REF, etc., Data Elements), a Transmission Provider’s interruption of the reservation to accommodate higher priority reservations over the interruption interval (partial displacement), etc.
If required by tariff or regulations, this template is also used to document the periods of time when the Primary Provider reduces the service curtailment priority 
per service provisions. 
The ASSIGNMENT_REF Query Variable may be specified to limit the query to a specific transmission reservation(s) whose reductions in reserved capacity (if any) are to be returned.  If this Query Variable is not specified, all reductions for all transmission service reservations meeting any other specified query criteria will be returned.

The  START_TIME and STOP_TIME Query Variables allow the user to select the specific time  interval over which the reductions in reserved capacity are to be returned (e.g., return all  reductions in June for a year long reservation); by default all reductions over the life of the  reservation are returned.  
If the REDUCTION_TYPE query variable is specified, ALL reductions associated with any transmission service reservation that is impacted over time by a reduction matching the REDUCTION_TYPE specified will be returned in the response.

In response to a reduction Template query, each primary record returned (CONTINUATION_FLAG = N) shall include the ASSIGNMENT_REF, CAPACITY_GRANTED and CAPACITY_AVAILABLE in MWs over the interval from START_TIME to STOP_TIME.  CAPACITY_GRANTED is derived from the transmission reservation's CAPACITY_GRANTED.  CAPACITY_AVAILABLE is derived from the transmission reservation's CAPACITY_GRANTED less all reductions (if any) in reserved capacity (if any) over the interval from START_TIME to STOP_TIME as specified in the CAPACITY_REDUCED (as negative valued MWs) Data Element. REDUCTION_TYPE, REDUCTION_REASON, and IMPACTING_REF, CAPACITY_REDUCED, NERC_CURTAILMENT_PRIORITY  and OTHER_CURTAILMENT_PRIORITY shall be null in each primary record returned in the reduction template response; these Data Elements shall be reported in Continuation Records, as appropriate, documenting all reductions in capacity and/or service curtailment priority that are in effect over the START_TIME/STOP_TIME Interval.
If no reductions in reserved capacity or service curtailment priority 
have been posted against the reservation, no continuation records will be returned for that reservation and CAPACITY_AVAILABLE will equal CAPACITY_GRANTED. 
The REDUCTION_TYPE Data Element identifies what action or event resulted in either the reduction in available capacity or service curtailment priority.  
The specific enumerated values for REDUCTION_TYPE and their usage are documented in the OASIS Data Dictionary WEQ 003 and the OASIS Implementation Guide WEQ 013, respectively.

If the transmission service reservation is subject to a reduction in capacity( i.e., CAPACITY_AVAILABLE is less than CAPACITY_GRANTED), one or more continuation records shall be returned associated with each reduction in capacity effective over the START_TIME/STOP_TIME interval specified in the primary record.  For each reduction in capacity, the REDUCTION_TYPE shall identify the type of reduction in capacity impacting the reservation. For each of these reductions in capacity, REDUCTION_REASON may include additional information supplied in association with the reduction in capacity.  IMPACTING_REF shall identify the associated transmission reservation (if applicable) that caused the reduction in capacity. CAPACITY_REDUCED shall specify the amount of capacity reduced as a negative valued MW number.  NERC_CURTAILMENT_PRIORITY and OTHER_CURTAILMENT shall be null in these reduction records. The sum of CAPACITY_REDUCED over all continuation records returned with a negative value for CAPACITY_REDUCED shall equal the difference between CAPACITY_GRANTED and CAPACITY_AVAILABLE as reported in the primary record for the impacted reservation.

For reductions in transmission service curtailment priority due to conditions of service, REDUCTION_TYPE shall be set to indicate the  type of condition associated with reduction.  There may be only one continuation record returned for any reduction in service curtailment priority 
over a given period of time.  REDUCTION_REASON may include additional information supplied in association with the reduction in service.  IMPACTING_REF and CAPACITY_REDUCED shall be null. NERC_CURTAILMENT_PRIORITY and OTHER_CURTAILMENT_PRIORITY shall reflect the reduction in service curtailment priority
.

If the Primary Provider posts reduction information using a registered value for REDUCTION_TYPE, the usage of that registered REDUCTION_TYPE shall be specified in the Primary Provider’s posted Business Practices.

Template: reduction

1. Query

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*


START_TIME

STOP_TIME

ASSIGNMENT_REF* 
REDUCTION_TYPE*

2. Response

CONTINUATION_FLAG

ASSIGNMENT_REF

CAPACITY_GRANTED

CAPACITY_AVAILABLE

START_TIME

STOP_TIME

REDUCTION_TYPE 

REDUCTION_REASON

IMPACTING_REF (if applicable)

CAPACITY_REDUCED

NERC_CURTAILMENT_PRIORITY

OTHER_CURTAILMENT_PRIORITY
___________________________________________________________
002-4.3.6.2
Status of Customer Purchase Request (transstatus)

The Status of Customer Purchase Request (transstatus) is provided upon the request of any Customer or Provider to indicate the current status of one or more reservation records. Users may also view any transaction's status. However, the SOURCE and SINK may be masked for User requests until Transmission Providers must make source and sink information available at the time the request status posting is updated to show that a transmission request is confirmed. 
Continuation records may be returned in association with a transmission reservation to convey information regarding: 1) sale or assignment of transmission rights on the secondary market (reassignments), 2) profiled requests, or 3) service over multiple paths Each continuation record associated with a transmission reservation shall be identified by the CONTINUATION_FLAG Data Element set to 'Y' and include the ASSIGNMENT_REF Data Element.  
When a transmission reservation request acquires its rights to transmission service as the result of a sale or assignment of transmission rights on the secondary market, the identity of the original reservation, capacity, and time interval over which rights are assigned to the new reservation are defined by the Data Elements REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. These Data Elements will be returned in continuation records when more than one set of reassignment information is associated with a reservation. 
If the transmission reservation has an associated profile, either as a result of the Transmission Customer’s submission of CAPACITY_REQUESTED and/or BID_PRICE varying over time (support for Customer reservation profiles is at the discretion of the Provider or the Seller’s offering of partial service or negotiation of price, the set of data elements for START_TIME, STOP_TIME, CAPACITY_REQUESTED, BID_PRICE, CAPACITY_GRANTED, OFFER_PRICE and CEILING_PRICE will be returned in continuation records for each segment of the request/reservation profile.
If the Provider supports reservations submitted on multiple paths, continuation records specifying PATH_NAME, POINT_OF_RECEIPT, and POINT_OF_DELIVERY associated with the reservation would be returned in continuation records. 
The AFFILIATE_FLAG will be set by the TSIP to indicate whether or not the Customer is an affiliate of the Primary Provider. The NEGOTIATED_PRICE_FLAG will be set by the TSIP to indicate whether the OFFER_PRICE is higher, lower, or the same as the BID_PRICE. Any time that a confirmed transmission reservation's rights to schedule up to the amount of CAPACITY_GRANTED is reduced, either due to secondary market sales, partial displacements, Provider initiated "recalls" of capacity, etc., the IMPACTED Data Element shall be incremented. Specific information regarding the MW level and reason for reduction in reserved capacity is viewable using the reduction Template.
The PRIMARY_PROVIDER_APPROVAL data element is set by the Primary Provider to indicate their approval of TRANSFER requests.  In all other types of transmission requests, this element will be null.  
The SERVICE_PROVISIONS data element represents the number of service provisions associated with the reservation with zero indicating none.



Template: transstatus

1. Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

SERVICE_INCREMENT*

TS_CLASS*

TS_TYPE*

TS_PERIOD*

TS_WINDOW*

TS_SUBCLASS*

STATUS*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

NEGOTIATED_PRICE_FLAG

ASSIGNMENT_REF

REASSIGNED_REF

RELATED_REF

SALE_REF

REQUEST_REF

DEAL_REF

COMPETING_REQUEST_FLAG

TIME_OF_LAST_UPDATE

2. Response

CONTINUATION_FLAG

ASSIGNMENT_REF

SELLER_CODE

SELLER_DUNS

CUSTOMER_CODE

CUSTOMER_DUNS

AFFILIATE_FLAG (Set by TSIP)

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

CAPACITY_GRANTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

NERC_CURTAILMENT_PRIORITY

OTHER_CURTAILMENT_PRIORITY

START_TIME

STOP_TIME

CEILING_PRICE

OFFER_PRICE

BID_PRICE

PRICE_UNITS

PRECONFIRMED

ANC_SVC_LINK

ANC_SVC_REQ

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

IMPACTED (Greater than 0, if another reservation impacts this reservation)

COMPETING_REQUEST_FLAG

REQUEST_TYPE

RELATED_REF

NEGOTIATED_PRICE_FLAG 
("L" if Seller accepted Price is lower than OFFER_PRICE in transoffering Template; "H" if higher; otherwise blank)

STATUS 
STATUS_NOTIFICATION

STATUS_COMMENTS

TIME_QUEUED

RESPONSE_TIME_LIMIT

TIME_OF_LAST_UPDATE

PRIMARY_PROVIDER_COMMENTS

SELLER_REF

SELLER_COMMENTS

CUSTOMER_COMMENTS

SELLER_NAME

SELLER_PHONE

SELLER_FAX

SELLER_EMAIL

CUSTOMER_NAME

CUSTOMER_PHONE

CUSTOMER_FAX

CUSTOMER_EMAIL

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity from each previous transaction)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

PRIMARY_PROVIDER_APPROVAL

SERVICE_PROVISIONS






002-4.3.6.2.1
Reservation Provisions
This section describes a series of templates to support specification of provisions associated with a reservation for service.  These may be viewed as an extension or additional information about the service. It would be set prior to a reservation being confirmed by the customer. Updates may occur over time and as such the TIME_OF_LAST_UPDATE will be updated as well as the TIME_OF_LAST_UPDATE for the associated reservation. Associated audit templates may be used to view updates over time.
The templates are:
· provisionrollover – specifies limitations to a customer’s rollover or service renewal rights
· provisionhours – specifies conditional hours for curtailment and applicable period
· provisionfacilities – specifies conditional facilities and applicable period
· provisionreassessment -  specifies reassessment periods
· provisionredispatch-  specifies redispatch periods


The template query parameters associated with a template may be specified by the user to limit the set of service reservations whose reservation provisions are to be returned in the template response. The TIME_OF_LAST_UPDATE element in the query parameters is that of the reservation which is always updated for changes to provision information.
The TIME_OF_LAST_UPDATE element in the result set is that of the provision information. 
Continuation records may be returned in association with a transmission reservation Each continuation record associated with a given transmission reservation shall be identified by the CONTINUATION_FLAG Data Element set to 'Y' and include the ASSIGNMENT_REF Data Element.  
002-4.3.6.2.1.a
Provision for Rollover Rights
The provisionrollover template is used to specify conditions associated with rollover rights.

Template: provisionrollover
1.
Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

ASSIGNMENT_REF

TIME_OF_LAST_UPDATE

2.
Response

CONTINUATION_FLAG

ASSIGNMENT_REF

RENEWAL_DUE_TIME

ROLLOVER_START_TIME

ROLLOVER_STOP_TIME

ROLLOVER_CAPACITY
TIME_OF_LAST_UPDATE
The deadline for submitting a RENEWAL request to exercise rollover rights (if any) shall be captured in the RENEWAL_DUE_TIME data element in the first record.  Renewal/rollover rights associated with a confirmed reservation are documented in one or more sets of ROLLOVER_START_TIME, ROLLOVER_STOP_TIME, and ROLLOVER_CAPACITY data elements returned as continuation records.

002-4.3.6.2.1.b
Provision for Conditonal Curtailment Hours
The provisionhours template is used to specify conditions such there is a cap (maximum) number of hours for a specified period for which service may be curtailed. In addition, it specifies the curtailment priority that will be associated with the period.
Template: provisionhours
1.
Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

ASSIGNMENT_REF

TIME_OF_LAST_UPDATE

2.
Response

CONTINUATION_FLAG

ASSIGNMENT_REF

HOURS_START_TIME

HOURS_STOP_TIME

CURTAILMENT_PRIORITY

PERIOD_HOURS_CAP
TIME_OF_LAST_UPDATE

002-4.3.6.2.1.c
Provision for Conditional Curtailment Facilities
The provisionfacility template is used to specify facility conditions such that there is a potential specified period for which the service may be curtailed due to facilities (e.g., line outage). In addition, it specifies the curtailment priority that will be associated with the period.

Template: provisionfacility
1.
Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

ASSIGNMENT_REF

TIME_OF_LAST_UPDATE

2.
Response

CONTINUATION_FLAG

ASSIGNMENT_REF

FACILTY_START_TIME

FACILTY_STOP_TIME

CURTAILMENT_PRIORITY

FACILITY_DESCRIPTION

FACILITY_SET_REFERENCE
TIME_OF_LAST_UPDATE

The FACILITY_SET_REFERENCE data element provides the ability to identify two or more facilities as a set representing a logical AND of conditions.
002-4.3.6.2.1.d
Provision for Reassessment

The provisionreassessment template is used to specify the Transmission Customer’s reassessment acceptance periods. The REASSESSMENT_START_TIME is the deadline for the Transmission Provide to provide TC with necessary information to make a decision, if possible, to continue service. The REASSESSMENT_STOP_TIME is the deadline for the TC to respond, if appropriate, that the TC elects to continue service under associated provisions. If the TP elects to WAIVER a reassessment, the WAIVERED element will be set to “N”.
Template: provisionreassessment
1.
Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

ASSIGNMENT_REF

TIME_OF_LAST_UPDATE

2.
Response

CONTINUATION_FLAG

ASSIGNMENT_REF

REASSESSMENT_START_TIME

REASSESSMENT_STOP_TIME

WAIVERED
TIME_OF_LAST_UPDATE

002-4.3.6.2.1.e
Provision for Redispatch

The provisionredispatch template is used to specify each redispatch 
period.

Template: provisionredispatch
1.
Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

ASSIGNMENT_REF

TIME_OF_LAST_UPDATE

2.
Response

CONTINUATION_FLAG

ASSIGNMENT_REF

REDISPATCH_START_TIME

REDISPATCH_STOP_TIME

TIME_OF_LAST_UPDATE







































002-4.3.6.3
Seller Approval of Purchase (transsell)

Seller Approval of Purchase (Input) (transsell) is input by a Seller to modify the status and queue of a request by a Customer. 
The following fields may be submitted in continuation records for the transsell Template to convey transmission rights from multiple original transmission reservations to this new reservation: REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. Use of continuation records is only supported when using the CSV format upload of Template data. 
If the Provider/Seller cannot accommodate the Customer's CAPACITY_REQUESTED and is obligated or elects to offer the Customer partial service that varies over the total period of the reservation or the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), the set of data elements START_TIME, STOP_TIME, CAPACITY_GRANTED, and OFFER_PRICE must be specified on the first record and START_TIME and STOP_TIME must be repeated in continuation records as necessary for varying CAPACITY_GRANTED and OFFER_PRICE.  In all cases the full profile should be represented. 
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request. The SELLER_REF Data Element may be set by the SELLER to a seller specific internal tracking number. 
If the reservation is subject to the right of first refusal pending a status change to Displaced, the COMPETING_REQUEST_FLAG shall be set to Y, and SELLER_COMMENTS shall be updated with a reference to the competing request’s ASSIGNMENT_REF. If the reservation is subject to the right of first refusal pending a status change to Superseded, the COMPETING_REQUEST_FLAG shall be set to Y, the OFFER_PRICE shall be updated, the SELLER_COMMENTS shall be updated with a reference to the competing requests ASSIGNMENT_REF, and the STATUS shall be set to COUNTEROFFER. Once the disposition of the request is finalized, the COMPETING_REQUEST_FLAG shall be reset to N and any appropriate status change shall be made. 
OASIS shall allow the Seller to set the transmission service request’s STATUS to ACCEPTED only when the CAPACITY_REQUESTED and BID_PRICE match the corresponding CAPACITY_GRANTED and OFFER_PRICE data elements over the START_TIME and STOP_TIME of the request. 
With the exception for REQUEST_TYPEs of PART_TRANSFER or FULL_TRANSFER, OASIS shall set a pre-confirmed transmission service request to CONFIRMED when the Provider/Seller sets the request’s STATUS to ACCEPTED.  PART_TRANSFER and FULL_TRANSFER requests require that both STATUS be set to ACCEPTED and PRIMARY_PROVIDER_APPROVAL be set to the value of Y prior to OASIS moving the STATUS to CONFIRMED.





Template: transsell

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

OFFER_PRICE

CAPACITY_GRANTED

STATUS 
STATUS_COMMENTS

ANC_SVC_LINK

ANC_SVC_REQ

COMPETING_REQUEST_FLAG

NEGOTIATED_PRICE_FLAG

SELLER_REF

SELLER_COMMENTS

RESPONSE_TIME_LIMIT

REASSIGNED_REF

REASSIGNED_CAPACITY (Previous capacity to be reassigned)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME
PRIMARY_PROVIDER_APPROVAL







2. Response

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

OFFER_PRICE

CAPACITY_GRANTED

STATUS 
STATUS_COMMENTS

ANC_SVC_LINK

ANC_SVC_REQ

COMPETING_REQUEST_FLAG

NEGOTIATED_PRICE_FLAG

SELLER_REF

SELLER_COMMENTS

RESPONSE_TIME_LIMIT

REASSIGNED_REF

REASSIGNED_CAPACITY (Previous capacity to be reassigned)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

PRIMARY_PROVIDER_APPROVAL







ERROR_MESSAGE





























































































































































































































































































































































































































































































































































































































































�PRS’ restored.


�PRS restored


�PRS restored


�PRS restored


�PRS retored


�New from 1.4


�New from 1.4


�The order seems to reference planned. However, generalizing the references would seem to leave flexibility for other business process needs.


�This seemed a reasonable subset of query variables that may be useful.  We could force it to only accept a query variable for ASSIGNMENT_REF and make it mandatory like we did for reduction in previous S&CP.


�We could repeat other data elements from the reservation, like por/pod, start/stop if that would be helpful to users.


�We could leave this information in the reduction template, present it here, or develop a specific template just for this data.  If we leave it here, I would suggest adding a pair of query parameters such that you could look only for priority reduction records that occurred within a given time interval – like yesterday, etc.  I’m tending to lean to leaving this data in the reduction template as originally proposed.


�These are not required if you want to assume/presume that the priority is “6” by definition.


�PRS Restored; other standards requirement


�PRS Restored; other standard requirements??





PAGE  
21
Order 890 S&CPs revised:  04/14/2008 

