Concepts for 

Network Integration Transmission Service (NITS) 

on OASIS

Motion passed on 2/25/2008:

Ms. Franz would like to make the motion to move that the work on the scope of the NITS on OASIS will be a broad scope for determining business requirements.
Overview of Process

· Customer initiates requests for designation, redesignation and change in status for undesignation of resources and requests to designate and undesignate loads over OASIS.

· Customer submits/transmission provider approves/customer confirms

· Designation of Resources

· Temporary Undesignation of Resources (optional with regards to whether the transmission provider has the right to reject submissions for undesignation)

· Redesignation of Resources
· Permanent Undesignation (optional with regards to whether the transmission provider has the right to reject submissions for undesignation)

· Designation of loads 

· Undesignation of loads
· Need flexibility to make undesignation a “request” depending on TP-specific OATT provisions
· Who is responsible to validate/update the information on OASIS that is being changed:

· ATC = Transmission Provider
· List of Current DNRs = Obtainable via a query
Initial Application

· Incrementally define resources and loads, modify, etc… (a working space for building the application before submitting it)
Designation Resources

· Specify all data as defined in 29.2 (Application Procedure)

· On system vs. off system – different data collection templates?
· Ability of TP to disable certain fields (depending on tariff)
· For example, some TPs have eliminated the requirement from their tariff to name a source control area

· Off system transmission arrangements (zero to many)
· TP, AREF, Others?

· At time of designation or time of scheduling? (Paragraph 923, fn 336, Order 890-A) 
· Within x days of approval of the DNR?
· Dispatching order

· Power Purchase Contract vs. Generator Sale?
· TP response to request for designation may include scheduling instructions, for example, unique source name
· Rollover Rights

Undesignation of Resources

· Temporary vs. Permanent
· Simultaneous (contingent) requests to undesignate and requests for point to point transmission service
· Simultaneous (contingent) requests to undesignate and requests for a new DNR?
· Rollover Rights
· Temporary un-designation with a future redesignation
· Time Period of un-designation (START/STOP)
· Attestation for re-designation?
· Partial un-designation
Designations of Loads

· Allow loads outside the TPs balancing authority area
· Ability to designate one to many loads 
· TP to determine granularity of load specification (e.g. what is a “new designated network load”, is it every house, a substation, a load pocket, a sink?) based on system configuration, TP needs, customer needs
Un-designations of Loads 
· Will need to provide functionality to accommodate for 890 requirements. No participants have experience with this issue. 

· Will need flexibility in granularity consistent with the granularity determined by the TP for designations of network load.
Miscellaneous Designation/Undesignation
· Support for the ability to bind documents, images, or other data with the information necessary

· Liquidated Damages

· Flexibility to allow for retail choice programs (e.g., Wholesale Distribution Service)

Forecast issues

· Ability to have customers input/upload loads and resource forecasts directly to OASIS. 

· Allow, but do not require TPs to institute. 

· Format should be “computer readable” such that information can, if applicable, be included in ATC calculation
· Ability to mask some of the inputs 

Determine transmission provider needs including ATC calculations, auditing and tracking 

· ATC calculations

· Matrix of allocation of transmission “reservation” over posted paths for  POR/POD or resources/loads, as applicable, combinations
· Tracking and Transparency:

· The ability of OASIS users to query an “active” list of current DNRs – ability to query, and net of undesignations (temporary and permanent, and partial undesignation - redesignation )

· The ability of OASIS users to query the disposition of the request to designate and the designation status of loads and resources.  

· Need to review all data submitted on NITS service and determine what will be made available to be viewed on OASIS (the secured side of OASIS).

· Download-able
· Auditing:

· Monitor changes – who, when, what

· All information that is entered into OASIS: designations and undesignations of loads and resources

· Need to determine audit-ability of changes to “attachment” documents (e.g., if the customer is allowed to upload an excel spreadsheet of loads and forecasts, how would changes to the data inside the spreadsheet be tracked?) Should not be an  issue because any resulting changes will be tracked through the succeeding OASIS records  
· Data retention requirements of 5 years.
18 C.F.R. 37.6(c)(4) For any transaction for transmission service agreed to by the Transmission Provider and a customer, the Transmission Provider (at the time when ATC must be adjusted in response to the transaction), must post on the OASIS (and make available for download) information describing the transaction (including: price; quantity; points of receipt and delivery; length and type of service; identification of whether the transaction involves the Transmission Provider’s wholesale merchant function or any affiliate; identification of what, if any ancillary service transactions are associated with this transmission service transaction; and any other relevant terms and conditions) and shall keep such information posted on the OASIS for at least 30 days. A record of the transaction must be retained and kept available as part of the audit log required in §37.7.
37.6(e) (2) Posting when a request for transmission service is denied.
(ii) Information to support the reason for the denial, including the operating status of relevant facilities, must be maintained for 60 days and provided, upon request, to the potential Transmission Customer.
37.6(e) (3) Posting when a transaction is curtailed or interrupted..
(ii) Information to support any such curtailment or interruption, including the operating status of the facilities involved in the constraint or interruption, must be maintained and made available upon request, to the curtailed or interrupted customer, the Commission’s Staff, and any other person who requests it, for three years.

37.7 Auditing Transmission Service Information.
(a) All OASIS Database transactions, except other transmission-related communications provided for under §37.6(g)(2), must be stored, dated, and time stamped.

(b) Audit data must remain available for download on the OASIS for 90 days, except ATC/TTC postings that must remain available for download on the OASIS for 20 days. The audit data are to be retained and made available upon request for download for five years from the date when they are first posted in the same electronic form as used when they originally were posted on the OASIS
NOTE: It was determined that billing and/or posting of billing information on OASIS would not be addressed at this time.
Initial applications requirements and process (evaluation, studies, queuing, status, deposit/queue time) 

Granularity and timing of information submitted

Determine network service customer needs including understanding of process and ease of use, confidentiality (masking)

Transparency for other market participants

Secondary network service issues

Page 1 of 5
March 24, 2008


