OASIS will have the capability for the customer to enter the following data elements with their application for Network Service
	29.2
	Pro Forma Application Item
	Masked?
	Template?
	Notes
	Pro Forma?

	1
	The identity, address, telephone number, e-mail and facsimile number of the party requesting service
	No
	Yes
	Name of Load Serving Entity not Agent? *Added e-mail to pro-forma
	Yes*

	1.1
	Additional contact telephone, e-mails for 1 with their role 
	TP option
	Yes
	e.g. billing contracts, scheduling
	No

	1a
	The identity, address, telephone number, e-mail and facsimile number of the agent acting on behalf of the customer
	No
	Yes
	Agent may change over time. Include start time and stop time
	No

	1b
	Additional contact telephone e-mails for 1a with their role 
	TP option
	Yes
	e.g. billing contracts, scheduling
	No

	2
	A statement that the party requesting service is, or will be upon commencement of service, an Eligible Customer under the Tariff
	No
	Yes
	OASIS will contain the language – TP specific - and customer will check off
	Yes

	3
	A description of the Network Load at each delivery point. This description should separately identify and provide the Eligible Customer’s best estimate of the total loads to be served at each transmission voltage level, and the loads to be served from each Transmission Provider substation at the same transmission voltage level. The description should include a ten (10) year forecast of summer and winter load and resource requirements beginning with the first year after the service is scheduled to commence.
	No
	Yes
	Allow one-to-many. Also allow an attached document.
	Yes

	4
	The amount and location of any interruptible loads included in the Network Load. This shall include the summer and winter capacity requirements for each interruptible load (had such load not be interruptible), that portion of the load subject to interruption, the conditions under which an interruption can be implemented and any limitations on the amount and frequency of interruptions. An Eligible Customer should identify the amount of interruptible customer load (if any) included in the 10 year load forecast provided above.
	No
	Yes
	Allow one-to-many. Also allow an attached document. Include the capability to identify the load type and additional qualifications as part of 3 above.
	Yes

	5
	A description of Network Resources (current and 10-year projection).
	
	
	Ensure includes attestation with request for new DNR
	

	b
	For each on-system Network Resource, such description shall include:
	No
	Yes
	Include description, name, electrical and geographic location and other. Type of resource (purchased power agreement, unit sale, etc.)
	Yes

	i
	Unit size and amount of capacity from that unit to be designated as Network Resource
	No
	Yes
	
	Yes

	ii
	VAR capability (both leading and lagging) of all generators
	Yes*
	Yes*
	[What would template look like?] Not required to be masked (by FERC) Attached document.
	Yes

	iii
	Operating restrictions
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	iv
	Any periods of restricted operations throughout the year
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	v
	Maintenance schedules
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	vi
	Minimum loading level of unit
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	vii
	Normal operating level of unit
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	viii
	Any must-run designations required for system reliability or contract reasons
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	ix
	Approximate variable generating cost ($/MWh) for redispatch computations
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	x
	Arrangements governing sale and delivery of power to third parties from generating facilities located in the Transmission Provider control area, where only a portion of unit output is designated as a Network Resource.
	Yes*
	Yes
	[What would template look like?] *Not required to be masked (by FERC) Also allow an attached document
	Yes

	c
	For each off-system Network Resource, such description shall include
	
	
	Include description, name, electrical and geographic location and other. Type of resource (purchased power agreement, unit sale, etc.)
	Yes

	i
	Identification of the Network Resource as an off-system resource
	No
	Yes
	
	Yes

	ii
	Amount of power to which the customer has rights
	No
	Yes
	
	Yes

	iii
	Identification of the control area from which the power will originate
	No
	Yes
	
	Yes

	iii.1
	Location where title to power is taken
	No
	Yes
	Control area, state or transmission (electrical) location
	No

	Iv
	Delivery point(s) to the Transmission Provider’s Transmission System
	No
	Yes
	
	Yes

	V
	Transmission arrangements on the external Transmission System(s)
	No
	Yes
	Transmission provider(s) and Aref(s) and start time and stop time
	Yes

	 Vi
	Operating restrictions, if any
	
	
	
	Yes

	1
	Any periods of restricted operations throughout the year
	Yes
	Yes*
	[What would template look like?] Also allow an attached document. 
	Yes

	2
	Maintenance schedules
	Yes
	Yes*
	*[What would template look like?] Also allow an attached document. 
	Yes

	3
	Minimum loading level of unit
	Yes
	Yes*
	*[What would template look like?] Also allow an attached document. 
	Yes

	4
	Normal operating level of unit
	Yes
	Yes*
	* [What would template look like?] Also allow an attached document. 
	Yes

	5
	Any must-run designation required for system reliability or contract reasons
	Yes
	Yes*
	* [What would template look like?] Also allow an attached document. 
	Yes

	vii
	Approximate variable generating cost ($/MWh) for redispatch computations.
	Yes
	Yes*
	* [What would template look like?] Also allow an attached document. 
	Yes

	6
	Description of Eligible Customer’s transmission system:
	
	
	
	

	a
	Load flow and stability data, such as real and reactive parts of the load, lines, transformers, reactive devices and load type, including normal and emergency ratings of all transmission equipment in a load flow format compatible with that used by the Transmission Provider
	Yes
	Yes
	A field to allow one or more attached documents. 
	Yes

	b
	Operating restrictions needed for reliability
	Yes
	Yes
	A field to allow one or more attached documents. 
	Yes

	c
	Operating guides employed by system operators
	Yes
	Yes
	A field to allow one or more attached documents. 
	Yes

	d
	Contractual restrictions or committed uses of the Eligible Customer’s transmission system, other then Eligible Customer’s Network Loads and Resources
	Yes
	Yes
	A field to allow one or more attached documents. 
	Yes

	e
	Location of Network Resources described in 5 above
	Yes
	Yes
	A field to allow one or more attached documents. Location on transmission customer’s system
	Yes

	f
	10 year projection of system expansions or upgrades
	Yes
	Yes
	A field to allow one or more attached documents.
	Yes

	g
	Transmission System maps that include any proposed expansions or upgrades
	Yes
	Yes
	A field to allow one or more attached documents.
	Yes

	h
	Thermal ratings of Eligible Customer’s control area ties with other control areas.
	Yes
	Yes
	A field to allow one or more attached documents.
	Yes

	7
	Service Commencement Date and the term of the requested Network Integration Transmission Service. The minimum term for Network Integration Transmission Service is one year.
	No
	Yes
	
	Yes

	8
	A statement signed by an authorized officer from or agent of the Network Customer attesting that all of the network resources listed above satisfy the following conditions: (1) the Network Customer owns the resource, has committed to purchase generation pursuant to an executed contract, or has committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the Tariff, and (2) the Network Resources do not include any resources or any portion thereof, that are committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligation under a reserve sharing program.
	No
	Yes
	Also allow an attached document.
	Yes

	9
	Any additional information required of the Transmission Customer as specified in the Transmission Provider’s planning process established in Attachment K. 
	TP option
	Yes
	Also allow an attached document. Similar in concept to miscellaneous information in tagging?
	Yes

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


