ISNE Comments on NAESB ESS/ITS Items for Dec 5th


In reviewing the Preconfirmation Priority document we see many changes for which there are no descriptions as to why the text was changed.  Typically there are minutes or other documents on the NAESB site which describe why certain items are being added or deleted. Please provide a short description of why the following items have been modified (are the changes really related to the Preconfirmation Priority or do they just happen to be made in the same document)?
1. Why are following service period descriptions removed (but Extended Yearly is maintained)?
· Extended Daily

· Extended Weekly

· Extended Monthly

· Next Increment Hourly

2. Why is the section Attribute Values Defining Service Class and all associated text and subsections removed?

3. Why is the section Curtailment Priorities removed?

4. Why is the text describing the Other Service Attribute Values, 001-2.5 removed?

An additional question:

5. I assumed CBM has been added into 01-2.3.3 to address the ongoing development of how CBM is handled within the NAESB standards. But, would like to understand how will the CBM data posted using the 01-2.3.3 Service Type will be related to the CBM data that is required to be posted under SYSTEMDATA?

