[image: image1.png]\

o

l




[image: image2.png]\

o

li




NAESB Open Access Same-Time Information Systems (OASIS) Standards – WEQ-001

Standard Terminology for Transmission and Ancillary Services

01-2.1.9 Sliding Yearly
The service starts at 00:00 of any date and stops at 00:00 on the same date of the following year.  If there is no corresponding date in the following year, the service stops at 24:00 on the last day of the same month in the following year.

For example Sliding Yearly service starting on February 29 would stop on February 28 of the following year.
The Transmission Provider may limit the start of service to the beginning of a calendar month.
01-2.1.10 

01-2.1.11 

01-2.1.12 

01-2.1.13 Extended Yearly
The service starts at 00:00 of any date and stops at 00:00 more than one year later.
The Transmission Provider may limit the start and stop of service to the beginning of a calendar month.
01-2.1.14 




01-2.2.1 

01-2.2.2 

Attribute Values Defining Service Types
001-2.3
A Transmission Provider shall use the values and definitions below to describe the service type, TS_TYPE, for transmission services offered on OASIS, or shall post alternative attribute values and associated definitions on the OASIS Home Page at http://www.tsin.com, or shall use the attribute values and definitions posted by other Transmission Providers.  (See Standard 3 for registration requirements.)

01-2.3.1 Point-to-point (PTP)
Transmission service that is reserved and/or scheduled between specified Points of Receipt and Delivery pursuant to Part II of the pro forma tariff and in accordance with the definitions in the pro forma tariff.

01-2.3.2 Network
Network Integration Transmission Service that is provided to serve a Network Customer load pursuant to Part III of the pro forma tariff and in accordance with the definitions in the pro forma tariff.
01-2.3.3 CBM
Transmission service that is set-aside by the Transmission Provider for reliability purposes to support the import of energy during a generation deficiency emergency.


Other Service Attribute Values

Seven ancillary services are pre-defined.  Other services may be offered pursuant to filed tariffs.


Ancillary Services Definitions
001-2.5.1
Scheduling, System Control and Dispatch Service (SC) - is necessary to the provision of basic transmission service within every control area.  This service can be provided only by the operator of the control area in which the transmission facilities used are located.  This is because the service is to schedule the movement of power through, out of, within, or into the control area. This service also includes the dispatch of generating resources to maintain generation/load balance and maintain security during the transaction and in accordance with Schedule 1 of the pro forma tariff. 

001-2.5.2
Reactive Supply and Voltage Control from Generation Sources Service (RV) - is the provision of reactive power and voltage control by generating facilities under the control of the control area operator.  This service is necessary to the provision of basic transmission service within every control area and in accordance with Schedule 2 of the pro forma tariff.

001-2.5.3
Regulation and Frequency Response Service (RF) - is provided for transmission within or into the transmission provider's control area to serve load in the area.  Customers may be able to satisfy the regulation service obligation by providing generation with automatic generation control capabilities to the control area in which the load resides and in accordance with Schedule 3 of the pro forma tariff.

001-2.5.4
Energy Imbalance Service (EI) - is the service for transmission within and into the transmission provider's control area to serve load in the area.  Energy imbalance represents the deviation between the scheduled and actual delivery of energy to a load in the local control area over a single hour and in accordance with Schedule 4 of the pro forma tariff.

001-2.5.5
Operating Reserve - Spinning Reserve Service (SP) - is provided by generating units that are on-line and loaded at less than maximum output.  They are available to serve load immediately in an unexpected contingency, such as an unplanned outage of a generating unit and in accordance with Schedule 5 of the pro forma tariff.

001-2.5.6
Operating Reserve - Supplemental Reserve Service (SU) - is generating capacity that can be used to respond to contingency situations.  Supplemental reserve is not available instantaneously, but rather within a short period (usually ten minutes).  It is provided by generating units that are on-line but unloaded, by quick-start generation, and by customer interrupted load and in accordance with Schedule 6 of the pro forma tariff.





001-2.5.7
Generator Imbalance (GI) - is provided when a difference occurs between the output of a generator located in the Transmission Provider’s Control Area and a delivery schedule from that generator to (1) another Control Area or (2) a load within the Transmission Provider’s Control Area over a single hour and in accordance with Schedule 9 of the pro forma tariff.
001-4
On-line Negotiation and Confirmation Process
001-4.1
All reservations and price and/or capacity negotiations shall be conducted on OASIS.

001-4.2
RESERVED

001-4.3
RESERVED

Phase IA Negotiation Process State Transition Diagram

The Version 1 of the NAESB Standards and Communications Protocol for Open Access Same-Time Information Systems (WEQ-002) and OASIS Implementation Guide (WEQ-013) provides a process state diagram to define the Customer and Transmission Provider interactions for negotiating transmission service.  This diagram defines the allowable steps in the reservation request, negotiation, approval and confirmation process.

001-4.4
RESERVED
001-4.5
RESERVED  



Negotiations Without Competing Bids

The following practices are defined in order to enhance consistency of the reservation process across OASIS Phase IA nodes.

001-4.6
A Transmission Provider/Seller shall respond to a Customer’s service request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 4- Reservation Timing Requirements.  The time limit is measured from the time the request is QUEUED.  A Transmission Provider may respond by setting the state of the reservation request to one of the following:

    I.
INVALID

    II.
DECLINED

    III.
REFUSED

    IV.
COUNTEROFFER

    V.
ACCEPTED

    VI.
STUDY (when the tariff allows), leading to REFUSED, COUNTEROFFER, or ACCEPTED.

001-4.7
Prior to setting a request to ACCEPTED, COUNTEROFFER, or REFUSED a Transmission Provider shall evaluate the appropriate resources and ascertain that the requested transfer capability is (or is not) available.
001-4.7.1
The Transmission Provider shall use the status of COUNTEROFFER to initiate the negotiation of requested price and/or capacity.
001-4.7.2
If the available transfer capability can support only a portion of the total capacity requested by the Transmission Customer and the Transmission Provider is obligated or elects to offer what limited capability is available to the customer, the Transmission Provider shall notify the Transmission Customer on OASIS by setting the amount of capacity being offered in the transmission request and updating the request status to COUNTEROFFER.
001-4.8
For any request that is REFUSED or INVALID, the Transmission Provider must indicate in the SELLER_COMMENTS field the reason the request was refused or invalid.

001-4.9
The Customer may change a request from QUEUED, RECEIVED, STUDY, COUNTEROFFER, REBID, or ACCEPTED to WITHDRAWN at any time prior to CONFIRMED.
001-4.9.1
Requests for short-term firm and non-firm point-to-point service that are submitted as pre-confirmed shall not be allowed to be WITHDRAWN by the Customer unless the request status is COUNTEROFFER or REBID.

001-4.9.2
Transmission Customers may request that the Transmission Provider void a pre-confirmed request/reservation for short-term firm or non-firm point-to-point service.  Honoring such a request is at the discretion of the Transmission Provider.
001-4.10
From ACCEPTED or COUNTEROFFER, a Customer may change the status to CONFIRMED, REBID, or WITHDRAWN.  The Customer has the amount of time designated as Customer Confirmation Time Limit in Table 4-2 Reservation Timing Requirements to change the state of the request to CONFIRMED.  The Customer time limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation.
001-4.10.1
The Transmission Customer shall use the request status of REBID to initiate or continue the negotiation of price and/or capacity.
001-4.10.2
The Transmission Customer may negotiate for a lower amount of transmission capacity by updating the capacity requested and setting the request status from ACCEPTED or COUNTEROFFER to REBID in order to coordinate the level of transmission service purchased across multiple Transmission Providers or other such purposes.  Negotiation for a higher amount of transmission capacity shall not be allowed.

001-4.10.3
The Transmission Customer and Transmission Provider shall positively acknowledge and agree to both the price and capacity over time prior to confirmation of the transmission service request.
001-4.11
After expiration of the Customer Confirmation Time Limit, specified in Table 4-2 Reservation Timing Requirements, the Transmission Provider has a right to move the request to the RETRACTED state.

001-4.12
Should the Customer elect to initiate or continue the negotiation of price and/or capacity by moving a transmission service request to REBID, the Transmission Provider shall respond by taking the request to a DECLINED, ACCEPTED, or COUNTEROFFER state within the Provider Counter Time Limit, specified in Table 4-2 Reservation Timing Requirements.  The Transmission Provider response time is measured from the most recent REBID time.

001-4.13
The following timing requirements shall apply to all reservation requests:

Table 4-2
Reservation Timing Requirements

	Class
	Service

Increment
	Time QUEUED Prior to Start
	Provider Evaluation Time Limit1
	Customer Confirmation Time Limit2 after ACCEPTED or COUNTEROFFER3
	Provider Counter Time Limit after REBID4

	Non-Firm
	Hourly
	<1 hour
	Best effort
	5 minutes
	5 minutes

	Non-Firm
	Hourly
	>1 hour
	30 minutes
	5 minutes
	5 minutes

	Non-Firm
	Hourly
	Day ahead
	30 minutes
	30 minutes
	10 minutes

	Non-Firm
	Daily
	N/A
	30 minutes
	2 hours
	10 minutes

	Non-Firm
	Weekly
	N/A
	4 hours
	24 hours
	4 hours

	Non-Firm
	Monthly
	N/A
	2 days 5
	24 hours
	4 hours

	
	
	
	
	
	

	Firm
	Daily
	< 24 hours
	Best effort
	2 hours
	30 minutes

	Firm
	Daily
	N/A
	30 days6
	24 hours
	4 hours

	Firm
	Weekly
	N/A
	30 days6
	48 hours
	4 hours

	Firm
	Monthly
	N/A
	30 days6
	4 days
	4 hours

	Firm
	Yearly
	60 days 7
	30 days
	15 days
	4 hours


Notes for Table 4-2:
1
Consistent with regulations and filed tariffs, measurement starts at the time the request is QUEUED.

2
Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override pre-exemption deadlines.

3
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

4
Measurement starts at the time the Transmission Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

5
Days are defined as calendar days.

6
Subject to expedited time requirements of Section 17.1 of the pro forma tariff.  Transmission Providers shall make best efforts to respond within 72 hours, or prior to the scheduling deadline, whichever is earlier, to a request for Daily Firm Service received during period 2-30 days ahead of the service start time.

7
Subject to Section 17.1 of the pro forma tariff, whenever feasible and on a nondiscriminatory basis, transmission providers should accommodate requests made with less than 60 days notice.

Negotiations with Competing Bids for Constrained Resources

Competing bids exist when multiple requests cannot be accommodated due to a lack of available transfer capability.  One general rule is that OASIS requests should be evaluated and granted priority on a first-come-first-served basis established by OASIS QUEUED time.  Thus, the first to request service should get it, all else being equal.

Exceptions to this first-come-first-served basis occur when there are competing requests for limited resources and the requests have different priorities established by FERC regulations and filed tariffs.  Prior to the introduction of price negotiations, the attribute values that have served as a basis for determining priority include:
    I.
Type (Network, Point-to-point)

    II.
Class (Firm, Non-Firm)

    III.
Increment (Hourly, Daily, Weekly, Monthly, Yearly)

    IV. 
 Duration (the amount of time between the Start Date and the Stop Date)

    V.
Amount (the MW amount)

Under a negotiation model, price can also be used as an attribute for determining priority.  The negotiation process increases the possibility that a Transmission Provider will be evaluating multiple requests that cannot all be accommodated due to limited resources.  In this scenario, it is possible that an unconfirmed request with an earlier QUEUED time could be preempted (SUPERSEDED).  For this to occur, the subsequent request would have to be of higher priority.  The current determinants of request priority within a given Service Request Tier (see below) are,

I.
Increment (Hourly, Daily, Weekly, Monthly, Yearly)
II.
Duration (the amount of time between the Start Date and the Stop Date)


III
Pre-confirmed

IV.
Price
V.
Queue Time

001-4.14
Consistent with regulations and filed tariffs, the following are recommended relative priorities of Service Request Tiers
.  Specific exceptions may exist in accordance with filed tariffs.  The priorities refer only to negotiation of service and do not refer to curtailment priority.

001-4.14.1
Service Request Tier 1:  Native load, Network, or Long-term Firm 

001-4.14.2
Service Request Tier 2:  Short-term Firm 

001-4.14.3
Service Request Tier 3:  Network Service from Non-designated Resources

001-4.14.4
Service Request Tier 4:  Non-firm

001-4.14.5
Service Request Tier 5:  Non-firm Point-to-point Service over secondary receipt and delivery points

001-4.14.6
Service Request Tier 6:  Non-firm Next Hour Market Service

001-4.15
Consistent with regulations and filed tariffs, reservation requests shall be handled in a first-come-first-served order based on QUEUE_TIME.

001-4.16
Consistent with regulations and filed tariffs, Table 4-3 describes the relative priorities of competing service requests and rules for offering right-of-first-refusal.  While the table indicates the relative priorities of two competing requests, it also is intended to be applied in the more general case of more than two competing requests.

Table 4-3
Priorities for Competing Reservation Requests
	


	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


	R

O

W
	Request 1
	Is Preempted by Request 2
	Right of First Refusal

	1
	Tier 1:  Long-term Firm, Native Load, and Network Firm
	N/A - Not preempted by a subsequent request.
	N/A

	2
	Tier 2:  Short-term Firm
	Tier 1:  Long-term Firm, Native Load, and Network Firm, while Request 1 is not confirmed (pending) or is confirmed but conditional.  
Once Request 1 is unconditional, it may not be preempted.

	No

	3a
	Tier 2:  Short-term Firm
	Tier 2:  Short-term Firm of longer term (duration)1, while Request 1 is confirmed but conditional.
Once Request 1 is unconditional, it may not be preempted.
	Yes, while Request 1 is conditional.  
Once Request 1 is unconditional, it may not be preempted and right of first refusal is not applicable.

	3b
	Tier 2:  Short-term Firm
	Tier 2:  Short-term Firm of equal term (duration)1 and Request 2 is pre-confirmed and Request 1 is not pre-confirmed,  while Request 1 is pending. 
	No

	3c
	Tier 2:  Short-term Firm
	Tier 2:  Short-term Firm of equal term (duration)1 and pre-confirmation status (yes or no) but higher price, while Request 1 is pending. 
	No


	3b
	Tier 2:  Short-term Firm
	
	

	3c
	
	
	

	4
	Tier 3:  Network Service From Non-Designated Resources
	Tiers 1 and 2:  All Firm (including Network).
	No

	5
	Tier 4:  All Non-Firm PTP
	Tiers 1 and 2:  All Firm (including Network).
	No

	6
	Tier 4:  All Non-Firm PTP
	Tier 3:  Network Service from Non-Designated Resources.
	

	7
	Tier 4:  All Non-Firm PTP
	Tier 4:  Non-firm PTP of a longer term (duration)1, while request 1 is confirmed except in the last hour prior to start (See Standard 4.23).
	Yes 2

	8a
	Tier 4:  All Non-Firm PTP
	Tier 4:  Non-firm PTP of equal term (duration)1, pre-confirmed and higher price, while Request 1 is still pending.  
A confirmed non-firm PTP may not be preempted for another non-firm request of equal duration and higher price.  (See Standards 4.22 and 4.25.)
	Yes 3

	8b
	Tier 4:  All Non-Firm PTP
	Tier 4:  Non-firm PTP of a equal term (duration)1, pre-confirmed and equal price,  while Request 1 is pending and not pre-confirmed.
	No

	9
	Tier 5: Non-firm PTP Service over secondary receipt and delivery points.
	Tier 5 can be preempted by Tiers 1 through 4.
	No

	10
	Tier 6: Non-firm Next Hour Market Service
	Tier 6 can be preempted by Tiers 1 through 5.
	No


Notes for Table 4-3:
1
Longer duration, in addition to being higher SERVICE_INCREMENT (i.e., WEEKLY has priority over DAILY), also may mean more multiples of the same SERVICE_INCREMENT (i.e., 3 days may have priority over 2 days).  
Multiple service increments must be at the same level of capacity.

2
Right of first refusal when a subsequent request is received of a longer duration applies only if the first request is confirmed.

3
Right of first refusal when a subsequent request is received of an equal duration and higher price applies only when the first request is unconfirmed and the subsequent request is received pre-confirmed (see Standards 4.22 and 4.26).

001-4.17
For a request or reservation that is Superseded or Displaced, the Transmission Provider must indicate the Assignment Reference Number of the competing request and the reason for denial of service in the SELLER_COMMENTS field.

001-4.18
Given competing requests for a limited resource and a right-of-first-refusal is not required to be offered, the Transmission Provider may immediately move requests in the CONFIRMED state to DISPLACED, or from any unconfirmed (pending) state to SUPERSEDED, if the competing request is of higher priority, based on the rules represented in Table 4-3.  These state changes require dynamic notification to the Customer if the Customer has requested dynamic notification on OASIS.

001-4.19
Prior to Confirmation, in those cases where right-of-first-refusal is required to be offered, the Transmission Provider shall move requests in the ACCEPTED state to COUNTEROFFER, to notify the Customer of the opportunity to match the subsequent offer.

001-4.20
A Customer who has been extended a right-of-first-refusal according to Table 4-3 shall have a confirmation time limit equal to the lesser of (a) the Customer Confirmation 
Time Limit in Table 4-2 or (b) 24 hours.

001-4.21
A Transmission Provider shall apply all rights-of-first-refusal in a nondiscriminatory and open manner for all Customers.

001-4.22
Once a non-firm PTP request has been confirmed, it shall not be displaced by a subsequent non-firm PTP request of equal duration and higher price.

001-4.23
A confirmed, non-firm PTP reservation for the next hour shall not be displaced within one hour of the start of the reservation by a subsequent non-firm PTP reservation request of longer duration.

001-4.24
A Transmission Provider shall accept any reservation request submitted for an unconstrained Path if the Customer’s bid price is equal to or greater than the Transmission Provider’s posted offer price at the time the request was queued, even if later requests are submitted at a higher price.  This standard applies even when the first request is still unconfirmed, unless the Customer Confirmation Time Limit has expired for the first request.

001-4.25
Once an offer to provide non-firm PTP transmission service at a given price is extended to a Customer by the Transmission Provider, and while this first request is still unconfirmed but within the Customer Confirmation Time Limit, the Transmission Provider shall not preempt or otherwise alter the status of that first request on receipt of a subsequent request of the same Tier and equal duration at a higher price, unless the subsequent request is submitted as pre-confirmed.

001-4.26
If during a negotiation of service (i.e., prior to Customer confirmation) a subsequent pre-confirmed request for service over the same limited resource of equal duration but higher price is received, the Transmission Provider must COUNTEROFFER the price of service on the prior COUNTEROFFER or ACCEPTED price to match the competing offer, in order to give the first Customer an opportunity to match the offer.  This practice must be implemented in a non-discriminatory manner.

001-4.27
Whenever a request or reservation is set to the state of Invalid, Refused, Declined, Superseded, Retracted, Annulled, or Displaced, the Transmission Provider or Seller shall enter the reason for the action in the SELLER_COMMENTS field.





























































































































































































































































































































































































































































































































































































































































1Note:  The term Tier is introduced to avoid confusion with existing terms such as TS_CLASS.





�Since WEQ-002 and WEQ-013 are defined NAESB standards there is no longer a need to incorporate by reference.


�Note that ability to go from ACCEPTED to REBID is required to support coordination across TPs.  If you have one TP offering partial service, TC will want to go back to the adjacent TP(s) and adjust their requested capacity to match.  We need to update WEQ-013 status state diagram to allow for this.


�We need to discuss if we want to be more explicit on relationship between service increment and duration.  Does 8 consecutive days of daily service trump 1 week of weekly?  Many TPs avoid this by setting non-overlap max durations.  Increment factors into both rates and curtailment priorities for non-firm, so one could argue daily service compete only with other daily services.  Or, we could say its purely duration and let TP practices determine any overlaps.


�Is it clear that a request is “pending” when its not confirmed?  If so, instead of using “not confirmed” we could consistently use the term pemding.


�Do we want to address price as tie-breaker for firm service?  Do we want it to behave like the non-firm case, or can pre-confirmation at lower price trump non-pre-confirmed at higher price?


�The use of the word MAY here seems to give some discretion to the TP on defining whether 8 days of daily trumps one week of weekly.





NAESB WEQ Standards – Version 001
10
October 31, 2007
Copyright © 2005-2007 North American Energy Standards Board, Inc.  All Rights Reserved.

