1. Modify definition of forward URL to in CA, TP, and PSE registry to be anything the customer wants.

2. Clarify that composite state of TERMINATED occurs at termination time (or maybe at termination time + ½ end ramp duration?)

3. Should IMPLEMENTED transition to COMPLETED after end of e-Tag?

4. ActOnByTime and TimeClassification needs to be set for all Requests, not just new

5. Add validation rule that requires all base energy profiles be submitted and that the time ranges match.

6. increase query summaries limit to 25 hours

7. Any e-Tag that contains an Eastern Interconnection TSP, BA, or SE must be forwarded to the IDC.  Clean up section f1.4.2.2 (in conjunction with item 1 above).  The SC forward URL will be used for ANY SC associated with reliability entities in the e-Tag.

8. Make the miscellaneous info field correctible by the author – CAISO
9. Multiple curtailment profiles – reload would apply only to curtailment issued by reload requestor.

