Informal Comments of the Bonneville Power Administration on the EIR


Electric Industry Registry 
System Requirements Document 20080123

Pages refer to redlined version

The following comments are made regarding above referenced document:

1)  Page 3, paragraph two, third line.  Incomplete sentence beginning with (Note…
2)  Page 4, last sentence.  Delete the word “an”
3)  Page 9, Section 1.2 first paragraph.  NERC Glossary of Terms – Change date from April 1, 2005 to May 2, 2006

4)  Page 11.  Add Purchasing Selling Entity definition as defined in the NERC Glossary of Terms
5) Page 25, Section 2.14 Topology – Deactivation.  We recommend a 30-day notice to all users of the registry before deactivation of any data under this section. 

6) The reader seems to get a little lost when it comes to whether NERC or NAESB have control/final authority over certain functionality.  (E.g. Section 3.6 Display Consistency refers to NERC; Section 4.3 Disaster Recovery refers to NAESB; 4.4 Structured and Coordinated Upgrades refer to NERC).  Are there defined roles of NERC and NAESB in the implementation and general administration of the EIR? 
7)  Page 31 Section 5.1 Structured Test Document.  
NAESB members should be given an opportunity to review and provide input and corrections.

8)   Glossary section is needed to add the definition of Purchase & Selling Entity (PSE) as defined in NERC e-Tag specification.  
9)    Page 23, paragraph 2.12.7, the word "necessary" needs to be finished and the word "definition" corrected.
10)  General Comment:  Any restrictions on access to the EIR should not impact the ability of a transmission customer to transact business on OASIS as reflected in the  following FERC language, found in 18 CFR Part 37, [Docket No. RM95-9-003; Order No. 638] Open Access Same-Time Information System and Standards of Conduct (Issued February 25, 2000):
3. Entity and Product Registration
a. Maintenance of Industry-Wide OASIS Home Page

In the UBP NOPR, we proposed to allow the use of an industry-wide OASIS Home Page at www.tsin.com. We stated therein that the operator of the Home Page may only act as an agent of the transmission providers. We also stated that allowing the use of an industrywide OASIS Home Page does not undermine the responsibilities of individual transmission providers to make their OASIS sites accessible to users and potential users, and to operate their OASIS sites in compliance with all applicable Commission orders and regulations. We proposed that, as long as transmission providers pay only reasonable fees to the third party for operating and maintaining the industry-wide OASIS Home Page, they will be able to recover these fees in their transmission rates.
We expect that a single industry-wide OASIS Home Page for registration that keeps track of OASIS users, transmission providers, and transmission providers' services, would have great benefits.52 However, we are still concerned that an entity not subject to the Commission's jurisdiction would be setting fees for the use of the industry-wide OASIS Home Page. Thus, we will require transmission providers to: (1) use the industry-wide OASIS Home Page at www.tsin.com; and (2) ensure that the third-party operator of the industry-wide OASIS Home Page acts as an agent on behalf of affected transmission providers.53 In our view, such an arrangement would create a mechanism for transmission providers to recover the reasonable fees they paid for the operation and maintenance of the industry-wide OASIS Home Page, while keeping transmission providers responsible for ensuring that the industry-wide OASIS Home Page is properly operated.

52Registration at the industry-wide OASIS Home Page would replace registration at individual OASIS sites.

We therefore will adopt a modified Standard 3.1, which provides as follows:
Standard 3.1: All entities or persons using OASIS shall register the identity of their organization (including DUNS number) or person at the OASIS Home Page at www.tsin.com. Registration identification shall include the parent entity (if any) of the registrant. Registration shall be a prerequisite to OASIS usage and renewed annually and whenever changes in identification occur and thereafter. An entity or person not complying with this requirement may be denied access by a transmission provider to that transmission providers OASIS node. [see also WEQ-001-3.]
Page 1 of 2
3/14/08


