Proposed e-Tag 1.8.1 Revisions

Comments Submitted by B. Harshbarger, Puget Sound Energy


During development of e-Tag 1.8 several issues were put off for future consideration in order to minimize risk in the 1.8 implementation.  The issues summarized below, were brought by various entities including e-Tag vendors and the JISWG to technically improve the e-Tag specification.
1. Modify definition of forward URL in the CA, TP, and PSE registry to be any valid URL the registrant wants.  Clean-up section 1.4.1.2 to be consistent with 3.6.1.1.1.  Enhancement suggested by vendor.  

2. Clarify when the composite states of TERMINATED and CANCELLED occurs (such as at termination time).  e-Tag specification cleanup. Suggested by the NERC Interchange Distribution Calculator Working Group (IDCWG).
3. Should IMPLEMENTED transition to COMPLETED after end of e-Tag?  Suggestion by NAESB member to add clarity to e-Tag status.
4. ActOnByTime and TimeClassification needs to be set for all Requests, not just new.  e-Tag specification cleanup.
5. Add validation rule that requires all base energy profiles be submitted and that the time ranges match in all requests.  Automated e-Tag validation improvement.
6. Increase Query Summaries limit to 25 hours (to account for DST cutover).  Enhancement suggested by vendor.  
7. Consider making the miscellaneous info field correctible by the author after the e-Tag has been confirmed.  Suggested by NAESB member.
8. There has been a long-standing issue with a single reliability profile and multiple reliability entities curtailing and reloading.  Provide solutions (such as multiple curtailment profiles) – reload request would only be allowed by entity issuing curtailment request.  Suggested by NAESB member and NERC Transmission Load Relief Standard Drafting Team.
9. Allow Source BA to override approval state of tag similar to current Sink BA capability (see section 3.3.1 of e-Tag specifications).  Suggested by NAESB member.
10. Review use of the term Authority Operator throughout the e-Tag specifications.  e-Tag specification cleanup.
11. Create Regional/Interconnection Appendices where the specification for special e-Tag functionality for a particular region or interconnection is published and maintained.

12. Create scheduled or predictable release dates, such the first working day of the second month of a quarter.  Establish interoperability testing dates based on the release date.

13. Establish monthly process(es) for monthly interoperability testing for vendor releases.
Regional/Interconnection Specific

1. For WECC, clarify which entities have approval rights on miscellaneous info corrections.  Related to item 7 above.  Suggested by NAESB member.
2. Update the WECC Tagging Implementation Guide as appropriate.  Consider publishing or posting.  Suggested by NAESB member.

1 of 2
5/20/2008

