Modifications to WEQ-004

Modifications to WEQ-004 (New Requirements)

NOTE: NAESB Staff will assign appropriate enumeration to this standard to replace “n”, with next sequential standard number within WEQ-004
NOTE: This section is a draft based on preliminary input from the JISWG
Coordinate Interchange for Capacity Benefit Margin
004-n 
All scheduled use of a Transmission Service Provider’s transmission capacity set-aside for Capacity Benefit Margin (CBM) in support of energy imports into a load Balancing Authority served by the Transmission Service Provider shall be uniquely represented in all Requests For Interchange submitted to the IA.

004-n.1 
Until other means for submitting the RFI are adopted by NAESB, the following data fields shall be specified in each e-Tag requesting the use of the Transmission Service Provider’s CBM:

· The e-Tag transaction type shall be EMERGENCY

· The Transmission PSE (TPSE) listed in the physical segment where CBM is being requested shall be the registered Entity Code of the Load Serving Entity requesting use of CBM.  Note that this is not necessarily the PSE submitting the e-Tag.
· The Transmission Product associated with the Transmission Service Provider whose use of CBM is being requested shall be 7-CB 

004-n.2
The Transmission Service Provider may require the specification of a unique Transmission Reservation Number in association with any request for use of CBM.  Such requirement shall be fully documented in the Transmission Service Provider’s Business Practices posted on OASIS.  The TSP reserves the right to deny any RFI requesting use of CBM if the required Transmission Reservation Number is not specified.

