[image: image3.wmf]Request for 

Interchange 

Submitted

Interchange Timeline with Minimum Reliability

-

Related Response Times

Ramp 

Start


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: WEQ

                                       Requesters:
Puget Sound Energy

                                       Request No.: 
R07007

                                       Request Title:
Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI)

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

      Accept as requested



   x  Change to Existing Practice

  x   Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

      Modification




      Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  x   Business Practice Standard 

      Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:
To address Request R07007, e-Tag timing tables, the JISWG worked with the requestor to simplify and enhance the clarity of the tables.  The Timing Table Interchange Timeline with Minimum Reliability-Related Response Times in Appendix D of WEQ 004 Coordinate Interchange ratified under change request R05001 (with Minor Corrections Applied March 20, 2007) will be split into two tables.  One table will be applicable to all interconnections other than WECC.  The second table will be specific to WECC. These two tables have differences due to the difference in ramp durations and ramp start between the WECC and other interconnections.  The tables now also contain a timeline diagram which various industry participants requested.  The timing tables, if approved, should replace the timing tables in the existing Coordinate Interchange standard.  The revised timing tables are included below.
Recommended Standards:

Timing Requirements for all Interconnections except WECC

[image: image4.wmf] 


	
	
	A
	B
	C
	D
	

	If Actual Arranged Interchange (RFI)
 is Submitted
	IA Assigned Time Classification
	IA Makes Initial Distribution of Arranged Interchange
	BA and TSP Conduct Reliability Assessments


	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation
	


	>1 hour after the RFI start time
	ATF
	< 1minute from RFI submission
	Entities have up to 2 hours to respond.
	< 1minute from receipt of all Reliability Assessments
	NA
	

	<15 minutes prior to ramp start and <1 hour after the RFI start time
	Late
	< 1minute from RFI submission
	Entities have up to 10 minutes to respond.
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI 
	

	<1 hour and  > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA
	<1 minute from receipt of all Reliability Assessments
	>3 minutes prior to ramp start
	

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	


Example of Timing Requirements for all Interconnections except WECC

[image: image1.emf]9:55

9:40

1 hour 

before 

ramp start

Late

Ramp 

Start Time

2 hours

8:55

11:00

4 hours 

before 

ramp start

5:55

20 minutes 10 minutes 2 hours

On Time ATF

15 

minutes 

before 

ramp start

RFI submit time 

relative to start 

time

Time 

Classification

Assessment

Interchange

Start Time

10:00



Timing Requirements for WECC
	
	
	A
	B
	C
	D
	

	If Actual Arranged Interchange (RFI)
 is Submitted
	IA Assigns Time Classification
	IA Makes Initial Distribution of Arranged Interchange
	BA and TSP Conduct Reliability Assessments


	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation
	


	>1 hour after the start time
	ATF
	< 1minute from RFI submission
	Entities have up to 2 hours to respond.
	< 1minute from receipt of all Reliability Assessments
	NA
	

	<10 minutes prior to ramp start and <1 hour after the start time
	Late
	< 1minute from RFI submission
	Entities have up to 10 minutes to respond.
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI
	

	10 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 5 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	

	11 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 6 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	

	12 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 7 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	

	13 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 8 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	

	14 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 9 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	

	<1 hour and > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA 
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	

	Submitted before 10:00 PPT with start time > 00:00 PPT of following day
	On-time
	< 1minute from RFI submission
	By 12:00 PPT of day the Arranged Interchange was received by the IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	


Example of Timing Requirements for WECC

[image: image2.emf]10:00 9:50

9:40

1 hour 

before 

ramp start

Late

Ramp 

Start Time

2 hours

8:50

11:00

4 hours 

before 

ramp start

5:50

20 minutes 10 minutes 2 hours

On Time

ATF

RFI submit time 

relative to start 

time

Time 

Classification

 Assessment

*

Interchange 

Start Time

9:35

10 minutes

Submittal & 

Assessment 

Times

9:35 -10

9:36 -9

9:37 -8

9:38 -7

9:39 -6

9:40 -5

*

If submitted before 10:00 PPT with 

start time >= 00:00 PPT of the 

following day then assessment is 

>= 2 hours and by 12:00 PPT



4.  SUPPORTING DOCUMENTATION
a. Description of Request:

Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI): 
· Include designation of request status based on start and submittal times.  

· Include assess times for After-The-Fact (ATF) requests.

Include a WECC preschedule late (Pre-Late) submittal definition
b.  Description of Recommendation:

After review of this Request and in consultation with the WECC, the JISWG recommends that the Pre-late category is not necessary.  The JISWG recommends that the tables set forth in this recommendation be adopted to replace the existing timing tables in the Timing Table Interchange Timeline with Minimum Reliability-Related Response Times in Appendix D of WEQ 004 Coordinate Interchange ratified under change request R05001 (with Minor Corrections Applied March 20, 2007)..
c.  Business Purpose:

Clear definition of what RFIs are assigned on their initial status:  On Time, Late, or After the Fact
d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):  Simplify timing rules, clarify the effects of the timing tables on each entity, incorporate desired changes from industry participants, and provide a clear definition of the initial status that should be assigned to an RFI as per the request. 
JISWG Meeting, May 15-18, 2007:  Draft Minutes
JISWG Conference Call, June 6, 2007

ESS/ITS Conference Call, June 14, 2007

JISWG Conference Call, June 25, 2007:  Draft Minutes
ESS/ITS Meeting, June 26-27, 2007

� EMBED Visio.Drawing.11  ���








� Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to the Arranged Interchange.


� Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to the Arranged Interchange.





June 25, 2007


[image: image5.wmf] 

[image: image6.wmf] 

[image: image7.wmf]Request for 

Interchange 

Submitted

Interchange Timeline with Minimum Reliability

-

Related Response Times

Ramp 

Start

_1284189146.vsd

_1284190933.vsd
Request for Interchange Submitted


Interchange Timeline with Minimum Reliability-Related Response Times


Ramp Start



_1284183385.vsd

_1075620371.doc
[image: image1.png]|

Lo







