[image: image1.wmf] 


[image: image2.wmf] 




RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: WEQ
                                       Requesters: Charles Yeung


                                       Request No.: 2008 AP items 1.c.i – ii, R03017 

                                       Request Title: Review the need to develop business practice standards to support Operate Within Limits (R03017)



1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

      Accept as requested



      Change to Existing Practice

      Accept as modified below


      Status Quo

  X  Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

      Modification




      Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

      Business Practice Standard 


      Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


R03017 was orginally submitted on September 10, 2003.  The Description in the standard request stated the scope of the request was to:
Provide complementary business practice standards to support the Operate Within Interconnection Reliability Operating Limits standard being developed by the North American Electric Reliability Council. Business practices, particularly practices for transaction curtailments, may be needed to support the reliability standards being developed to prevent instability, uncontrolled separation or cascading outages thatadversely impact the reliability of the bulk transmission system.

The SRS has reviewed the request and  original scope document developed by the SRS on April12, 2004.  In the scope document there are a number of references to managing transaction curtailments and developing a NAESB Business Practice for Congestion Management.  Since this request was originally submitted a number of events have occurred including splitting the TLR process into the commercial and reliability aspects.  In December NAESB Board approved the WEQ 2008 Annual Plan which included item, 1. d) “Prepare recommendations for future path for TLR in concert with NERC, which may include alternative congestion management procedures.”
The SRS believes that any remaining work that was referenced in the originally scope document would logically fall under the WEQ 2008 Annual Plan item 1. d).  Rather than having two separate items that are working on overlapping scope the SRS is recommending this request be declined and work begin on WEQ 2008 Annual Plan Item 1. d).
Recommended Standards:

None
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

Provide complementary business practice standards to support the Operate Within Interconnection Reliability Operating Limits standard being developed by the North American Electric Reliability Council. Business practices, particularly practices for transaction curtailments, may be needed to support the reliability standards being developed to prevent instability, uncontrolled separation or cascading outages thatadversely impact the reliability of the bulk transmission system.

b.  Description of Recommendation:

Decline request and begin work on WEQ 2008 Annual Plan Item 1. d).
c.  Business Purpose:

Not applicable since no action is being taken.
d. Commentary/Rationale of Subcommittee(s)/Task Force(s):

The following documentation was reviewed and assessed by a small group of SRS members. The assessment was presented to the SRS at their March 6, 2008.

· R03017 – http://www.naesb.org/pdf/r03017.pdf
· SRS Scope Document of R03017 dated April 12, 2004 –  http://www.naesb.org/pdf3/weq_srs030608w2.pdf
· Drafts of IRO-007 through IRO-010 – ftp://www.nerc.com/pub/sys/all_updl/standards/sar/IRO-007-010-1_clean_30-day_comment_19Mar07.pdf
The March 6, 2008 draft meeting minutes are posted at: tbd 

3
Thursday, March 6, 2008
Page 1

_1075620371.doc
[image: image1.png]|

Lo







