


Time and Inadvertent Management Business Practices FAQ
Please provide any questions you have for the FAQ to tbilke@midwestiso.org
Why are these business practices needed?

Inadvertent Interchange and frequency performance are closely linked.  If frequency is high due to one or more BAs over-generation, other BAs will receive inadvertent because of the frequency bias term in their ACE.  

In Order No. 693, the FERC asked NERC to implement standards to control the size of inadvertent interchange balances.  There are limited tools presently available to BAs to reduce inadvertent.  The primary existing tool (unilateral payback by controlling to a non-zero ACE) hurts the CPS of those BAs that have received inadvertent caused by others.

The FERC was also concerned about the number of frequency excursions.  Nearly half of the frequency excursions beyond the Frequency Trigger Limit (+/- 0.05 Hz from 60) occur during TECs.  This is because frequency is moved closer to the FTL during TECs and normal variation pushes it beyond the edge.  

Is there precedence for the new proposals?

What are the benefits of the new TEC process?

Can the 24 hour TEC be stopped for reliability purposes?

Yes.  This is no different than the current process.

Can Time Error get beyond +/- 20 seconds?

How Do I implement the new unilateral payback?
Can I only financially settle Inadvertent with my neighboring BAs?

How do I report any financially-settled Inadvertent?

What if I have other questions?

