[image: image1.jpg]NERRC

NORTH AMERICAN ELECTRIC
RELIABILITY CORPORATION





Unofficial Comment Form — CIP-010-1 and CIP-011-1 Cyber Security Order 706 (Project 2008-06)

Unofficial Comment Form for Project 2008-06 — Cyber Security Order 706

Draft CIP-002-4 Informal Review
Please DO NOT use this form to submit comments.  Please use the electronic form located at the link below to submit comments on the proposed CIP-002-4.  Comments must be submitted by June 3, 2010.  If you have questions please contact Joe Bucciero at joe.bucciero@gmail.com or by telephone at (267) 981-5445.
http://www.nerc.com/filez/standards/Project_2008-06_Cyber_Security_PhaseII_Standards.html
Background Information:
FERC Order 706 directed NERC to develop modifications to the CIP Reliability Standards on Cyber Security.  Some of the modifications were straightforward.  Other Order 706 changes, such as modification to the scope of assets covered by the standard and consideration of the NIST framework, are more complex and required additional consideration.  A Standards Drafting Team (SDT) was appointed by the Standards Committee on August 7, 2008 to develop these revisions as part of Project 2008-06 — Cyber Security Order 706.  The SDT has been assigned the responsibility to review each of the CIP reliability standards to ensure that they conform to the latest version of the ERO Rules of Procedure, including the Reliability Standards Development Procedure, and also address all of the directed modifications identified in the FERC Order 706. 

Due to the large number of changes, some of which are complex issues, directed in Order 706 and the complexity of the project, the SDT adopted a multi-phase strategy to revise the CIP standards.  The initial phase of the project modified the CIP standards (CIP-002-1 through CIP-009-1) to comply with the near term specific directives included in FERC Order 706.  The SDT’s work in this initial phase resulted in Version 2 of the CIP standards.  On September 30, 2009 FERC approved Version 2 of the CIP standards with an effective date of April 1, 2010.
In its September 30 Order, FERC directed NERC to make additional changes to two of the CIP standards (CIP-006-2 and CIP-008-2) and the associated implementation plan.  Although FERC directed changes to only two of the eight (CIP-002-2 thru CIP-009-2) CIP standards, conforming changes were drafted for the remaining six CIP standards (CIP-002-2 through CIP-005-2, CIP-007-2, and CIP-009-2) to correct the cross references within the set of standards.  The output of this work became Version 3 of the CIP standards.  Version 3 of the CIP standards (CIP-002-3 to CIP-009-3) was approved by FERC on March 31, 2010 and become effective on October 1, 2010. 

The SDT is currently developing changes to the CIP reliability standards to address the Order 706 directives that require significant industry debate.

In December 2009, the SDT posted an initial draft of the first CIP cyber security reliability standard (CIP-002-4 — Cyber Security — BES Cyber System Identification and Categorization) for a 45 day informal comment period.  The SDT received more than 500 pages of comments from industry stakeholders.  The SDT reviewed each of the comments received from the stakeholders, and considered their scope and direction throughout the development of the revised draft of the CIP standard.  Subsequent to this initial posting, and in consideration of the significant change in scope for the revised CIP standard, the drafting team has changed the designation of the first CIP reliability standard to CIP-010-1 — Cyber Security — BES Cyber System Categorization.  

At its meeting on April 13–16, 2010, the SDT agreed on category headings for use in the posting and using a table approach for determining applicability.  The SDT also agreed that, due to the nature of the proposed changes to the existing CIP standards, the best course of action would be to retire the existing standards and start a new sequence, starting with CIP-010 for the BES Cyber Asset Categorization.  The SDT agreed to go forward with one standard (CIP-011) for all of the control requirements for the informal posting, asking for industry input on the comment form on the two format approaches considered.  

In response to comments received from a large number of entities to post the requirements for categorization of BES Cyber Systems together with the requirements for the application of controls, the SDT has modified its schedule and intends to ballot the CIP standards as a single package.  In consideration of the very different approach, model and format used in the drafting of these new CIP standards, the SDT is proposing a set of two standards in lieu of the original eight standards in the CIP series: CIP-010-1 establishes the foundation for cyber security protection by requiring the identification of what to protect and their categorization; CIP-011-1 establishes baseline cyber security requirements, which must be applied to protect the BES Cyber Systems identified and categorized in CIP 010-1 according their impact category.  The alternate format would include CIP-010-1 as described above but would group the baseline cyber security requirements in multiple separate standards numbered consecutively as CIP-011-1, CIP-012-1, CIP-013-1, and so on.  In the drafting these standards, the SDT considered CIP standards Version 1, 2, and 3 directives from FERC Order 706, FERC approved Interpretations to the CIP Version 1 requirements, and other cyber security standards such as NIST 800-53 and the DHS Catalog of Control Systems Security. 

Implementation Plan Considerations

The SDT is currently developing an Implementation Plan for these standards which will consider the following:

1. BES Cyber Systems categorized as High Impact which were previously designated as Critical Cyber Assets;

2. BES Cyber Systems categorized as High Impact which were NOT previously designated as Critical Cyber Assets;

3. BES Cyber Systems categorized as Medium Impact which were previously designated as Critical Cyber Assets;

4. BES Cyber Systems categorized as Medium Impact which were NOT previously designated as Critical Cyber Assets;

5. BES Cyber Systems categorized as Low Impact which were previously designated as Critical Cyber Assets;

6. BES Cyber Systems categorized as Low Impact which were NOT previously designated as Critical Cyber Assets;

7. New requirements not previously included in the CIP Version 1,2, and 3 standards, as they relate to the above categories;

8. Re-categorized BES Cyber Systems;

9. Nuclear Facilities.

The Implementation Plan will be posted as part of the future posting package for formal comments.
The Cyber Security Order 706 Standard Drafting Team requests industry feedback on the initial draft of CIP-010-1 — Cyber Security — BES Cyber System Categorization and of CIP-011-1 — Cyber Security — BES Cyber System Protection.  In addition, the SDT is requesting feedback from the industry on whether they prefer the currently proposed format for CIP-011-1, which contains a complete set of requirements; or an alternate format, where the requirements are grouped in separate standards.  Industry feedback gathered will be utilized by the drafting team to refine the draft standard for formal industry review in July/August 2010.
*Please use the electronic comment form to submit your final responses to NERC.
Questions:
1. Do you agree with the adoption of the following new or revised terms and their definitions for inclusion in the NERC Glossary:  BES Cyber System Component, BES Cyber System, and Control Center?  If not, please explain and supply your proposed modification.
1.a.  BES Cyber System Component — One or more programmable electronic devices (including hardware, software and data) organized for the collection, storage, processing, maintenance, use, sharing, communication, disposition, or display of data; which respond to a BES condition or Disturbance; or enable control and operation.
 FORMCHECKBOX 
 Agree with proposed definition
 FORMCHECKBOX 
 Disagree with proposed definition
Comments:      
1.b.  BES Cyber System — One or more BES Cyber System Components which if rendered unavailable, degraded, compromised, or misused could, within 15 minutes, cause a Disturbance to the BES, or restrict control and operation of the BES, or affect situational awareness of the BES.
 FORMCHECKBOX 
 Agree with proposed definition

 FORMCHECKBOX 
 Disagree with proposed definition

Comments:      
1.c.  Control Center — A set of one or more BES Cyber Systems capable of performing one or more of the following functions for multiple (i.e., two or more) BES generation Facilities or Transmission Facilities, at multiple (i.e., two or more) locations:

· Supervisory control of BES assets, including generation plants, transmission facilities, substations, Automatic Generation Control systems or automatic load-shedding systems,

· Acquisition, aggregation, processing, inter-utility exchange, or display of BES reliability or operability data for the support of real-time operations, 

· BES and system status monitoring and processing for reliability and asset management purposes (e.g., providing information used by Responsible Entities to make real-time operational decisions regarding reliability and operability of the BES), 

· Alarm monitoring and processing specific to operation and restoration function, or 

· Coordination of BES restoration activities.
 FORMCHECKBOX 
 Agree with proposed definition

 FORMCHECKBOX 
 Disagree with proposed definition

Comments:      
2. The definition of BES Cyber System limits the scope of the definition and the applicability of CIP-010-1 (and CIP-011-1) to real-time operations systems with an operational time horizon of 15 minutes.  Do you agree with this scope of applicability? If not, please explain why and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Agree with scope
 FORMCHECKBOX 
 Disagree with scope 

Comments:      
3. Requirement R1 of draft CIP-010-1 states, “Each Responsible Entity shall identify and document each of the BES Cyber Systems that it owns to execute or enable one or more functions defined in CIP-010 – 1 Attachment I – Functions Essential to the Reliable Operation of the BES to identify BES Cyber Systems for the application of security requirements.” Do you agree with the proposed Requirement R1?  If not, please explain why and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
4. Requirement R2 of draft CIP-010-1 states, “Each Responsible Entity shall categorize and document such categorization for each BES Cyber System identified in Requirement R1 according to the criteria contained in CIP-010-1 Attachment II – Impact Categorization of BES Cyber Systems to categorize the BES Cyber Systems identified in Requirement R1 for the application of Cyber Security requirements commensurate with the potential impact on the BES.”  Do you agree with the proposed Requirement R2?  If not, please explain why and provide specific suggestions for improvement.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
5. Requirement R3 of draft CIP-010-1 states, “To ensure the application of adequate requirements on its BES Cyber Systems, each Responsible Entity shall: 

3.1
review the identification and categorization of its BES Cyber Systems within 36 months of the last identification and categorization

3.2 review the identification and categorization of its BES Cyber Systems as a result of any planned change to the portion of the BES that it owns

3.3
update, when applicable, the documentation specified in Requirements R1 and R2 within 45 calendar days of the completion of such change to the BES.”
Do you agree with the proposed Requirement R3?  If not, please explain why and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
6. CIP-010-1 Attachment I contains a listing and brief description of Functions Essential to Reliable Operation of the Bulk Electric System. Do you have any suggestions that would improve the proposed criteria?  If so, please explain and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments:      
7. CIP-010-1 Attachment II contains criteria for categorization of BES Cyber Systems for High, Medium and Low impact categories. The criteria were originally developed in collaboration with representatives of the Operating and Planning Committees, some of whom continued to provide input during the drafting of Attachment II.  Do you have any suggestions that would improve the proposed criteria?  If so, please explain and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments:      
8. Do you have any other comments to improve this version of draft standard CIP-010-1?  If so, please explain and provide specific suggestions for improvement.
Comments:      
Questions — CIP-011-1 — Cyber Security — BES BES Cyber System Protection:

CIP-011-1 is a combination of CIP-003-3 through CIP-009-3 plus additional requirements based on FERC Order 706.  The drafting team is proposing to retire the existing CIP-003-3 through CIP-009-3 standards once CIP-011-1 is adopted.  This is the first time that CIP-011-1 has been posted for informal industry comment.
9. Do you prefer the currently proposed format for CIP-011-1, which contains a complete single set of requirements? Do you prefer the alternate format, where the requirements are grouped in separate standards?  Or do you have no preference?
 FORMCHECKBOX 
 Keep CIP-011-1 as one document
 FORMCHECKBOX 
 Break CIP-011-1 up into multiple standards

 FORMCHECKBOX 
 No preference

Comments:      
10. The Purpose of draft CIP-011-1 states, “To ensure Functional Entities develop cyber security policies and apply necessary cyber security protection to the BES Cyber Systems for which they are responsible and that execute or enable functions essential to reliable operation of the interconnected BES.”  Do you agree with this proposal?  If not, please explain why and provide specific suggestions for improvement. 
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Security Governance and Policy (R1)

11. Requirement R1 of draft CIP-011-1 states, “Each Responsible Entity shall develop, implement, and annually review formal, documented cyber security policies that address the following for its BES Cyber Systems:” and then provides a list of topics that must be addressed.  Do you agree with this proposal and list?  If not, please explain why and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Personnel Training, Awareness, and Risk Assessment (R2 – R4)

12. Requirements R2 to R4 of draft CIP-011-1 concern personnel training, awareness, and risk assessment, which were previously contained in CIP-004.  Do you agree with this proposal?  If not, please explain why and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
13. Do you agree with the proposed definitions for external connectivity, routable protocol, and non-routable protocol?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
14. Tables R3 and R4 provide direction concerning what impact level of BES Cyber Systems to which Requirements R3 and R4 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Physical Security (R5 – R6)
15. Requirements R5 and R6 of draft CIP-011-1 concern procedures for physical security, which were previously contained in CIP-006.  Do you agree with this proposal?  If not, please explain why and provide specific suggestions for improvement.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
16. Tables R5 and R6 provide direction concerning what impact level of BES Cyber Systems to which Requirements R5 and R6 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Electronic Access Control (R7 – R14)

17. Requirement R7 of draft CIP-011-1 states “Each Responsible Entity shall document BES Cyber System accounts by incorporating the criteria specified in CIP-011-1 Table R7 – Account Management Specifications to prevent malicious operation of BES Elements by maintaining control of access to its BES Cyber Systems.”  Do you agree with the list of electronic access control requirements that are included in Requirements table R7?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?   Please Explain and provide any suggestions for modification.  

 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
18. Table R7 provides direction concerning what impact level of BES Cyber Systems to which Requirement R7 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?

 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
19. At the present time, the Access Control requirements for Physical Access have not been combined with the Access Control requirements related to Electronic Access.  Do you agree with this method?  Or would you prefer to have the Physical Access control requirements combined with the Electronic Access control requirements?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree with proposed method

 FORMCHECKBOX 
 Combine Access Control requirements

Comments:      
20. Requirement R8 of draft CIP-011-1 states “Each Responsible Entity shall apply the criteria specified in CIP-011-1 Table R8 – Account Management Implementation to prevent malicious operation of BES Elements by maintaining control of access to its BES Cyber Systems.” Do you agree with the list of criteria that are included in Requirements Table R8?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?   Please explain and provide any suggestions for modification.  Do you agree with the impact levels for each criteria as represented in the table?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
21. Table R8 provides direction concerning what impact level of BES Cyber Systems to which Requirement R8 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
22. FERC has mandated immediate revocation of access privileges when an employee, contractor or vendor no longer performs a function that requires physical or electronic access to a critical cyber asset.  Requirement R9 of draft CIP-011-1 states “Each Responsible Entity shall revoke system access to its BES Cyber Systems as specified in CIP-011-1 Table R9 – Access Revocation to prevent malicious operation of BES Elements by maintaining control of access to its BES Cyber Systems.”  Do you agree with the list of criteria that are included in Requirements Table R9?  Please explain and provide any suggestions for modification, including time proposals.  Are there any additional criteria that you believe should be included in the table?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
23. Table R9 provides direction concerning what impact level of BES Cyber Systems to which Requirement R9 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
24. Requirement R10 of draft CIP-011-1 states “Each Responsible Entity shall implement the account management access control actions specified in CIP-011-1 Table R10 – Account Access Control Specifications to prevent malicious operation of BES Elements by maintaining control of access to its BES Cyber Systems.”  Do you agree with the list of criteria that are included in Requirements Table R10?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
25. Table R10 provides direction concerning what impact level of BES Cyber Systems to which Requirement R10 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
26. Requirement R11 of draft CIP-011-1 states “Each Responsible Entity that allows remote or wireless electronic access to any of its BES Cyber Systems shall apply the criteria specified in CIP-011-1 Table R11– Wireless and Remote Electronic Access Documentation to ensure that no unauthorized access is allowed to its BES Cyber Systems.  Do you agree with the list of criteria that are included in Requirements Table R11?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
27. Do you agree with the definition of remote access as proposed for this standard?  Please explain and provide any suggestions for modification.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
28. Table R11 provides direction concerning what impact level of BES Cyber Systems to which Requirement R11 applies.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
29. Requirement R12 of draft CIP-011-1 states “Each Responsible Entity that allows wireless and remote electronic access to any of its BES Cyber Systems shall manage that electronic access in accordance with the criteria specified in CIP-011-1 Table R12 – Wireless and Remote Electronic Access Management to ensure that no unauthorized access is allowed to its BES Cyber System.”  Do you agree with the list of criteria that is included in Requirements Table R12?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?   Please explain and provide any suggestions for modification.  Do you agree with the impact levels for each item as represented in the table?  Please explain and provide any suggestions for modification.

 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
30. Table R12 provides direction concerning what impact level of BES Cyber Systems to which Requirement R12 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
31. Requirement R13 of draft CIP-011-1 states “Each Responsible Entity shall revoke remote access by disabling one or more of the multiple factors required for such remote access to BES Cyber Systems by implementing the criteria requirements specified in CIP-011-1 Table R13 – Remote Access Revocation to prevent malicious operation of BES Elements by maintaining control of access to its BES Cyber Systems.”  Do you agree with the list of criteria that is included in Requirements Table R13?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?   Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
32. Table R13 provides direction concerning what impact level of BES Cyber Systems to which Requirement R13 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
33. Requirement R14 of draft CIP-011-1 states “Each Responsible Entity shall document and implement its organizational processes, technical mechanisms, and procedures for control of wireless and remote access to electronic access points to its BES Cyber Systems including wireless and remote access if it is used, that incorporate the criteria specified in CIP-011-1 Table R14 – Wireless and Remote Electronic Access Controls to ensure that no unauthorized access is allowed to its BES Cyber Systems.”  Do you agree with the list of criteria that is included in Requirements Table R14?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?  Please explain and provide any suggestions for modification. 

 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
34. Table R14 provides direction concerning what impact level of BES Cyber Systems to which Requirement R14 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
System Security (R15 – R19)
35. Requirements R15 to R19 of draft CIP-011-1 concern procedures for system security protection. Do you agree with the list of criteria that are included in each Requirements Table for Requirements R15 to R19?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the tables?  Please explain and provide any suggestions for modification.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
36. Tables R15 to R19 provide direction concerning what impact level of BES Cyber Systems to which Requirements R15 to R16 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Boundary Protection (R20 – R22)
37. Requirements R20 to R22 of draft CIP-011-1 concern procedures for boundary protection. Do you agree with the list of criteria that are included in each Requirements Table for Requirements R20 to R22?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the tables?   Please explain and provide any suggestions for modification.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
38. Do you agree with the proposed definition of electronic access point?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
39. Tables R20 to R22 provide direction concerning what impact level of BES Cyber Systems to which Requirements R20 to R22 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Configuration Change Management (R23)
40. The configuration change management requirement is centered on the identification of a component inventory and baseline configuration.  Do you agree with the list of criteria that are included in the baseline configuration?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the baseline and managed through the configuration change management process?  Do you agree with the list of criteria that are included in Requirements Table R23?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in Table R23?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
41. Table R23 provide direction concerning what impact level of BES Cyber Systems to which Requirement R23 applies.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Information Protection and Media Sanitization (R24 – R25)
42. The definition of sensitive information was derived from the previous version of the CIP standards to minimize disruption to entity information protection programs that are already in place.  Do you agree with the proposed definition?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
43. Do you agree with the proposed definition of Media?  Please explain and provide any suggestions for modification.
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
44. Requirements R24 and R25 of draft CIP-011-1 concern procedures for information protection and media sanitization. Do you agree with the list of criteria that are included in each Requirements Table for R24 and R25?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the tables?  Please explain and provide any suggestions for modification.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
45. Tables R24 and R25 provide direction concerning what impact level of BES Cyber Systems to which Requirements R24 and R25 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
BES Cyber System Maintenance (R26)

46. The BES Cyber System Maintenance requirement is intended to cover the instances where it is necessary to directly connect a device to the BES Cyber System temporarily to perform a support function, provide appropriate controls on the maintenance device to protect the BES Cyber System.  Do you agree with the definition of maintenance as provided?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
47. Requirement R26 of draft CIP-011-1 concerns procedures for BES Cyber System maintenance. Do you agree with the list of criteria that are included in Requirements Table R26?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the table?   Please explain and provide any suggestions for modification.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
48. Table R26 provides direction concerning what impact level of BES Cyber Systems to which Requirement R26 applies.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
Cyber Security Incident Response (R27 – R29)
49. Requirements R27 to R29 of draft CIP-011-1 concern procedures for Cyber Security Incident response. Do you agree with the list of criteria that are included in each Requirements Table for Requirements R27 to R29?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the tables?  Please explain and provide any suggestions for modification.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
50. Tables R27 to R29 provide direction concerning what impact level of BES Cyber Systems to which Requirements R27 to R29 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
BES Cyber System Recovery (R30 – R32)
51. Requirements R30 to R32 of draft CIP-011-1 concern procedures for BES Cyber System Recovery. Do you agree with the list of criteria that are included in each Requirements Table for Requirements R30 to R32?  Please explain and provide any suggestions for modification.  Are there any additional criteria that you believe should be included in the tables?   Please explain and provide any suggestions for modification.  
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
52. Tables R30 to R32 provide direction concerning what impact level of BES Cyber Systems to which Requirements R30 to R32 apply.  Do you agree with the impact levels as indicated?  If not, what specific changes would you suggest?
 FORMCHECKBOX 
 Agree 

 FORMCHECKBOX 
 Disagree 

Comments:      
General Questions
53. Which requirements in draft CIP-011-1 should allow for TFE submissions?  Note that not all requirements will be considered as being applicable for TFE submissions.  The drafting team has attempted to minimize the need for TFEs by modifying the language to allow for flexibility in meeting the requirements.  Please provide suggestions on how the language of the standard may be modified to eliminate the need for TFEs.  If TFEs are still needed, please provide specific examples to justify the inclusion of a requirement as being TFE eligible.
Comments:      
54. Do you have any other comments to improve this version of draft standard CIP-011-1?  

Comments:      
116-390 Village Blvd.

Princeton, NJ 08540

609.452.8060 | www.nerc.com

15

