Comments Submitted by M. Brown, Tennessee Valley Authority


NAESB - Wholesale Electric Market

Demand Response Measurement & Verification Standards

Comments on the Proposed Draft Business Practice Standards

Provided by:

Matt Brown, Tennessee Valley Authority

mabrown1@tva.gov 

(615) 232-6846


1.  The draft standards are comprehensive and contain a good amount of detail on the five performance evaluation methodologies.  I am especially interested in the Baseline Type-I and Baseline Type-II performance methodologies.  With regard to comments on language and wording, the word “electricity” is often used throughout the document.  Often it is referred to as “electricity consumption”.  My suggestion, as a personal preference that I have heard in the industry, is “electric power consumption”.  Below I have listed a specific suggestion/comment on the definition of Demand Reduction Value.

2.  Page 15 of 37

In the “Demand Reduction Value” definition, it is referred to as quantity of reduced electrical consumption by a Demand Resource, expressed as MW, or MWh.

Suggestion:

Demand Reduction value is electrical power, MW, as opposed to energy MWh.  MWh represents energy or consumptions savings.  I would suggest:

Demand Reduction Value: Quantity of reduced electrical power consumption by a Demand Resource, expressed as MW

