

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
Retail Electric Quadrant
                                       Requesters:

DSM-EE Subcommittee
                                       Request No.: 

R10002
                                       Request Title:
Enrollment in Denmand Response Programs

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	x
	Accept as requested
	x
	Change to Existing Practice

	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.  TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	x
	Initiation
	x
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	x
	Principle
	x
	Principle

	x
	Definition
	x
	Definition

	x
	Business Practice Standard
	x
	Business Practice Standard

	x
	Document
	x
	Document

	x
	Data Element
	x
	Data Element

	x
	Code Value
	x
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	x
	Business Process Documentation
	x
	Business Process Documentation


3.  RECOMMENDATION

SUMMARY:


The Retail Electric Quadrant (REQ) DSM-EE Subcommittee submits this Recommendation for Request R10002 to develop Model Business Practices for common interfaces and data structures necessary for Enrolling Demand Response sites into Demand Response programs.  EXPAND
Recommended Standards:

ENROLLMENT IN DEMAND RESPONSE PROGRAMS
EXECUTIVE SUMMARY

This section presents a summary of the Model Business Practices for Enrolling Demand Response sites into Demand Response  Specifically, these Model Business Practices DESCRIBE THE FOCUS OF THE MBPs  
Demand response programs emcompasses a variety of interactions between Distribution Companies, Customers and Energy Services Providers.  In a business environment where best practices are voluntary, Model Business Practices such as those in this document may be applied within the context of regulatory or other market requirements and agreements.

Version Notes


(Insert publication date)

Introduction

The North American Energy Standards Board (NAESB) is a voluntary, non-profit organization comprised of members from all aspects of the natural gas and electric industries.  Within NAESB, the Retail Electric Quadrant (REQ) and the Retail Gas Quadrant (RGQ) focus on issues impacting the retail sale of energy to end-use Customers.  REQ / RGQ Model Business Practices are intended to provide guidance to Distribution Companies, Suppliers, and other Market Participants involved in providing competitive energy service to end-use Customers.  The focus of these Model Business Practices is ADD.
These Model Business Practices are voluntary and do not address policy issues that are the subject of state legislation or regulatory decisions.  These Model Business Practrices have been adopted with the realization that as the indutry evolves, additional and amended Model Business Practices may be necessary.  Any industry participant seeking additional or amended Model Business Practices (including principles, definitions, data elements, process descriptions, and technical impe,entation instructions) should submit a request to the NAESB office, detailing the change, so that the appropriate process may take place to amend the Model Business Practice.

Business Processes and Practices
REQ.19 

Overview 
{This section will contain background information, introduction to the architectural principles behind the use of M&V processes, statements on the scope of what is included in the MBPs and what is not.}
REQ.19.1

Principles
REQ.19.1.1
The processes for Enrolling Demand Response sites into Demand Response programs should be efficient to minimize the time and effort needed to accomplish these operational details.
REQ.19.1.2
The processes for Enrolling Demand Response sites into Demand Response programs should be consistent with the requirements set forth by the Applicable Regulatory Authority.

REQ.19.1.3
The processes for Enrolling Demand Response sites into Demand Response programs should minimize the occurrence of unauthorized activity in the marketplace.

REQ.19.2
Definitions 
REQ.19.2.A

Business Definitions

This section contains those terms that are related to business rules and used in common with Model Business Practices for other topics
RXQ.0.2.x
Applicable Regulatory Authority:  
RXQ.0.2.16
Customer:  Any Entity that takes gas and/or electric service for its own consumption.

RXQ.0.2.17
Distribution Company:  A regulated Entity which provides distribution services and may provide energy and/or transmission/transportation services in a given area.

RXQ.0.2.xx
Market Participant:
RXQ.0.2.39
Supplier:  Persons engaged in the competitive sale of energy to end-users.

RXQ.0.2.42
Uniform Electronic Transaction:  Standard data arrangements for trading information, making business requests and exchanging other information, encompassing a number of electronic media and utilizing specific transport protocols.

REQ.19.2.B

Techincal Definitions

This section conatins those terms specificsally related to M&V for Energy Efficiency and are used only within this topic.

REQ.19.3

Model Business Practices
REQ.19.4

Models
REQ.19.5

Techical Implementation
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

b.  Description of Recommendation:

c.  Business Purpose:

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
3
Draft Template, Demand Response – July 2010 
Page 1

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







