Evaluating Baselines for Demand Response Programs
 2008 AEIC Load Research Workshop

San Antonio, Texas
February 25-27, 2008

By
Clifford Grimm

DTE Energy

Introduction

The Energy Policy Act (EPACT) of 2005 sparked increased interest in demand response, as though it were a new concept.  However, demand response has been alive and thriving in some parts of the US since the Demand Side Management (DSM days) and continues to be a force in lowering demand for electricity during high price and/or demand periods.  In simple terms, demand response programs ask customers to reduce demand in response to a price signal or financial incentive.  Typically, the request to reduce demand is made for a specific time period on a specific day which is referred to as a demand response event or simply, an event.

Each event has three key measurement components: 

· Baseline – The amount of energy the customer would have consumed absent a request to reduce
· Actual Use – The amount of energy the customer actually consumed during the event period
· Load Reduction – The mathematical difference between the baseline and the actual use
Baseline Demand – Actual Demand = Load Reduction

[image: image1.emf]Demand Response Event and Baseline

-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

Baseline

Actual Use

Load Reduction


This paper will focus on defining the baseline methodologies currently in use to estimate the load that would have been present without a demand response event and the differing load reduction measurements that exist between these methods when each method is applied to a common set of data.  
The common set of data is the mean hourly interval load data for Detroit Edison’s residential sample for the months May through September, 2006.  A single day has been chosen as the simulated demand response event day and is consistently used in the analysis.  The day chosen is a Wednesday in August, 2006 where the maximum temperature reached 95oF.  The event period consists of the hours 12:00 noon through 8:00pm.  Three load reduction levels, 10%, 20% and 30%, will be applied to the event day as representative amounts of load a customer might reduce from their normal usage.  
For illustrative purposes, five baseline methods will be examined:  those currently used by the Independent System Operators  (ISOs) in New England, New York, and California; PJM Interconnection (PJM); and a method that utilizes the concept of a +90° Average Day.  
Furthermore, this paper will only address measurement of passive demand response events.  Passive demand response events are those requiring an action
 by the customer to reduce load.  Direct load control demand response program load reductions were not considered as part of this analysis as they typically produce a very predictable and predefined load reduction measure.

ISO New England
ISO New England has established rules and operating procedures for customers who decide to participate in a demand resource program.  One of those operating procedures is the establishment of the calculation of a baseline, which is the basis for measuring the amount of demand a customer reduced from actual usage in a demand resource program.   
The baseline calculation described in the following tables and graphs will show the detail necessary to create the baselines used in the settlement of the demand response program.  Normally, the actual data collected for - and used in - the calculations is the responsibility of the demand response provider.  These providers can be any entity that has a settlement account, a way of accounting for a rendered service, with ISO New England.  The interval demand data is collected from customers and funneled through the ISO’s Internet Based Communication System (IBCS) Operating System (OS) which is a software system that performs the baseline calculations and the settlement procedures for the demand response provider.  

The baseline creation methodology consists of two calculations based on the type of customer.  If a customer is a new participant to a demand resource program, having not participated in any demand resource program before, the calculation of the baseline is the hourly average of the previous five business days, Monday through Friday, excluding holidays and other event days and is known as “Customer Baseline 6”.  The “6” refers to the day following the previous five business days or the sixth day.    The equation for this baseline calculation is:   

Customer Baseline 6 = (Sum Meter kW value for the hour)/5

Table 1 shows the 24 hourly loads from the 5 business days with the results of the calculation in the column labeled Customer Baseline 6.  The Sum Meter kW value used in the above calculation is the interval load data recorded at the customer premise using a load recording device and is the responsibility of the demand response provider to provide that data to the IBCS OS.   The Sum Meter kW values used in the calculation for the 5 business days are labeled Day 1 kW through Day 5 kW.
Table 1: How The Calculation Creates The Customer Baseline 6.
[image: image2.emf]Hour Day 1 kW Day 2 kW Day 3 kW Day 4 kW Day 5 kW

Customer 

Baseline 6

1 1.12          1.03          1.14          1.20          1.81         

1.26               

2 1.01          0.93          0.98          1.08          1.64         

1.13               

3 0.95          0.88          0.92          0.97          1.49         

1.04               

4 0.87          0.83          0.88          0.91          1.41         

0.98               

5 0.86          0.77          0.83          0.93          1.34         

0.95               

6 0.88          0.85          0.83          0.96          1.30         

0.97               

7 0.90          0.92          0.89          1.02          1.29         

1.00               

8 1.03          1.01          1.04          1.05          1.45         

1.11               

9 1.15          0.99          0.99          1.10          1.53         

1.15               

10 1.26          1.02          1.09          1.31          1.59         

1.25               

11 1.24          1.01          1.10          1.52          1.75         

1.32               

12 1.33          1.11          1.14          1.58          1.86         

1.40               

13 1.40          1.27          1.23          1.83          2.06         

1.56               

14 1.50          1.34          1.39          1.98          2.11         

1.66               

15 1.50          1.40          1.47          2.16          2.21         

1.75               

16 1.50          1.59          1.62          2.22          2.29         

1.84               

17 1.63          1.70          1.76          2.25          2.30         

1.93               

18 1.66          1.68          1.75          2.37          2.41         

1.97               

19 1.68          1.87          1.89          2.43          2.41         

2.06               

20 1.56          1.83          1.75          2.24          2.29         

1.93               

21 1.42          1.71          1.71          2.24          2.26         

1.87               

22 1.55          1.76          1.71          2.34          2.37         

1.94               

23 1.45          1.67          1.65          2.24          2.27         

1.86               

24 1.23          1.35          1.45          1.88          1.99         

1.58               

Days Averaged to Create Baseline


Once the “Customer Baseline 6” has been calculated for a customer, that customer is considered a current customer and the following rules apply to calculate the next baseline.  When the customer becomes a current participant in the demand resource program, defined as a customer that has had a “Customer Baseline 6” previously calculated for it,the baseline is calculated using the following formula:

New Baseline = Previous Day Baseline*.9 + Current Day Metered kW*.1

A new baseline is calculated every day except weekends, holidays and event days.  The new baseline has a weighting factor of 90
% for the previous day and a weighting factor of 10% for the current day.  By putting more weight on the previous day, the calculation method reduces the opportunity for customers to “game” the program.  This topic will not be addressed in this paper but will be addressed in future analysis of the uses of baselines in the measurement and validation of demand response programs.

In the example shown in table 2, the previous baseline is the Customer Baseline 6 from Table 1.  The current day metered data values are the customer’s actual load, which is the responsibility of the demand response provider to send to the IBCS OS.  The weighting of the previous baseline more than the current day metered 
data shows the importance of the baseline over the current day metered data.  The ISO assumes the baseline better mimics the actual customer load versus relying on the actual metered data which could be “gamed”, affected by weather conditions, or constitute a daily usage pattern not normal for the customer.     

Table 2: Example of How New Baselines Are Created.

[image: image3.emf]New

Hour Average kW Average kW*.9 Metered Data kW Metered Data kW*.1 Baseline 

1 1.26 1.14 1.75 0.18

1.31

2 1.13 1.01 1.64 0.16

1.18

3 1.04 0.94 1.48 0.15

1.08

4 0.98 0.88 1.34 0.13

1.02

5 0.95 0.85 1.33 0.13

0.98

6 0.97 0.87 1.34 0.13

1.00

7 1.00 0.90 1.30 0.13

1.03

8 1.11 1.00 1.33 0.13

1.14

9 1.15 1.04 1.44 0.14

1.18

10 1.25 1.13 1.63 0.16

1.29

11 1.32 1.19 1.69 0.17

1.36

12 1.40 1.26 1.87 0.19

1.45

13 1.56 1.40 1.93 0.19

1.59

14 1.66 1.50 2.09 0.21

1.71

15 1.75 1.57 2.24 0.22

1.80

16 1.84 1.66 2.28 0.23

1.89

17 1.93 1.74 2.30 0.23

1.96

18 1.97 1.77 2.33 0.23

2.01

19 2.06 1.85 2.45 0.25

2.10

20 1.93 1.74 2.42 0.24

1.98

21 1.87 1.68 2.36 0.24

1.92

22 1.94 1.75 2.48 0.25

2.00

23 1.86 1.67 2.38 0.24

1.91

24 1.58 1.42 1.99 0.20

1.62

Previous Baseline Current Day


This new baseline would then be used in the settlement of a customer’s demand reduction during an event day.  Table 3 displays the results of applying the new baseline from Table 2 to a simulated event day with the three load reduction levels.

Table 3: Applying the ISO New England New Baseline Calculation

[image: image4.emf]Calculated

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.31          0.39 0.39 0.39

2 1.60                     1.60                    1.60                    1.60                    1.18          0.42 0.42 0.42

3 1.50                     1.50                    1.50                    1.50                    1.08          0.42 0.42 0.42

4 1.30                     1.30                    1.30                    1.30                    1.02          0.28 0.28 0.28

5 1.30                     1.30                    1.30                    1.30                    0.98          0.32 0.32 0.32

6 1.30                     1.30                    1.30                    1.30                    1.00          0.30 0.30 0.30

7 1.30                     1.30                    1.30                    1.30                    1.03          0.27 0.27 0.27

8 1.30                     1.30                    1.30                    1.30                    1.14          0.16 0.16 0.16

9 1.40                     1.40                    1.40                    1.40                    1.18          0.22 0.22 0.22

10 1.60                     1.60                    1.60                    1.60                    1.29          0.31 0.31 0.31

11 1.70                     1.70                    1.70                    1.70                    1.36          0.34 0.34 0.34

12 1.90                     1.71                    1.52                    1.33                    1.45         

0.26 0.07 (0.12)

13 1.90                     1.71                    1.52                    1.33                    1.59         

0.12 (0.07) (0.26)

14 2.10                     1.89                    1.68                    1.47                    1.71         

0.18 (0.03) (0.24)

15 2.20                     1.98                    1.76                    1.54                    1.80         

0.18 (0.04) (0.26)

16 2.30                     2.07                    1.84                    1.61                    1.89         

0.18 (0.05) (0.28)

17 2.30                     2.07                    1.84                    1.61                    1.96         

0.11 (0.12) (0.35)

18 2.30                     2.07                    1.84                    1.61                    2.01         

0.06 (0.17) (0.40)

19 2.40                     2.16                    1.92                    1.68                    2.10         

0.06 (0.18) (0.42)

20 2.40                     2.16                    1.92                    1.68                    1.98         

0.18 (0.06) (0.30)

21 2.30                     2.30                    2.42                    2.47                    1.92          0.38 0.50 0.56

22 2.40                     2.40                    2.52                    2.58                    2.00          0.40 0.52 0.58

23 2.30                     2.30                    2.42                    2.47                    1.91          0.39 0.51 0.57

24 2.00                     2.00                    2.10                    2.15                    1.62          0.38 0.48 0.53

Customer Load Demand Response


Applying the new baseline calculation to the three demand reduction levels produces the amount of demand reduction measured against the baseline for the event period of 12:00 noon to 8:00pm, highlighted in light grey.  The dark grey shows the difference between the three different demand reduction levels and the calculated baseline.  The negative numbers represent the measurement of a value that is less than the corresponding new baseline value.  This means the customer’s load was less than the calculated baseline.  
The graph below shows the relationship between the calculated baseline in green and the three demand reduction levels in black, blue and red.
 [image: image5.emf]Demand Reduction Event Day

 New England  Baseline Calculation



-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline

Adjustment


What is interesting is that if the customer reduced their load by 10%, the settlement of the demand resource program for this customer would not measure any demand reduction.  Remember, the purpose of calculating a baseline is to replicate the amount of energy the customer would have consumed, absent a request to reduce.  ISO New England recognized this discrepancy and has implemented operating procedures to adjust the new baseline to reflect assumed actual customer usage.  This adjustment is made to the new baseline only if it is an event day.  The adjustment calculation from the operating procedures is the average difference between the new baseline and the actual customer load of the two hours prior to the start of the event period. That calculated value is then applied to those two hours and all the hours of the event period but only if the new baseline is less than the customer load at the time of the start of the event.  
This adjustment calculation and the process of applying the adjustment value to the new baseline to create an adjusted baseline are shown in Table 4.

Table 4: Calculating the Baseline Adjustment

[image: image6.emf]Hour Customer Load New Baseline Adjustment Adjusted Baseline

1 1.70 1.31

1.31

2 1.60 1.18

1.18

3 1.50 1.08

1.08

4 1.30 1.02

1.02

5 1.30 0.98

0.98

6 1.30 1.00

1.00

7 1.30 1.03

1.03

8 1.30 1.14

1.14

9 1.40 1.18

1.18

10 1.60 1.29 0.325

1.62

11 1.70 1.36 0.325

1.69

12 1.33 1.45 0.325

1.77

13 1.33 1.59 0.325

1.92

14 1.47 1.71 0.325

2.03 Adjustment

15 1.54 1.80 0.325

2.12 Period

16 1.61 1.89 0.325

2.21

17 1.61 1.96 0.325

2.29

18 1.61 2.01 0.325

2.33

19 1.68 2.10 0.325

2.42

20 1.68 1.98 0.325

2.31

21 2.47 1.92

1.92

22 2.58 2.00

2.00

23 2.47 1.91

1.91

24 2.15 1.62

1.62

Hour 10 - 1.60 - 1.29 = .31

Hour 11 - 1.70 - 1.36 = .34

Adjustment - .31+.34 = .65/2 = .325



Table 5 shows the difference between the adjusted baseline and the three load reduction levels.  This difference is the amount of measured load reduction from those three levels.
Table 5: Applying the ISO New England Adjusted Baseline Calculation
[image: image7.emf]Adjusted

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.31          0.39 0.39 0.39

2 1.60                     1.60                    1.60                    1.60                    1.18          0.42 0.42 0.42

3 1.50                     1.50                    1.50                    1.50                    1.08          0.42 0.42 0.42

4 1.30                     1.30                    1.30                    1.30                    1.02          0.28 0.28 0.28

5 1.30                     1.30                    1.30                    1.30                    0.98          0.32 0.32 0.32

6 1.30                     1.30                    1.30                    1.30                    1.00          0.30 0.30 0.30

7 1.30                     1.30                    1.30                    1.30                    1.03          0.27 0.27 0.27

8 1.30                     1.30                    1.30                    1.30                    1.14          0.16 0.16 0.16

9 1.40                     1.40                    1.40                    1.40                    1.18          0.22 0.22 0.22

10 1.60                     1.60                    1.60                    1.60                    1.62          (0.02) (0.02) (0.02)

11 1.70                     1.70                    1.70                    1.70                    1.69          0.01 0.01 0.01

12 1.90                     1.71                    1.52                    1.33                    1.77         

(0.06) (0.25) (0.44)

13 1.90                     1.71                    1.52                    1.33                    1.92         

(0.21) (0.40) (0.59)

14 2.10                     1.89                    1.68                    1.47                    2.03         

(0.14) (0.35) (0.56)

15 2.20                     1.98                    1.76                    1.54                    2.12         

(0.14) (0.36) (0.58)

16 2.30                     2.07                    1.84                    1.61                    2.21         

(0.14) (0.37) (0.60)

17 2.30                     2.07                    1.84                    1.61                    2.29         

(0.22) (0.45) (0.68)

18 2.30                     2.07                    1.84                    1.61                    2.33         

(0.26) (0.49) (0.72)

19 2.40                     2.16                    1.92                    1.68                    2.42         

(0.26) (0.50) (0.74)

20 2.40                     2.16                    1.92                    1.68                    2.31         

(0.15) (0.39) (0.63)

21 2.30                     2.30                    2.42                    2.47                    1.92          0.38 0.50 0.56

22 2.40                     2.40                    2.52                    2.58                    2.00          0.40 0.52 0.58

23 2.30                     2.30                    2.42                    2.47                    1.91          0.39 0.51 0.57

24 2.00                     2.00                    2.10                    2.15                    1.62          0.38 0.48 0.53

Customer Load Demand Response


The ISO New England baseline operating procedures make the assumption that the actual customer usage two hours prior to an event period reflects what the actual customer usage for those two hours and the entire event period should be.  That assumption is a way of emulating what the customer would have used, absent the demand reduction. 
[image: image8.emf]Demand Reduction Event Day

New England Adjusted Baseline Calculation 

-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline



The adjustment provision takes into account changes in actual customer usage that occur each day.  Without the adjustment to the baseline, those daily change effects to actual customer usage would not measure the assumed proper amount of demand reduction.

New York ISO

New York ISO has created a baseline calculation methodology to use in its Day-Ahead Demand Response Program (DADRP) for approved demand response providers.  Their step by step approach uses the data chosen in one step for the next step.  The goal for the baseline calculation is to select the 5 highest “average daily kWh usage” days from a pool of ten days that meet the calculation criteria defined in Steps 1-4.    

Step 1: The process starts when a Demand Side Resource (DSR) contracts to be in the DADRP.  The recording and transfer of the interval demand data used in the calculation of the baseline is the responsibility of the DSR.
Step 2: For the day two days prior to the day of a demand response event, the “average daily event period kWh usage” value is calculated for that day,which is the sum of the 24 hourly demands.  If the day chosen for this step is a weekend, holiday, event day or curtailment day the next day going backward that does meet the above criteria is selected.  This value is stored in the “baseline calculation window”.  The “baseline calculation window” can be looked at as a storage file for the ten selected days necessary to calculate the baseline shown in Table 6.
Step 3:  The next previous day which is the day before the Step 2 day is selected.  If the day chosen for this step is a weekend, holiday, event day or curtailment day then the next day going backward that does meet the above criteria is selected.  An “average daily event period kWh usage” value is calculated for that day.   
Step 4: The “average daily event period kWh usage” from Step 2 is compared to Step 3 “average daily event period kWh usage”.  If the Step 3 “average daily event period kWh usage” is greater than 25% of the “average daily event period kWh usage” from Step 2, the Step 3 “average daily event period kWh usage” is included in the “baseline calculation window”.  Otherwise, Step 3 is discared. 
Step 5: The process repeats itself using step 3 and Step 4 until ten days have been placed into the “baseline calculation window”.
Table 6: Step 2 through Step 4; Populate the Baseline Calculation Window
[image: image9.emf]Date DayOfWeek kWh

Acceptable 

Day

GT 25% of 

Previous Day

Baseline 

Window

07/31/06 Monday 39.792 Yes Yes 1

07/30/06 Sunday 36.019 No No

07/29/06 Saturday 37.650 No No

07/28/06 Friday 31.226 Yes Yes 2

07/27/06 Thursday 30.511 Yes Yes 3

07/26/06 Wednesday 30.647 Yes Yes 4

07/25/06 Tuesday 29.899 Yes Yes 5

07/24/06 Monday 26.927 Yes Yes 6

07/23/06 Sunday 23.244 No No

07/22/06 Saturday 23.880 No No

07/21/06 Friday 28.995 Yes Yes 7

07/20/06 Thursday 29.373 Yes Yes 8

07/19/06 Wednesday 28.798 Yes Yes 9

07/18/06 Tuesday 32.707 Yes Yes 10


Step 6
: From the ten days in the “baseline calculation window”, the five highest “average daily event period kWh usage” days are selected.

Table 7: Five Highest Average Daily Usage Days

[image: image10.emf]Date DayOfWeek

Baseline 

Window

5 Highest 

Days

07/31/06 Tuesday 39.792 1

07/28/06 Friday 31.226 3

07/27/06 Thursday 30.511 5

07/26/06 Wednesday 30.647 4

07/25/06 Tuesday 29.899

07/24/06 Tuesday 26.927

07/21/06 Friday 28.995

07/20/06 Thursday 29.373

07/19/06 Wednesday 28.798

07/18/06 Tuesday 32.707 2


Step 7?: Of the five highest “average daily event period kWh usage” days, the 24 hourly demand values are averaged, by hour, to create the baseline.  

Table 8: Creating the Baseline (average hourly values for 5 highest days)
[image: image11.emf]Hour 07/31/06 07/18/06 07/28/06 07/26/06 07/27/08

Customer 

Baseline

1 1.20          1.34          1.14          1.12          1.03         

1.17           

2 1.08          1.18          0.98          1.01          0.93         

1.04           

3 0.97          1.07          0.92          0.95          0.88         

0.96           

4 0.91          1.00          0.88          0.87          0.83         

0.90           

5 0.93          0.97          0.83          0.86          0.77         

0.87           

6 0.96          0.97          0.83          0.88          0.85         

0.90           

7 1.02          1.02          0.89          0.90          0.92         

0.95           

8 1.05          1.06          1.04          1.03          1.01         

1.04           

9 1.10          0.99          0.99          1.15          0.99         

1.04           

10 1.31          1.12          1.09          1.26          1.02         

1.16           

11 1.52          1.22          1.10          1.24          1.01         

1.22           

12 1.58          1.23          1.14          1.33          1.11         

1.28           

13 1.83          1.39          1.23          1.40          1.27         

1.42           

14 1.98          1.63          1.39          1.50          1.34         

1.57           

15 2.16          1.62          1.47          1.50          1.40         

1.63           

16 2.22          1.74          1.62          1.50          1.59         

1.73           

17 2.25          1.80          1.76          1.63          1.70         

1.83           

18 2.37          1.80          1.75          1.66          1.68         

1.85           

19 2.43          1.87          1.89          1.68          1.87         

1.95           

20 2.24          1.82          1.75          1.56          1.83         

1.84           

21 2.24          1.60          1.71          1.42          1.71         

1.74           

22 2.34          1.59          1.71          1.55          1.76         

1.79           

23 2.24          1.46          1.65          1.45          1.67         

1.69           

24 1.88          1.22          1.45          1.23          1.35          1.43           

Days Averaged to Create Baseline


The calculated baseline is then applied to the three demand reduction levels to produce the amount of measured demand reduction in Table 9.

Table 9: Applying the New York ISO Baseline Calculation
[image: image12.emf]Calculated

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.17          0.53 0.53 0.53

2 1.60                     1.60                    1.60                    1.60                    1.04          0.56 0.56 0.56

3 1.50                     1.50                    1.50                    1.50                    0.96          0.54 0.54 0.54

4 1.30                     1.30                    1.30                    1.30                    0.90          0.40 0.40 0.40

5 1.30                     1.30                    1.30                    1.30                    0.87          0.43 0.43 0.43

6 1.30                     1.30                    1.30                    1.30                    0.90          0.40 0.40 0.40

7 1.30                     1.30                    1.30                    1.30                    0.95          0.35 0.35 0.35

8 1.30                     1.30                    1.30                    1.30                    1.04          0.26 0.26 0.26

9 1.40                     1.40                    1.40                    1.40                    1.04          0.36 0.36 0.36

10 1.60                     1.60                    1.60                    1.60                    1.16          0.44 0.44 0.44

11 1.70                     1.70                    1.70                    1.70                    1.22          0.48 0.48 0.48

12 1.90                     1.71                    1.52                    1.33                    1.28          0.43 0.24 0.05

13 1.90                     1.71                    1.52                    1.33                    1.42          0.29 0.10

(0.09)

14 2.10                     1.89                    1.68                    1.47                    1.57          0.32 0.11

(0.10)

15 2.20                     1.98                    1.76                    1.54                    1.63          0.35 0.13

(0.09)

16 2.30                     2.07                    1.84                    1.61                    1.73          0.34 0.11

(0.12)

17 2.30                     2.07                    1.84                    1.61                    1.83          0.24 0.01

(0.22)

18 2.30                     2.07                    1.84                    1.61                    1.85          0.22

(0.01) (0.24)

19 2.40                     2.16                    1.92                    1.68                    1.95          0.21

(0.03) (0.27)

20 2.40                     2.16                    1.92                    1.68                    1.84          0.32 0.08

(0.16)

21 2.30                     2.30                    2.42                    2.47                    1.74          0.56 0.68 0.74

22 2.40                     2.40                    2.52                    2.58                    1.79          0.61 0.73 0.79

23 2.30                     2.30                    2.42                    2.47                    1.69          0.61 0.72 0.78

24 2.00                     2.00                    2.10                    2.15                    1.43          0.57 0.67 0.72

Customer Load Demand Response


Without an adjustment for current day weather, the demand response reduction for the three reduction levels does not supply an accurate measurement of the intent of the DADRP.  The New York ISO DADRP methodology has a provision for adjusting the baseline for the effects of weather.  The adjustment for weather needed to remove the gap is labeled Adjustment in the following graph.  
[image: image13.emf]Demand Reduction Event Day

 New York  Baseline Calculation



-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline

Adjustment

 
An adjustment factor is calculated and applied to the baseline at the start of the event.  The adjustment factor is the average of the third and fourth hours of the customer’s actual usage four hours prior to the start of the event, divided by the average of the third and fourth hours of the baseline, four hours prior to the start of the event.  
In the example in Table 10, the customer load values used are for illustrative purposes only.  The hours used for the factor calculation do not occur during the event period and have no effect on the factor calculation.  This factor is then applied to all the hours of the event period for all three percentage responses to the demand reduction.
Table 10: Calculating Weather Adjustment Factor
[image: image14.emf]Hour

Customer 

Load

Customer 

Baseline Adjustment

Adjusted 

Baseline

1

1.70            1.17                1.17         

2

1.60            1.04                1.04         

3

1.50            0.96                0.96         

4

1.30            0.90                0.90         

5

1.30            0.87                0.87         

6

1.30            0.90                0.90         

7

1.30            0.95                0.95         

8

1.30            1.04                1.04         

9

1.40            1.04                1.04         

10

1.60            1.16                1.16         

11

1.70            1.22                1.22         

12

1.33            1.28                1.30              1.66         

13

1.33            1.42                1.30              1.85         

14

1.47            1.57                1.30              2.04         

15

1.54            1.63                1.30              2.12         

16

1.61            1.73                1.30              2.25          Adjustment

17

1.61            1.83                1.30              2.38          Period

18

1.61            1.85                1.30              2.40         

19

1.68            1.95                1.30              2.53         

20

1.68            1.84                1.30              2.39         

21

2.47            1.74                2.25         

22

2.58            1.79                1.79         

23

2.47            1.69                1.69         

24 2.15            1.43                1.43         

Customer Baseline Average of Hours 8&9 (1.04 + 1.04)/2 = 1.04

Customer Load Average of Hours 8&9 (1.30 + 1.40)/2 = 1.35

Adjustment  1.35/1.04 = 1.30


The methodology assumes the result of the adjustment calculation - the difference of the two averages - is the effect of weather between customer load and the baseline. 
Table 11: Applying New York ISO Baseline Calculation w/ Weather Adjustment

[image: image15.emf]Adjusted

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.17          0.53 0.53 0.53

2 1.60                     1.60                    1.60                    1.60                    1.04          0.56 0.56 0.56

3 1.50                     1.50                    1.50                    1.50                    0.96          0.54 0.54 0.54

4 1.30                     1.30                    1.30                    1.30                    0.90          0.40 0.40 0.40

5 1.30                     1.30                    1.30                    1.30                    0.87          0.43 0.43 0.43

6 1.30                     1.30                    1.30                    1.30                    0.90          0.40 0.40 0.40

7 1.30                     1.30                    1.30                    1.30                    0.95          0.35 0.35 0.35

8 1.30                     1.30                    1.30                    1.30                    1.04          0.26 0.26 0.26

9 1.40                     1.40                    1.40                    1.40                    1.04          0.36 0.36 0.36

10 1.60                     1.60                    1.60                    1.60                    1.16          0.44 0.44 0.44

11 1.70                     1.70                    1.70                    1.70                    1.22          0.48 0.48 0.48

12 1.90                     1.71                    1.52                    1.33                    1.66          0.05

(0.14) (0.33)

13 1.90                     1.71                    1.52                    1.33                    1.85         

(0.14) (0.33) (0.52)

14 2.10                     1.89                    1.68                    1.47                    2.04         

(0.15) (0.36) (0.57)

15 2.20                     1.98                    1.76                    1.54                    2.12         

(0.14) (0.36) (0.58)

16 2.30                     2.07                    1.84                    1.61                    2.25         

(0.18) (0.41) (0.64)

17 2.30                     2.07                    1.84                    1.61                    2.38         

(0.31) (0.54) (0.77)

18 2.30                     2.07                    1.84                    1.61                    2.40         

(0.33) (0.56) (0.79)

19 2.40                     2.16                    1.92                    1.68                    2.53         

(0.37) (0.61) (0.85)

20 2.40                     2.16                    1.92                    1.68                    2.39         

(0.23) (0.47) (0.71)

21 2.30                     2.30                    2.42                    2.47                    2.25          0.05 0.16 0.22

22 2.40                     2.40                    2.52                    2.58                    1.79          0.61 0.73 0.79

23 2.30                     2.30                    2.42                    2.47                    1.69          0.61 0.72 0.78

24 2.00                     2.00                    2.10                    2.15                    1.43          0.57 0.67 0.72

Customer Load Demand Response


With the weather adjustment applied to the baseline, the demand response has measured values for all but one hour if the reduction is 10% and for all hours if the reduction is 20% or 30%.

[image: image16.emf]Demand Reduction Event Day

New York Customer Baseline Calculation w/ Weather Adjustment 

-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline


California ISO

The California ISO uses a simpler approach to calculate a baseline when compared to the other ISOs.  The baseline is the average of the three highest energy usage days of the past ten days which consist of weekdays, Monday through Friday (Table 12).  They do not include holidays, other event days, days that the customer was required to curtail load or a day when rotating outages occurred.  A customer contracts with a Demand Response Provider (DRP) who is responsible for collecting and transmitting interval demand data used in the baseline calculation to the ISO.  Currently, only hydro pump or aggregated hydro pump customers are eligible to participate but as the system matures, additional types of customers will be able to participate.  Though the data used in the calculations is for an average residential customer, the purpose of the paper is to evaluate the process of calculating a baseline with a single set of data to show the characteristics of the different methodologies. 
Table 12 shows the ten business days and the selection of the three highest energy usage days.  The energy use calculated for the baseline methodology is only utilized to select the days on which to apply to the baseline calculation, based on the rules of the California ISO.  The baseline calculation averages the 24 hourly demand values – on an hourly basis - from the selected three highest energy usage days to create the baseline.

Table 12: Three Highest Energy Usage Days

[image: image17.emf]Date DayOfWeek Energy Use

3 Highest 

Days

08/01/06 Tuesday 45.395 1

07/31/06 Monday 39.792 2

07/28/06 Friday 31.226 3

07/27/06 Thursday 30.511

07/26/06 Wednesday 30.647

07/25/06 Tuesday 29.899

07/24/06 Tuesday 26.927

07/21/06 Friday 28.995

07/20/06 Thursday 29.373

07/19/06 Wednesday 28.798



Table 13: Creating the Baseline

[image: image18.emf]Hour 08/01/06 07/31/06 07/28/06 Baseline

1 1.81              1.20              1.14            

1.38         

2 1.64              1.08              0.98            

1.23         

3 1.49              0.97              0.92            

1.13         

4 1.41              0.91              0.88            

1.07         

5 1.34              0.93              0.83            

1.03         

6 1.30              0.96              0.83            

1.03         

7 1.29              1.02              0.89            

1.07         

8 1.45              1.05              1.04            

1.18         

9 1.53              1.10              0.99            

1.21         

10 1.59              1.31              1.09            

1.33         

11 1.75              1.52              1.10            

1.46         

12 1.86              1.58              1.14            

1.52         

13 2.06              1.83              1.23            

1.71         

14 2.11              1.98              1.39            

1.83         

15 2.21              2.16              1.47            

1.95         

16 2.29              2.22              1.62            

2.04         

17 2.30              2.25              1.76            

2.11         

18 2.41              2.37              1.75            

2.17         

19 2.41              2.43              1.89            

2.24         

20 2.29              2.24              1.75            

2.09         

21 2.26              2.24              1.71            

2.07         

22 2.37              2.34              1.71            

2.14         

23 2.27              2.24              1.65            

2.05         

24 1.99              1.88              1.45            

1.77         

Days Averaged to Create Baseline


The difference between the baseline and the three demand response load reduction levels of 10%, 20% and 30% is the measured amount of demand reduction.  When the reduction level values in the dark grey shaded area are positive, the value for that hour is greater than the baseline value for that same hour.  Those hours will not receive credit for reducing load.
Table 14: Applying the California ISO Baseline Calculation
[image: image19.emf]Calculated

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.38          0.32 0.32 0.32

2 1.60                     1.60                    1.60                    1.60                    1.23          0.37 0.37 0.37

3 1.50                     1.50                    1.50                    1.50                    1.13          0.38 0.38 0.38

4 1.30                     1.30                    1.30                    1.30                    1.07          0.23 0.23 0.23

5 1.30                     1.30                    1.30                    1.30                    1.03          0.27 0.27 0.27

6 1.30                     1.30                    1.30                    1.30                    1.03          0.27 0.27 0.27

7 1.30                     1.30                    1.30                    1.30                    1.07          0.23 0.23 0.23

8 1.30                     1.30                    1.30                    1.30                    1.18          0.12 0.12 0.12

9 1.40                     1.40                    1.40                    1.40                    1.21          0.19 0.19 0.19

10 1.60                     1.60                    1.60                    1.60                    1.33          0.27 0.27 0.27

11 1.70                     1.70                    1.70                    1.70                    1.46          0.24 0.24 0.24

12 1.90                     1.71                    1.52                    1.33                    1.52          0.19

(0.00) (0.19)

13 1.90                     1.71                    1.52                    1.33                    1.71          0.00

(0.19) (0.38)

14 2.10                     1.89                    1.68                    1.47                    1.83          0.06

(0.15) (0.36)

15 2.20                     1.98                    1.76                    1.54                    1.95          0.03

(0.19) (0.41)

16 2.30                     2.07                    1.84                    1.61                    2.04          0.03

(0.20) (0.43)

17 2.30                     2.07                    1.84                    1.61                    2.11         

(0.04) (0.27) (0.50)

18 2.30                     2.07                    1.84                    1.61                    2.17         

(0.10) (0.33) (0.56)

19 2.40                     2.16                    1.92                    1.68                    2.24         

(0.08) (0.32) (0.56)

20 2.40                     2.16                    1.92                    1.68                    2.09          0.07

(0.17) (0.41)

21 2.30                     2.30                    2.42                    2.47                    2.07          0.23 0.35 0.40

22 2.40                     2.40                    2.52                    2.58                    2.14          0.26 0.38 0.44

23 2.30                     2.30                    2.42                    2.47                    2.05          0.25 0.36 0.42

24 2.00                     2.00                    2.10                    2.15                    1.77          0.23 0.33 0.38

Customer Load Demand Response


[image: image20.emf]Demand Reduction Event Day

California Baseline Calculation 

-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline



There is no adjustment provision to the baseline calculation at this time, but there is a proceeding before the California Public Utilities Commission, R.07-01-041, to address concerns from interested parties about the baseline calculation.  Among the concerns the interveners have is the lack of a provision to adjust the baseline for event day variations like weather or abnormal changes to customer usage.  The California ISO expects the baseline methodologies to be expanded and improved in the future.
PJM Interconnection
The Office of Interconnection is the entity that manages the PJM Interchange Energy Market Economic Load Response Program (ELRP).  An end use customer must register with the Office of Interconnection to participate in the ELRP.  The load serving entity responsible for servicing the registered end use customer is also required to collect and transfer the hourly interval demand data from the customer’s premise to the PJM Interchange Energy Market ELRP.  The baseline calculation is performed against this data to create the baseline used for settlement. 
 The baseline methodology for PJM is similar to that of the New York ISO in that is uses the average of five weekdays out of ten for the baseline calculation.  However, he process to choose the five days is some what different.  The selection process begins with the day two days before the event day.  From this starting point, days are counted backward to include 10 weekdays.  If there are any holidays or other event days, those days are replaced with weekdays beginning with the eleventh weekday, and so on.  For example, if the ninth weekday is a holiday, the holiday is replaced with the tenth weekday.  That day now becomes the ninth day; and an additional day now becomes the tenth day.

For each of the ten selected days, an “Average Daily Event Period Usage” (ADEPU) is calculated.  This is the sum of the 24 hourly values for each of the ten days.  The ADEPU is averaged for the 10 selected days.  This value is the Average Daily Event Period Level (ADEPL).  To determine if any of the 10 selected days are acceptable for use in the baseline calculation, the ADEPU is divided for each selected day into the ADEPL to create a ratio for each of the ten selected days.  The day is considered acceptable if the calculated ratio is 75%, or greater (Table 15).

Table 15: Calculation of ADEPU and ADEPL (1st iteration)

[image: image21.emf]Date

Day Of 

Week

Average Daily 

Event Period 

Usage (ADEPU) Ratio

Acceptable 

Day

07/31/06 Monday 39.792 1.307        Yes

07/28/06 Friday 31.226 1.026        Yes

07/27/06 Thursday 30.511 1.002        Yes

07/26/06 Wednesday 30.647 1.007        Yes

07/25/06 Tuesday 29.899 0.982        Yes

07/24/06 Monday 22.527 0.740        No

07/21/06 Friday 28.995 0.952        Yes

07/20/06 Thursday 29.373 0.965        Yes

07/19/06 Wednesday 28.798 0.946        Yes

07/18/06 Tuesday 32.707 1.074        Yes

30.448                 

Average Daily Event 

Period Level (ADEPL)


If a day is not acceptable, e.g., 07/24/06 then the 1ten day selection process is started over again but without including the unacceptable day.  Table 16 shows the 2nd iteration of the ten day selection process.
Table 16: Calculation of ADEPU and ADEPL (2nd iteration)

[image: image22.emf]Date

Day Of 

Week

Average Daily 

Event Period 

Usage (ADEPU) Ratio

Acceptable 

Day

07/31/06 Monday 39.792 1.235        Yes

07/28/06 Friday 31.226 0.969        Yes

07/27/06 Thursday 30.511 0.947        Yes

07/26/06 Wednesday 30.647 0.951        Yes

07/25/06 Tuesday 29.899 0.928        Yes

07/21/06 Friday 28.995 0.900        Yes

07/20/06 Thursday 29.373 0.912        Yes

07/19/06 Wednesday 28.798 0.894        Yes

07/18/06 Tuesday 32.707 1.015        Yes

07/17/06 Monday 40.264 1.250        Yes

32.221                 

Average Daily Event 

Period Level (ADEPL)


The ADEPU and the ADEPL are also recalculated in the 2nd iteration of the selection process.  If there is an unacceptable day again, the process is repeated  until there are ten acceptable days.

After ten acceptable days are found, the days are sorted by the ADEPU, high to low to determine the five days to be used in the calculation of the baseline, shown in (Table 17).
Table 17: Sort the ADEPU
[image: image23.emf]Date

Day Of 

Week

Average Daily 

Event Period 

Usage (ADEPU) Ratio

07/17/06 Monday 40.264 1.250       

07/31/06 Monday 39.792 1.235       

07/18/06 Tuesday 32.707 1.015       

07/28/06 Friday 31.226 0.969       

07/26/06 Wednesday 30.647 0.951       

07/27/06 Thursday 30.511 0.947       

07/25/06 Tuesday 29.899 0.928       

07/20/06 Thursday 29.373 0.912       

07/21/06 Friday 28.995 0.900       

07/19/06 Wednesday 28.798 0.894       


The five highest ratio values determine the five days to be used in the baseline calculation.
Table 18: Selection of the 5 Days
[image: image24.emf]Date Day Of Week

Average Daily 

Event Period 

Usage (ADEPU) Ratio

07/17/06 Monday 40.264 1.250

07/31/06 Monday 39.792 1.307

07/18/06 Tuesday 32.707 1.074

07/28/06 Friday 31.226 1.026

07/26/06 Wednesday 30.647 1.007


After the five days are selected, the 24 hourly values are averaged for the five days, by hour, to create the baseline (Table 19). 
Table 19: Creating the Baseline
[image: image25.emf]Hour 07/17/06 07/31/06 07/18/06 07/28/06 07/26/06 Baseline

1 1.49            1.20             1.34              1.14          1.12         

1.20             

2 1.46            1.08             1.18              0.98          1.01         

1.06             

3 1.29            0.97             1.07              0.92          0.95         

0.98             

4 1.21            0.91             1.00              0.88          0.87         

0.91             

5 1.11            0.93             0.97              0.83          0.86         

0.90             

6 1.08            0.96             0.97              0.83          0.88         

0.91             

7 1.10            1.02             1.02              0.89          0.90         

0.96             

8 1.18            1.05             1.06              1.04          1.03         

1.04             

9 1.29            1.10             0.99              0.99          1.15         

1.06             

10 1.46            1.31             1.12              1.09          1.26         

1.20             

11 1.61            1.52             1.22              1.10          1.24         

1.27             

12 1.65            1.58             1.23              1.14          1.33         

1.32             

13 1.68            1.83             1.39              1.23          1.40         

1.46             

14 1.94            1.98             1.63              1.39          1.50         

1.62             

15 2.00            2.16             1.62              1.47          1.50         

1.69             

16 2.01            2.22             1.74              1.62          1.50         

1.77             

17 2.02            2.25             1.80              1.76          1.63         

1.86             

18 2.23            2.37             1.80              1.75          1.66         

1.89             

19 2.22            2.43             1.87              1.89          1.68         

1.97             

20 2.29            2.24             1.82              1.75          1.56         

1.84             

21 2.03            2.24             1.60              1.71          1.42         

1.74             

22 2.18            2.34             1.59              1.71          1.55         

1.80             

23 2.07            2.24             1.46              1.65          1.45         

1.70             

24 1.64            1.88             1.22              1.45          1.23          1.44             

Days Averaged to Create Baseline


The calculated baseline – from Table 19 – is applied to the three levels of demand response reduction, 10%, 20%, and 30%.  The results are shown in Table 20.
Table 20: Applying the PJM Baseline Calculation
[image: image26.emf]Calculated

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.20          0.50 0.50 0.50

2 1.60                     1.60                    1.60                    1.60                    1.06          0.54 0.54 0.54

3 1.50                     1.50                    1.50                    1.50                    0.98          0.52 0.52 0.52

4 1.30                     1.30                    1.30                    1.30                    0.91          0.39 0.39 0.39

5 1.30                     1.30                    1.30                    1.30                    0.90          0.40 0.40 0.40

6 1.30                     1.30                    1.30                    1.30                    0.91          0.39 0.39 0.39

7 1.30                     1.30                    1.30                    1.30                    0.96          0.34 0.34 0.34

8 1.30                     1.30                    1.30                    1.30                    1.04          0.26 0.26 0.26

9 1.40                     1.40                    1.40                    1.40                    1.06          0.34 0.34 0.34

10 1.60                     1.60                    1.60                    1.60                    1.20          0.40 0.40 0.40

11 1.70                     1.70                    1.70                    1.70                    1.27          0.43 0.43 0.43

12 1.90                     1.71                    1.52                    1.33                    1.32          0.39 0.20

0.01

13 1.90                     1.71                    1.52                    1.33                    1.46          0.25 0.06

(0.13)

14 2.10                     1.89                    1.68                    1.47                    1.62          0.27 0.06

(0.15)

15 2.20                     1.98                    1.76                    1.54                    1.69          0.29 0.07

(0.15)

16 2.30                     2.07                    1.84                    1.61                    1.77          0.30 0.07

(0.16)

17 2.30                     2.07                    1.84                    1.61                    1.86          0.21

(0.02) (0.25)

18 2.30                     2.07                    1.84                    1.61                    1.89          0.18

(0.05) (0.28)

19 2.40                     2.16                    1.92                    1.68                    1.97          0.19

(0.05) (0.29)

20 2.40                     2.16                    1.92                    1.68                    1.84          0.32 0.08

(0.16)

21 2.30                     2.30                    2.42                    2.47                    1.74          0.56 0.67 0.73

22 2.40                     2.40                    2.52                    2.58                    1.80          0.60 0.72 0.78

23 2.30                     2.30                    2.42                    2.47                    1.70          0.60 0.71 0.77

24 2.00                     2.00                    2.10                    2.15                    1.44          0.56 0.66 0.71

Customer Load Demand Response


With a demand response reduction of 10%, no measurable amount of load reduction is found.  The load shape values the baseline represents do not have sufficient load to offset the 10% load reduction.  Either the calculated baseline did not represent the actual customer load or the reduction in load from the demand response was not a sufficient amount of reduction to offset the baseline.
The following graph illustrates the difference between the baseline and the customer load.  An adjustment amount needs to be applied to shift the baseline to match the actual customer load.  This difference is assumed by the PJM Interchange Energy Market ELRP to be a factor of the effects of weather on customer load. 
[image: image27.emf]Demand Reduction Event Day

 PJM  Baseline Calculation



-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline

Adjustment


The PJM Interchange Energy Market ELRP has two methods of calculating a weather sensitive baseline adjustment; a regression model and an ‘average of hour’ model.  The operating procedures state a regression model can be used for any seasonal period and either day-ahead or real-time markets and the ‘average of hour’ model can only be used for the summer period and in the real-time market.  The ‘average of hour’ model uses the result of averaging two demand values, (hours 9 & 10 in Table 21) before an event starts for both the calculated baseline and the customer load.  The adjustment factor is applied to all hours of the event period to create an adjusted baseline.  Table 21 is an example of the PJM average of hour model calculation.
Table 21: Calculating Average of Hour Baseline Weather Adjustment
[image: image28.emf]Hour

Customer 

Load

Calculated 

Baseline

Adjustment

Adjusted 

Baseline

1

1.70            1.20             1.20

2

1.60            1.06             1.06

3

1.50            0.98             0.98

4

1.30            0.91             0.91

5

1.30            0.90             0.90

6

1.30            0.91             0.91

7

1.30            0.96             0.96

8

1.30            1.04             1.04

9

1.40            1.06             1.06

10

1.60            1.20             1.20

11

1.70            1.27             1.27

12

1.71            1.32            

1.33

1.76         

13

1.71            1.46            

1.33

1.94         

14

1.89            1.62            

1.33

2.16         

15

1.98            1.69            

1.33

2.25         

16

2.07            1.77            

1.33

2.35          Adjustment

17

2.07            1.86            

1.33

2.47          Period

18

2.07            1.89            

1.33

2.52         

19

2.16            1.97            

1.33

2.62         

20

2.16            1.84            

1.33

2.45         

21

2.30            1.74             1.74

22

2.40            1.80             1.80

23

2.30            1.70             1.70

24

2.00            1.44             1.44

Customer Baseline Average of Hours 9&10 (1.06 + 1.20)/2 = 1.13

Customer Load Average of Hours 9&10 (1.40 + 1.60)/2 = 1.50

Weather Adjustment Factor  1.50/1.13 = 1.33 = 33%


The weather adjustment factor must show a greater then 5% difference between the calculated customer load average and the calculated baseline average.  From Table 21, the Weather Adjustment Factor of 33% is greater then the 5% difference level.  There would be no weather adjustment to the baseline if that factor is less than or equal to 5%.

Table 22: Applying the PJM Baseline Calculation w/ Weather Adjustment

[image: image29.emf]Adjusted

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.20          0.50 0.50 0.50

2 1.60                     1.60                    1.60                    1.60                    1.06          0.54 0.54 0.54

3 1.50                     1.50                    1.50                    1.50                    0.98          0.52 0.52 0.52

4 1.30                     1.30                    1.30                    1.30                    0.91          0.39 0.39 0.39

5 1.30                     1.30                    1.30                    1.30                    0.90          0.40 0.40 0.40

6 1.30                     1.30                    1.30                    1.30                    0.91          0.39 0.39 0.39

7 1.30                     1.30                    1.30                    1.30                    0.96          0.34 0.34 0.34

8 1.30                     1.30                    1.30                    1.30                    1.04          0.26 0.26 0.26

9 1.40                     1.40                    1.40                    1.40                    1.06          0.34 0.34 0.34

10 1.60                     1.60                    1.60                    1.60                    1.20          0.40 0.40 0.40

11 1.70                     1.70                    1.70                    1.70                    1.27          0.43 0.43 0.43

12 1.90                     1.71                    1.52                    1.33                    1.76         

(0.05) (0.24) (0.43)

13 1.90                     1.71                    1.52                    1.33                    1.95         

(0.24) (0.43) (0.62)

14 2.10                     1.89                    1.68                    1.47                    2.16         

(0.27) (0.48) (0.69)

15 2.20                     1.98                    1.76                    1.54                    2.25         

(0.27) (0.49) (0.71)

16 2.30                     2.07                    1.84                    1.61                    2.35         

(0.28) (0.51) (0.74)

17 2.30                     2.07                    1.84                    1.61                    2.48         

(0.41) (0.64) (0.87)

18 2.30                     2.07                    1.84                    1.61                    2.52         

(0.45) (0.68) (0.91)

19 2.40                     2.16                    1.92                    1.68                    2.62         

(0.46) (0.70) (0.94)

20 2.40                     2.16                    1.92                    1.68                    2.45         

(0.29) (0.53) (0.77)

21 2.30                     2.30                    2.42                    2.47                    1.74          0.56 0.67 0.73

22 2.40                     2.40                    2.52                    2.58                    1.80          0.60 0.72 0.78

23 2.30                     2.30                    2.42                    2.47                    1.70          0.60 0.71 0.77

24 2.00                     2.00                    2.10                    2.15                    1.44          0.56 0.66 0.71

Customer Load Demand Response


As shown in the following graph, applying the weather adjustment to the baseline demand reduction is measurable for all hours for any level.

[image: image30.emf]Demand Reduction Event Day

PJM Adjusted Baseline Calculation 

-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline


+90oF Average Day
The +90oF Average Day baseline methodology was created to show customer usage for an above average temperature day in the Detroit Edison service territory.  The calculation averages all non-holiday weekdays, in the months of May through September with a daily high temperature of 90oF, or higher.  The thought process behind this methodology is that on days where the temperature is above 90oF customers will be using cooling appliances near or at capacity.  Generally speaking, these hot days coincide with the highest electricity prices in the Midwest and are more likely to experience a demand response event.
Table 23 shows the results of finding the days that have a maximum temperature that is 90oF or greater.

Table 23: Find +90oF Days

[image: image31.emf]Date

Maximum 

Temperature

08/02/06 95

08/01/06 96

07/31/06 95

07/17/06 92


Using the dates from Table 23, the 24 hourly values are averaged by hour to create the +90oF Average Day baseline.  This represents the average demand for a customer for a day that is 90oF or greater.  The result of this averaging is shown in Table 24.

Table 24: Creating the Baseline

[image: image32.emf]Hour 08/02/06 08/01/06 07/31/06 07/17/06 Baseline

1 1.75          1.81          1.20          1.49         

1.56         

2 1.64          1.64          1.08          1.46         

1.45         

3 1.48          1.49          0.97          1.29         

1.31         

4 1.34          1.41          0.91          1.21         

1.22         

5 1.33          1.34          0.93          1.11         

1.18         

6 1.34          1.30          0.96          1.08         

1.17         

7 1.30          1.29          1.02          1.10         

1.18         

8 1.33          1.45          1.05          1.18         

1.25         

9 1.44          1.53          1.10          1.29         

1.34         

10 1.63          1.59          1.31          1.46         

1.50         

11 1.69          1.75          1.52          1.61         

1.64         

12 1.87          1.86          1.58          1.65         

1.74         

13 1.93          2.06          1.83          1.68         

1.88         

14 2.09          2.11          1.98          1.94         

2.03         

15 2.24          2.21          2.16          2.00         

2.15         

16 2.28          2.29          2.22          2.01         

2.20         

17 2.30          2.30          2.25          2.02         

2.22         

18 2.33          2.41          2.37          2.23         

2.33         

19 2.45          2.41          2.43          2.22         

2.38         

20 2.42          2.29          2.24          2.29         

2.31         

21 2.36          2.26          2.24          2.03         

2.22         

22 2.48          2.37          2.34          2.18         

2.34         

23 2.38          2.27          2.24          2.07         

2.24         

24 1.99          1.99          1.88          1.64         

1.87         

Days Averaged to Create Baseline


This baseline calculation is based on an average customer load for a day that has a temperature greater than 90oF.  This average assumes these are the 24 hourly load values of a customer on a +90oF day and does not take into consideration any abnormal changes to the customer load on an event day. 
Table 25: Applying the +90oF Average Day Baseline Calculation
[image: image33.emf]Calculated

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.56          0.14 0.14 0.14

2 1.60                     1.60                    1.60                    1.60                    1.45          0.15 0.15 0.15

3 1.50                     1.50                    1.50                    1.50                    1.31          0.19 0.19 0.19

4 1.30                     1.30                    1.30                    1.30                    1.22          0.08 0.08 0.08

5 1.30                     1.30                    1.30                    1.30                    1.18          0.12 0.12 0.12

6 1.30                     1.30                    1.30                    1.30                    1.17          0.13 0.13 0.13

7 1.30                     1.30                    1.30                    1.30                    1.18          0.12 0.12 0.12

8 1.30                     1.30                    1.30                    1.30                    1.25          0.05 0.05 0.05

9 1.40                     1.40                    1.40                    1.40                    1.34          0.06 0.06 0.06

10 1.60                     1.60                    1.60                    1.60                    1.50          0.10 0.10 0.10

11 1.70                     1.70                    1.70                    1.70                    1.64          0.06 0.06 0.06

12 1.90                     1.71                    1.52                    1.33                    1.74         

(0.03) (0.22) (0.41)

13 1.90                     1.71                    1.52                    1.33                    1.88         

(0.17) (0.36) (0.55)

14 2.10                     1.89                    1.68                    1.47                    2.03         

(0.14) (0.35) (0.56)

15 2.20                     1.98                    1.76                    1.54                    2.15         

(0.17) (0.39) (0.61)

16 2.30                     2.07                    1.84                    1.61                    2.20         

(0.13) (0.36) (0.59)

17 2.30                     2.07                    1.84                    1.61                    2.22         

(0.15) (0.38) (0.61)

18 2.30                     2.07                    1.84                    1.61                    2.33         

(0.26) (0.49) (0.72)

19 2.40                     2.16                    1.92                    1.68                    2.38         

(0.22) (0.46) (0.70)

20 2.40                     2.16                    1.92                    1.68                    2.31         

(0.15) (0.39) (0.63)

21 2.30                     2.30                    2.42                    2.47                    2.22          0.08 0.19 0.25

22 2.40                     2.40                    2.52                    2.58                    2.34          0.06 0.18 0.24

23 2.30                     2.30                    2.42                    2.47                    2.24          0.06 0.18 0.23

24 2.00                     2.00                    2.10                    2.15                    1.87          0.13 0.23 0.28

Customer Load Demand Response


There is measured reduction of load for all three of the demand response reduction levels in Table 25, but the graph below shows that the baseline does not completely match the customer’s actual usage before the start of the event period.  Using a baseline without adjusting it to offset the differences between the baseline and actual customer usage for the event day will not completely characterize the intent of creating a baseline.  Since the calculated baseline and actual customer usage do not match before the event, an adjustment should be made to this baseline.  
[image: image34.emf]Demand Reduction Event Day

 +90

o

F Average Day  Baseline Calculation



-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline

Adjustment


For ease of analysis, the ISO New England baseline adjustment calculation seems reasonable because it adjusts by usage rather than by weather as the others do.  As the +90oF Average Day method focus is on hourly use (with weather adjustments already built into the data), the ISO New England method is used.
Table 26: Applying the ISO New England Baseline Adjustment Rules to the +90oF      Average Day Baseline.
[image: image35.emf]Hour Customer Load New Baseline Adjustment Adjusted Baseline

1 1.70 1.56

1.56

2 1.60 1.45

1.45

3 1.50 1.31

1.31

4 1.30 1.22

1.22

5 1.30 1.18

1.18

6 1.30 1.17

1.17

7 1.30 1.18

1.18

8 1.30 1.25

1.25

9 1.40 1.34

1.34

10 1.60 1.50 0.080

1.58

11 1.70 1.64 0.080

1.72

12 1.33 1.74 0.080

1.82

13 1.33 1.88 0.080

1.96

14 1.47 2.03 0.080

2.11 Adjustment

15 1.54 2.15 0.080

2.23 Period

16 1.61 2.20 0.080

2.28

17 1.61 2.22 0.080

2.30

18 1.61 2.33 0.080

2.41

19 1.68 2.38 0.080

2.46

20 1.68 2.31 0.080

2.39

21 2.47 2.22

2.22

22 2.58 2.34

2.34

23 2.47 2.24

2.24

24 2.15 1.87

1.87

Hour 10 - 1.60 - 1.50 = .1

Hour 11 - 1.70 - 1.64 = .06

Adjustment - .1+.06 = .16/2 = .08


The adjusted baseline now follows the actual customer usage load curve for the two hours prior to the event period.  An adjustment is applied under the assumption that the baseline did not fully represent the actual customer usage at the time of the start of the event period.  Questions of why the baseline did not align with the actual customer usage when its purpose is to represent that usage could be raised if an adjustment wasn’t made.

Table 27 shows the results of applying the adjusted baseline to the demand response reduction levels.

Table 27:  Applying the ISO New England Adjusted Baseline Calculation to the +90oF Average Day Baseline Calculation
[image: image36.emf]Adjusted

Hour

Actual Customer 

Load

10% Reduction 20% Reduction 30% Reduction Baseline 10% Reduction 20% Reduction 30% Reduction

1 1.70                     1.70                    1.70                    1.70                    1.56          0.14 0.14 0.14

2 1.60                     1.60                    1.60                    1.60                    1.45          0.15 0.15 0.15

3 1.50                     1.50                    1.50                    1.50                    1.31          0.19 0.19 0.19

4 1.30                     1.30                    1.30                    1.30                    1.22          0.08 0.08 0.08

5 1.30                     1.30                    1.30                    1.30                    1.18          0.12 0.12 0.12

6 1.30                     1.30                    1.30                    1.30                    1.17          0.13 0.13 0.13

7 1.30                     1.30                    1.30                    1.30                    1.18          0.12 0.12 0.12

8 1.30                     1.30                    1.30                    1.30                    1.25          0.05 0.05 0.05

9 1.40                     1.40                    1.40                    1.40                    1.34          0.06 0.06 0.06

10 1.60                     1.60                    1.60                    1.60                    1.58          0.02 0.02 0.02

11 1.70                     1.70                    1.70                    1.70                    1.72          (0.02) (0.02) (0.02)

12 1.90                     1.71                    1.52                    1.33                    1.82         

(0.11) (0.30) (0.49)

13 1.90                     1.71                    1.52                    1.33                    1.96         

(0.25) (0.44) (0.63)

14 2.10                     1.89                    1.68                    1.47                    2.11         

(0.22) (0.43) (0.64)

15 2.20                     1.98                    1.76                    1.54                    2.23         

(0.25) (0.47) (0.69)

16 2.30                     2.07                    1.84                    1.61                    2.28         

(0.21) (0.44) (0.67)

17 2.30                     2.07                    1.84                    1.61                    2.30         

(0.23) (0.46) (0.69)

18 2.30                     2.07                    1.84                    1.61                    2.41         

(0.34) (0.57) (0.80)

19 2.40                     2.16                    1.92                    1.68                    2.46         

(0.30) (0.54) (0.78)

20 2.40                     2.16                    1.92                    1.68                    2.39         

(0.23) (0.47) (0.71)

21 2.30                     2.30                    2.42                    2.47                    2.22          0.08 0.19 0.25

22 2.40                     2.40                    2.52                    2.58                    2.34          0.06 0.18 0.24

23 2.30                     2.30                    2.42                    2.47                    2.24          0.06 0.18 0.23

24 2.00                     2.00                    2.10                    2.15                    1.87          0.13 0.23 0.28

Customer Load Demand Response


After the adjustment has been applied the baseline now matches the actual customer usage.

[image: image37.emf]Demand Reduction Event Day

+90

o

F Average Day Baseline Calculation w/ ISO New England  Baseline Adjustment Rules



-

0.50

1.00

1.50

2.00

2.50

3.00

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Hour

kW

10% Reduction 20% Reduction 30% Reduction Baseline


Conclusions
The goal of this paper was to analyze different baseline calculation methodologies using a single set of data.  Understanding how each method arrived at its goal of representing what a customer’s actual usage would have been, absent a demand response event, is appreciated by how each method derives a baseline using the same data.  All of the methodologies accomplish that goal but obtain the results differently.  
Where three methods use energy and weekdays as deciding factors, the other two just use weekdays.  The energy and weekday methods rely on calculating daily energy from 24 hourly values to choose the weekdays.  Of the methods that require just weekdays in the selection criteria, the number of weekdays needed is different.  All of the methods try to minimize the customer’s opportunity to ‘game’ the process by averaging multiple days together or using energy from multiple days in their calculation.  What is evident from the analysis of the different methodologies is that an adjustment to the baseline calculation is needed to most accurately estimate actual customer usage.
ISO New England uses just weekdays as the basis for its baseline calculation.  One of its strengths is the simplicity of the calculation.  If their goal was to create a methodology that all participants could understand - from the ISO to the individual customer – they have accomplished it.  The major weakness is that only ISO New England creates a baseline every day, whether it needs it or not. 
California uses only three weekdays chosen by calculating daily energy.  This simplicity could be considered a strength because it only needs to find three weekdays.  The major weakness with the California methodology is that it does not yet have any provisions by which to adjust their baseline to best match the conditions of the event day.

New York ISO and PJM have multi step processes that are fairly complex.  A weakness of their processes is that an individual customer might have a problem understanding how the whole methodology works.  Both New York ISO and PJM rely on selecting the number of weekdays to use in the baseline calculation from a pool of ten weekdays chosen using a daily energy value.  Strengths for both methods is the baseline is only calculated when it’s needed and there is a provision for adjusting the baseline.
The +90oF Average Day method is easily understood but its weakness is that it relies on using +90oF days.  If there are too few of these days, the baseline calculation might not create a representative estimate of actual customer usage.
References:
ISO New England Manual for Measurement and Verification of Demand Reduction Value from Demand Resources, M-MVDR, Revision: 0, February 28, 2007 

NYISO Day-Ahead Demand Response Program Manual, July 2003 

CAISO Demand Response Resource User Guide, Guide to Participation in MRTU Release 1, November 29, 2007, Version 3.0
Amended and Restated Operating Agreement of PJM Interconnection, L.L.C.








































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































































�Passive means that you DO NOT have to do anything.  This definition contradicts the meaning of “passive”


�What do you mean here?  Is the factor .9 of 90% - why do you have it written this way?


�I have no idea what this means


�Where do you refer to the graph?


�You have Step 5 listed twice. Should this be Step 6?


�Where do you refer to Table 13?


�Where do you refer to this table?


�Where do you refer to Table 22?





PAGE  
2

