Business Practice Requirements

Baseline Type-I (Interval Meter)

015-1.9BASELINE INFORMATION

· Baseline Window

The Program Administrator shall specify the Baseline Window.

· Calculation Type

The Program Administrator shall specify an approved default  method of developing the Baseline value using, but not limited to, the following calculation types:

a) Maximum

b) Average

c) Regression
A revelant Demand Response provider may propose an alternative CBL calculation that more accuractly reflects the end-use customer’s consumption pattern relative to the CBL.  Any proposal made shall be provided to all other Interested Parties.  The Interested Parties shall have 30 days to agree on a proposal issued. The 30-day period shall start the day the proposal is received by all Interested Parties. If all Interested Parties agree on the proposal, that alternative CBL calculation methodology shall be effective consistent with the date of the relevant Demand Response provider registration.  If an agreement is not reached, the Program Administrator shall determine a CBL methodology within 20 days from the expiration of the 30-day period.  A CBL established by the Program Administrator shall be binding upon all Interested Parties unless the Interested Parties reach agreement on an alternative CBL methodology prior to the expiration of the 20-day period.  Operation of this Section shall not delay Demand Response provider registrations provided that the alternative CBL established shall be used for all related energy settlements. (Wording from PJM Interconnection Agreement)
· Sampling Precision and Accuracy

Sampling is not permitted for this Performance Evaluation type, unless otherwise specified by the Program Administrator.

· Exclusion Rules

The Program Administrator shall specify any rules for excluding data from the Baseline Window.  Exclusion rules may be based on, but are not limited to the following:

a) Historical Demand Response Events

b) Testing/Audit Periods

c) Calendar data

d) Outages 

e) Weather emergencies or force majeure events

f) Usage threshold
g) Known, discrete load additions or reductions that have occurred during the Baseline Window
· Baseline Adjustments

The Program Administrator shall specify any rules for Baseline Adjustments.  Adjustment rules may be based on, but are not limited to the following:

a) Temperature

b) Humidity

c) Calendar data

d) Sunrise/Sunset time

e) Event  day operating conditions

· Adjustment Window

The Program Administrator shall specify the Adjustment Window.  

