Business Practice Requirements

Baseline Type-I (Interval Meter)

015-1.0 BASELINE INFORMATION
· Baseline Calculation Type
The Program Administrator shall specify a default method for developing the Baseline Calculation.  The Market Participant (Not sure what to call this entity) may propose an alternate Baseline Calculation that more accurately reflects the relevant end-use customer consumption pattern.

· Baseline Window

The Baseline window will be defined based on the method used to calculate the Baseline.  The Program Administrator shall specify any rules for excluding data from the Baseline Window.  Exclusion rules may be based on, but are not limited to the following:
a) Historical Demand Response Events

b) Testing/Audit Periods

c) Calendar data

d) Outages 

e) Weather emergencies or force majeure events

f) Usage threshold

g) Known, discrete load additions or reductions that have occurred during the Baseline Window

· Baseline Adjustments

Any adjustments to the Baseline shall be based on the method used to calculate the baseline. Adjustment rules may be based on, but are not limited to the following:

a) Temperature

b) Humidity

c) Calendar data

d) Sunrise/Sunset time

e) Event  day operating conditions

· Adjustment Window

The Adjustment window will be defined based on the method used to calculate the Baseline.
015-1.1 EVENT INFORMATION
· Use of Real-Time Telemetry
The Program Administrator shall specify that real-time Telemetry data is to be used to measure performance.
· Use of After-The-Fact Metering

After-the-fact metering or other energy measurement technology may be used to measure performance, as a supplement to real-time Telemetry unless otherwise specified by the Program Administrator.

· Performance Window

The Performance window shall be defined based on the method used to calculate the Baseline.
Business Practice Requirements

Baseline Type-II (Non-Interval Meter)
015-1.2 BASELINE INFORMATION

· Baseline Calculation Type

The Program Administrator shall specify a default method for developing the Baseline Calculation.  The Market Participant (Not sure what to call this entity) may propose an alternate Baseline Calculation that more accurately reflects the relevant end-use customer consumption pattern.

· Sampling Precision and Accuracy

The Program Administrator shall specify sampling precision and accuracy requirements.

· Baseline Window

The Baseline window will be defined based on the method used to calculate the Baseline.  The Program Administrator shall specify any rules for excluding data from the Baseline Window.  Exclusion rules may be based on, but are not limited to the following:
a) Historical Demand Response Events

b) Testing/Audit Periods

c) Calendar data

d) Outages 

e) Weather emergencies or force majeure events

f) Usage threshold

g) Known, discrete load additions or reductions that have occurred during the Baseline Window

· Baseline Adjustments

Any adjustments to the Baseline shall be based on the method used to calculate the baseline. Adjustment rules may be based on, but are not limited to the following:

a) Temperature

b) Humidity

c) Calendar data

d) Sunrise/Sunset time

e) Event  day operating conditions

· Adjustment Window

The Program Administrator shall specify the Adjustment Window.  

015-1.3 EVENT INFORMATION

· Use of Real-Time Telemetry

The Program Administrator shall specify if real-time Telemetry data is to be used to measure performance.

· Use of After-The-Fact Metering

After-the-fact metering or other energy measurement technology may be used to measure performance, as a supplement to real-time Telemetry unless otherwise specified by the Program Administrator.

· Performance Window

The Performance window shall be defined based on the method used to calculate the Baseline.
