

From: Sailers, Bruce L
Sent: Thursday, July 02, 2009 11:59 AM
To: Veronica Thomason; group2@naesb.org
Subject: RE: Request for Comments on Retail DR Draft Recommendation
Hi Veronica.  I reviewed the document and would like to submit the comments below.

1.       Page 11 Under Demand Response Event:  correct “and transitions may not be not” to “and transitions may not be”.

2.       Page 15: The definition of Program Administrator does not necessarily capture Curtailment Service Providers (or ARCs – Aggregators of Retail Customers).  These entities may be permitted to act as a middle man between the local distribution company and retail customers for retail oriented events.  They certainly offer programs to retail customers where they act as the operator of the program either in the wholesale markets or by request of a utility at the retail level.  Should they be included?

3.       Page 15:  Under Real Time Pricing, “reflectin” needs a “g”.

4.       Page 19:  There is a definition for Demand Resource Availability Measurement following the title Performance Evaluation.  It is confusing and may be misplaced.

5.       Page 21 & 22:  Under Baseline Evaluation, you mention several times (REQ.13.3.4.4.3 and REQ.13.3.4.4.9) that statistical sampling is not permitted for Baseline Evaluation unless specified by the Program Administrator.  This seems to be okay because the option is carved out but it is confusing.  Most AC cycling programs would utilize a Baseline Evaluation method to estimate response and most utilize some form of statistical sampling of the participants to estimate the baseline.  This is a very popular form of program.  It is unclear why it would be stated that “statistical sampling is not permitted” when in fact a great number of Program Administrators will be specifying this for their AC cycling programs.

Bruce L. Sailers
Manager, Retail Energy Desk
Duke Energy
From: group2-owner@naesb.org [mailto:group2-owner@naesb.org] On Behalf Of Veronica Thomason
Sent: Monday, June 29, 2009 5:03 PM
To: group2@naesb.org
Subject: Request for Comments on Retail DR Draft Recommendation

Dear DSM-EE retail work group participants,

The retail work group has completed the retail DR recommendation.  Please review the attached recommendation and send any concerns to the NAESB office by end of business Thursday, July 2, 2009.  If no concerns are received related to this recommendation it will be sent to the DSM-EE subcommittee for consideration and vote.

If you have any questions, please do not hesitate to contact me.

Thank you,

Cory Galik Cummings

Staff Attorney
North American Energy Standards Board

1301 Fannin, Suite 2350

Houston, TX 77002

713-356-0060

cgalik@naesb.org
 

