REQ.13.2
Definitions

REQ.13.2.A
Business Definitions

REQ.0.2.145
Adjustment Window:  The period of time prior to a Demand Response Event used for calculating a Baseline Adjustment.
REQ.0.2.146
Advance Notification(s):  One or more communications to Demand Resources of an impending Demand Response Event in advance of the actual event.  
REQ.0.2.147
After-the-Fact Metering:  Interval meter data separate from Telemetry that is used to measure Demand Response.  May not apply to Demand Resources under Baseline using statisitical sampling.  
RXQ.0.2.1
Applicable Regulatory Authority:  The state regulatory agency or other local governing body that provides oversight, policy guidance, and direction to any parties involved in the process of providing energy to retail access Customers through regulation and orders.
[image: image1.emf]1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Reduction

8.0 8.0 9.0 10.0 9.0 7.0 8.0 8.0 8.0 6.0 6.0 6.0 6.0 6.0 6.0 6.0 6.0 6.0 9.0 10.0 9.0 3.0 2.0 2.0

Normal Use

8.0 8.0 9.0 10.0 9.0 7.0 8.0 8.0 8.0 9.0 9.0 9.0 9.0 9.0 9.0 9.0 9.0 9.0 9.0 10.0 9.0 3.0 2.0 2.0

0.0

2.0

4.0

6.0

8.0

10.0

12.0

kW

Hour

Maximum Base Load

Customer  required tomaintain a fixed 

demand level for SustainedResponse 

Period

Deployment

REQ.0.2.148
Baseline:  A method of estimating the electricity that would have been consumed by a Customer or Demand Resource in the absence of a Demand Response Event. It may be calculated using interval metering and/or statistical sampling techniques. The figure below illustrates the concept of Baseline relative to a Demand Response Event.  

Figure 1.  Illustration of Baseline Concept.

REQ.0.2.149
Baseline Adjustment:  An adjustment that modifies the Baseline to reflect actual conditions immediately prior to or during a Demand Response Event to provide a better estimate of the energy the Demand Resource would have consumed but for the Demand Response Event. The adjustments may include but are not limited to weather conditions, near real time event facility Load, current Demand Resource operational information, or other parameters based on the Program Administrator’s requirements.
REQ.0.2.150
Baseline Window:  The window of time preceding and optionally following, a Demand Response Event over which the electricity consumption data is collected for the purpose of establishing a Baseline.  
REQ.0.2.151
Capacity Service:  A type of Demand Response service in which Demand Resources are obligated over a defined period of time to be available to provide Demand Response upon deployment by the Program Administrator.
REQ.0.2.152
Critical Peak Pricing: Rates which typically charge a much higher price during a few hours per day on critical peak days.  The number of critical peak days is usually capped for a calendar year and is linked to conditions such as system reliability concerns or very high supply prices.
RXQ.0.2.16
Customer:  Any Entity that takes gas and/or electric service for its own consumption.
REQ.0.2.153
Demand:  The rate at which electric energy is delivered to or by a system or part of a system, generally expressed in kilowatts or megawatts, at a given instant or averaged over any designated interval of time; and the rate at which energy is being used by the customer.
REQ.0.2.154
Demand Reduction Value:  Quantity of reduced electrical Demand consumption by a Demand Resource, expressed in MW or MWh, respectively.
REQ.0.2.155
Demand Resource:  A Load or aggregation of Loads capable of measurably and verifiably providing Demand Response.    
REQ.0.2.156
Demand Resource Availability Measurement:  The amount of Load available to be dispatched for a given Demand Response Event.
REQ.0.2.157
Demand Response:  Changes in electric use by demand-side resources from their normal consumption patterns in response to changes in the price of electricity, or to incentives designed to induce lower electricity use at times of potential peak load, high cost periods, or when system reliability is jeopardized.
For purposes of these Model Business Practices, this definition does not include energy efficiency or permanent Load reduction.
REQ.0.2.158
Demand Response Event:  The time periods, deadlines and transitions during which Demand Resources perform.  The Program Administrator should specify the duration and applicability of a Demand Response Event.  All deadlines, time periods and transitions may not be applicable to all Demand Response products or services.
The figure below represents the terms for timing events and time durations applicable to the characteristics of a dispatchable Demand Response Event.  The definitions of the ten elements in the figure are the basis for describing the Timing of a Demand Response Event.  

[image: image3.png]Expected or
N Contracted Load
Baseline Reduction Measured
Load

ELECTRICITY
USAGE

/ \ T T TIME

Deployment Reduction Release Normal
instruction deadline operations



Figure 2. Timing of a Demand Response Event

REQ.0.2.159
Demand Response Provider:  The Entity that is responsible for delivering Demand reductions from Demand Resources.
REQ.0.2.160
Deployment:  The time at which a Demand Resource begins reducing Demand on the system in response to an instruction. 
REQ.0.2.161
Deployment Period:  The time in a Demand Response Event beginning with the Deployment and ending with the Release/Recall.  
REQ.0.2.162
Direct Load Control:  A Demand Response activity by which the program sponsor remotely shuts down or cycles a Customer’s electrical equipment (e.g. air conditioner, water heater).  Direct Load Control programs are primarily offered to residential or small commercial Customers.

REQ.0.2.163
Dispatchable Programs:  Programs that allow a Program Administrator to declare a Demand Response Event that has a specific start time and end time. 
RXQ.0.2.17
Distribution Company:  A regulated Entity which provides distribution services and may provide energy and/or transmission / transportation services in a given area.
REQ.0.2.164
Energy Service:  A type of Demand Response service in which Demand Resources are compensated solely based on their performance during a Demand Response Event.
RXQ.0.2.47
Entity:  A person or organization with sufficient legal standing to enter into a contract or arrangement with another such person or organization (as such legal standing may be determined by those parties) for the purpose of conducting and/or coordinating energy transactions.

REQ.0.2.165
Firm Service Level:  Demand level that a Customer must not exceed during a Demand Response Event.
RXQ.0.2.22
Governing Documents:  Documents that determine the interactions among parties, including but not limited to: regulatory documents (e.g., tariffs, rules, regulations), contractual agreements, and Distribution Company Operational Manuals.

REQ.0.2.166
Guaranteed Load Drop:  Reduction of a specified amount of Load.
REQ.0.2.167
Highly-Variable Load:  A Load with a fluctuating or unpredictable electricity consumption pattern.
REQ.0.2.168
Load:  An end-use device or customer that receives power from the electric system.
REQ.0.2.169
Maximum Base Load:  A performance evaluation methodology based solely on a Demand Resource’s ability to reduce to a Firm Service Level, regardless of its electricity consumption or Demand at Deployment.
[image: image4.emf]DEPLOYMENT PERIOD

RECOVERY

PERIOD

R

E

D

U

C

T

I

O

N

 

D

E

A

D

L

I

N

E

D

E

P

L

O

Y

M

E

N

T

RAMP

PERIOD

SUSTAINED RESPONSE

PERIOD

R

E

L

E

A

S

E

/

R

E

C

A

L

L

N

O

R

M

A

L

 

O

P

E

R

A

T

I

O

N

S

DEMAND RESPONSE EVENT

A

D

V

A

N

C

E

 

N

O

T

I

F

I

C

A

T

I

O

N

(

S

)


Figure 3.  Maximum Base Load Illustration

REQ.0.2.170
Meter Before / Meter After:  A performance evaluation methodology where electricity Demand over a prescribed period of time prior to Deployment is compared to similar readings during the Sustained Response Period.

[image: image2.emf]1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Data

80 80 90 100 90 70 80 80 80 40 40 40 40 40 40 40 40 40 60 90 90 90 90 80

20

30

40

50

60

70

80

90

100

110

kW

Meter Before/Meter After

Demand Response

Meter Before

Meter After

Customer reduced load by ~40 kW during Sustained Response Period

Deployment


Figure 4. Meter Before/Meter After Illustration
REQ.0.2.171
Meter Data Recording Interval:  The time between electricity meter consumption recordings.
REQ.0.2.172
Meter Data Reporting Deadline:  The maximum allowed time from the end of a Demand Response Event (Normal Operations) to the time when meter data is required to be submitted for performance evaluation and settlement.  The Meter Data Reporting Deadline may be either relative (a number of hours/days after Normal Operations) or fixed (a fixed calendar time, such as end-of-month).
REQ.0.2.173
Metering Generator Output:  A performance evaluation methodology in which the Demand Reduction Value is based on the output of the generation asset, used when a generation asset is located behind the Demand Resource’s revenue meter.
REQ.0.2.174
Non-Dispatchable Programs:  Programs in which Demand Resources curtail according to tariff structure, not in response to instructions from a Program Administrator.

REQ.0.2.175
Non-Spinning Reserve:  Operating reserves that can be started, synchronized and loaded within a specified time period.

REQ.0.2.176
Normal Operations:  The time following Release/Recall at which a Program Administrator may require a Demand Resource to have returned to its unrestricted Load usage, and to be available again for Deployment.

REQ.0.2.177
Operability Factor:  A net-to-gross percentage applied to the Demand Resource Availability Measurement, developed using a defined and documented testing protocol to verify both signal reception and device operation of the units in a retail Demand Response program, specific to a time period. 
REQ.0.2.178
Performance Window:  The period of time in a Demand Response Event analyzed by the Program Administrator to measure and verify the Demand Reduction Value for a Demand Resource.
REQ.0.2.179
Program Administrator:  An investor-owned, governmental or cooperative utility with the responsibility for developing and operating Demand Response programs. 

REQ.0.2.180
Ramp Period:  The time between Deployment and Reduction Deadline, representing the period of time over which a Demand Resource is expected to achieve its change in Demand.
REQ.0.2.181
Ramp Rate:  The rate, expressed in megawatts per minute, that a generator changes its output or a Demand Resource changes its Load during the Ramp Period. 
REQ.0.2.182
Real Time Pricing:  A retail rate in which the price for electricity fluctuates reflecting changes in the wholesale price of electricity.  

REQ.0.2.183
Recovery Period:  The time between Release/Recall and Normal Operations, representing the window over which Demand Resources are required to return to their normal Load.
REQ.0.2.XXX
Recovery Rate:  The rate, expressed in megawatts per minute, that a generator changes its output or a Demand Resource changes its Load during the Recovery Period.
REQ.0.2.184
Reduction Deadline:  The time at the end of the Ramp Period when a Demand Resource is required to have met its Demand Reduction Value obligation.

REQ.0.2.185
Regulation Service:  A type of Demand Response service in which a Demand Resource increases and decreases Load in response to real-time signals from the Program Administrator.  Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to Demand Response Event timelines.
REQ.0.2.186
Release/Recall:  The time when a Program Administrator notifies a Demand Resource that the Deployment Period has ended or will end.
REQ.0.2.187
Spinning Reserve:  Operating reserves from resources that are synchronized to the grid and can respond to instructions from the Program Administrator.
REQ.0.2.188
Sustained Response Period:  The time between Reduction Deadline and Release/Recall, representing the window over which a Demand Resource is required to maintain its reduced net consumption of electricity. 
REQ.0.2.189
Telemetry:  Real-time continuous communication between a Demand Resource or Demand Response Provider and the Program Administrator.
REQ.0.2.190
Telemetry Interval:  The time unit between communications between a Demand Resource or Demand Response Provider and a Program Administrator.
REQ.0.2.191
Time-of-Use Rates:  Rates where usage unit prices vary by more than one time period within a 24-hour day  to reflect the average cost of generating and delivering power during those time periods.  Daily pricing blocks may include, but are not limited to, an on-peak, partial-peak, and an off-peak price for non-holiday weekdays, with the on-peak price as the highest price, and the off-peak price as the lowest price.

REQ.0.2.192
Validation, Editing and Estimation:  The process of confirming the accuracy of raw meter data and, if necessary, replacing corrupt or missing data.  VEE guidelines are published in the Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering.

Chart1



Meter Before/Meter After

Data	80	80	90	100	90	70	80	80	80	40	40	40	40	40	40	40	40	40	60	90	90	90	90	80	kW



Sheet1

		0.8		80

		0.8		80

		0.9		90

		1		100

		0.9		90

		0.7		70

		0.8		80

		0.8		80

		0.8		80

		0.4		40

		0.2		40

		0.2		40

		0.2		40

		0.2		40

		0.3		40

		0.1		40

		0.2		40

		0.4		40

		0.6		60

		1		90

		0.9		90

		0.3		90

		0.2		90

		0.2		80





Sheet2





Sheet3






