[image: image1.png]



                                        North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org

Home Page: www.naesb.org


via email

TO:
Posting on the NAESB DSM-EE Page (http://www.naesb.org/dsm-ee.asp)
FROM: 
Cory Galik Cummings, NAESB Counsel
RE:
Notes from DSM-EE Work Group 3 – June 17, 2009 
DATE:

June 17, 2009
Dear DSM-EE Distribution List and Interested Parties,
The notes below and work papers referenced serve as the record for the meeting held on June 17, 2009.
	Agenda Topic
	Results of Discussion

	Administrative:
	The meeting began at 1:00 pm Central on June 17, 2009.  The roll was taken and participants were welcomed.  Antitrust was given and the agenda was adopted.

	Attendees:
	Aaron Breidenbaugh, EnerNOC
Eric Winkler, ISO New England

Murtaza Kapadia, CPower
John Ciza, Southern Company

Scott Coe, UISOL

Roddy Diotalevi, The United Luminating Co.

Dave Webber, Enstar

Mike Robinson, Midwest ISO
	Cory Galik Cummings, NAESB
Rae McQuade, NAESB
Donna Pratt, NY ISO
Wendell Miyaji, Comverge

Marie Pieniazek, DR Energy Consulting

Mark Westendorf, Midwest ISO

Janette Dudley, CPower

Doug Smith, National Grid

	Agenda:
	· Administrative: Welcome to members and attendees, Antitrust Guidelines, Introductions, Adoption of Agenda

· Review of Comments on Phase I Standards

· Next Steps and Meetings
· Adjourn

	Discussion:
	· Mr. Breidenbaugh opened the meeting and welcome participants.  
· The work group began with a review EnerNOC’s edits of capacity products, in particular the manner in which an entity measures the performance of a group of facilities.  Mr. Breidenbaugh stated that EnerNOC’s experience has been to look at the sum of the individual resources that make up the aggregation.    He also noted that it is important for customers to know, during an event, whether or not they are underperforming but with a group of resources there is a strong likelihood that the peak hour for an event for the aggregation will be different than the peak for each individual resource.  Mr. Coe noted that this topic should be reviewed further before it is solidified in the standards.  Mr. Miyaji noted this issue may need to be addressed in the definition of resources.  Ms. Pratt stated that the issue is whether to treat a group based on coincident or non-coincident demand and the proposed language gives each load non-coincident demand.  Aggregators are typically treated as a single unit but NY ISO has a hybrid of individual resources grouped together but treated as individuals.  Mr. Winkler suggested the language may be more appropriate under methodologies.  
· The work group next focused on telemetry and whether or not there is a standard protocol that can be inserted.  It was suggested that this is an area where regional differences could apply.  Mr. Coe noted that there were some interesting models with a great deal of variation in this area and he was not sure that there was one right method at this point.  Mr. Winkler suggested that the IRC matrix has been provided for additional detail.  He suggested using the matrix to determine commonality.  It was noted that telemetry requires two-way communication between the System Operator and the resource and that the cost borne by the resource could be a barrier to entry.  It was further discussed whether or not telemetry could also be one-way.  
· Ms. McQuade stated that the work group can note where regional differences may occur.  She also suggested that the stakeholders work through the NAESB process to voice their position because if the FERC adopts the standards they will have to be followed.  In order to make any changes to the standards, votes will have to be cast.  She reviewed the NAESB voting process at the work group level.  She suggested that the work group begin by reviewing one product and ask participants to provide rationale for changes.  The glossary could also be reviewed to determine where greater clarity can be added.

	Adjourn:
	The meeting adjourned at 2:49 PM Central.

	Next Meeting:
	· The next WEQ DSM work group will be held on July 1, 2009 from 3:00 pm to 5:00 pm Central.


Notes from DSM Task Force – Work Group 3 Drafting Team, June 17, 2009
Page 1  of 2

