Comments Submitted by E. Skiba on behalf of California ISO, ERCOT, IESO, ISO New England, Midwest ISO, New York ISO, PJM, SPP


INFORMAL COMMENTS
Quadrant:
Wholesale Electric Quadrant

Recommendations: 
WEQ request for informal comments on the second phase of proposed measurement and verification business practice standards for Wholesale Electric Market Demand Response Programs 
Submitted By:
California ISO, ERCOT, IESO, ISO New England, Midwest ISO, New York ISO, PJM, SPP
Date:
October 29, 2010

The ISOs/RTOs listed above are submitting the following comments for consideration by the DSM-EE Wholesale DR Working Group.  In addition to these comments, the ISOs/RTOs are submitting redlined changes for consideration.
1. Added a definition of “Governing Documents” and replaced all references to the lengthy list with the (capitalized) term.
WEQ.0.3.31. Governing Documents: Documents that govern the interactions between a System Operator and other parties, including but not limited to: applicable law, regulatory documents (e.g. tariffs, rules, regulations), contractual agreements, operational manuals, other relevant models, and operational procedures. 

2. Deleted second (redundant) use of the Baseline example chart.

3. In multiple cases, specified a metering accuracy requirement of up to 2% of full scale, consistent with the values in the IRC Matrix.
4. Rewrote the requirements around aggregations as follows:  “The Governing Documents shall specify any requirements for aggregated Demand Resources.”
5. For Regulation Products, specified a more narrow telemetry accuracy requirement of up to 3% of full scale, consistent with the values in the IRC Matrix.  
6. In all cases except Regulation Service, specified a maximum telemetry interval of 5 minutes, consistent with the values in the IRC Matrix.
7. For Energy and Capacity Products, specified a Meter Data Reporting Deadline value of between 1 and 103 days after the Demand Response Event, consistent with the values in the IRC Matrix.

8. For Regulation and Reserve Products, specified a Meter Data Reporting Deadline of a maximum of 55 days after the Demand Response Event, consistent with the values in the IRC Matrix.
9. In all cases, specified a maximum Meter Data Reporting Interval of 1 hour, consistent with the values in the IRC Matrix.

10. For Regulation Service, specified a maximum telemetry interval of 6 seconds, consistent with the values in the IRC Matrix and NERC standards.

11. Changed the requirement for Governor Response Equivalent to eliminate the reference to “either by dispatch instructions or automated response.”  

12. For regulation, changed the standard for After-the-Fact Metering to state that it is required unless otherwise specified by the Governing Documents.

13. Changed the standard for a Baseline Adjustment Window to specify that the window shall begin a maximum of four hours prior to the start of a deployment event, consistent with the values in the IRC Matrix.  
14. Added a standard for the use of Real-Time Telemetry in the section relating to Baseline Type 1 Event Information, to state that the use of Telemetry is optional.

15. Amended the standards for After-the-Fact Metering in the section relating to Baseline Type 1 Event Information, to state that the use of After-the-Fact metering is required unless the use of Telemetry is specified as the method of measurement.

16.  Made various suggested changes to improve clarity or grammar.
17. Simplified the language relating to After-the-Fact metering as it relates to Baseline-Type II, without changing the meaning or intent.

18. Changed the standard for the measurement type “Regression,” as it relates to Baseline-Type II, to make it consistent with that for Baseline-Type I.
19. The ISOs/RTOs also recommend that the Definitions of Terms section be moved to WEQ-000 to be consistent with other Business Practices Standards.

