Subject: Comments on NAESB Retail Electric Quadrant Business Practice Standards for Measurement and Verification of Energy Efficiency Programs (Version 100611)

Dear Working Group,

Many of the signatories to these comments have extensive professional expertise in energy efficiency program development as well as protocol development.  Moreover, many of us participated in the development of ISO-NE’s M&V Manual for the Forward Capacity Market as well as the NAESB Wholesale Standards.  Informed by this combined experience, we note there are two languages being used to communicate the same concepts: the NAESB/ISO language differs from standard industry protocols and guides, as well as the definitions used by state regulatory bodies – broadly, the efficiency program evaluation community.  With this memo, we submit a redlined version of the draft NAESB model retail EE business practices in which we propose changes that will: a) reduce redundancy in the organization of the document; and b) enhance accessibility to or common understanding of the key concepts by both the ISO/NAESB stakeholders and the efficiency program evaluation community.  Please note that with the changes we propose in the redline attachment, we could join others in recommending adoption of a draft.

In the text below, we identify key concerns that lead us to propose changes.    At a high level, the 100611 draft retail MBP is much narrower in scope and does not provide as much guidance and direction on a wide range of impact evaluation issues as the earlier version developed by the working group over the prior year.

Our primary concern with the new version is that it be aligned with standard practices within the energy efficiency evaluation, measurement and verification industry.

The areas we have identified are:

Scope

Is the purpose of the document how to determine the savings from energy efficiency programs or will it have a narrower focus on estimating savings from individual projects? This fundamental question has hounded the working group from its inception. A Scoping Paper prepared in May, 2010 clearly states that “it is the opinion of the working group that the audience for this Model Business Practice is concerned primarily with the energy savings impacts of energy efficiency programs rather than the savings from individual energy efficiency projects.” This position was based largely upon the wording in the annual plan:

Item 4. Review and develop business practices standards to Demand Response, Demand Side Management and Energy Efficiency Programs:  Review and develop needed model business practices for a standardized method for quantifying benefits, savings, cost avoidance and/or the reduction in energy demand and usage derived from the implementation of demand side management and energy efficiency programs.  This effort will include demand side response, energy efficiency programs and metering, including the 'curtailment service provider' program.

Moreover, the executive committee indicated their approval of focusing the scope on determining the savings of programs.

We believe that confusion may arise because the title of the document is “Measurement & Verification of Energy Efficiency Programs”, but the body of the document primarily addresses methods for estimating the savings from individual projects. Minimal guidance is given for how to aggregate these project-level estimates to determine program level savings.

The signatories do not have a strong preference for the scope of the document. What is critical is that the language matches the scope. Additional concerns relating to misalignment of language and scope include: a) readers may be led to believe that the project-level approaches discussed in the document are to be applied to every project in the program and/or (b) that the only way to determine program impacts is to assess individual measures or projects (whereas other approaches are commonly used such as the use of non-participant control groups and broad sampling approaches).

Industry standard terms

While ideally, we recommend  that the terms M&V, evaluation, and EM&V be defined and used in the MBP as they are defined and used by the efficiency industry, in the redlined draft, we are proposing a compromise strategy that we believe reduces confusion without recommending additional revisions to the glossary.

The commonly accepted usage is that M&V applies to the process of determining the savings from one or more measures at a single site and involves at least some degree of “measurement” of factors indicating or affecting project (facility) energy use.  Where the impact of multiple measures or interventions must be determined, such as when determining the energy savings from a utility-sponsored energy efficiency program, the standard term is “Impact Evaluation”.  In other words, Measurement and verification is a term of art that applies to projects or specific efficiency measures while Evaluation is the term of art for determining the benefits of programs.  In addition, M&V does not include the use of only deemed savings values, as these are agreed to values, developed ex-ante, and do not involve measurements for the specific project under consideration; implying that M&V can include the use of only ex-ante stipulations may cause confusion.

Suggested Edits

We believe that these suggested edits meet the intent of the 100611 Draft, while addressing the concerns identified above.

- NAESB may wish to include requirements for the ‘verification’ aspects of Measurement and Verification, or to at least acknowledge the role of verification. See possible text included as REQ 19.3.1.3

- NAESB may wish to include requirements for determining life-cycle as well as first year energy savings and demand reductions.  See possible text included as REQ 19.3.1.4

- REQ.19.3.2.3	Standard Energy Efficiency Baseline:  The criteria as to which baseline should be applied should not be the most stringent, but the one that is applicable to the four primary conditions defined in REQ.19.3.2.2, Energy Efficiency Considerations. For example, for a) Replacement of functional equipment still within its current useful life, the baseline should not necessarily be a more stringent code, but the existing rating of the equipment or system, at least for remaining useful life. To the point of remaining life, it could be noted that the options listed in this REQ could possibly be used in combinations.

- REQ.19.3.3, M&V Methodologies for Gross Savings, is in conflict with REQ.19.3.1.1,	Acceptable Methodologies.  This is because they list two different sets of approaches for determining savings, deemed savings is not a “measurement and verification” approach (there is no measurement at the project site, values are agreed to ex-ante), and metered data sampling and large-scale data analysis (using control groups) are program savings determination approaches, whereas the other methods are applicable to projects.  We expect that this cause of confusion is the introduction of gross savings at this point in the document.  We’d suggest if the MBP is to cover projects, that the concept of gross (or net) savings not be introduced as it is generally not applied to project savings in the efficiency industry, only to program results. See edits to REQ. 19.3.2.3 and 19.3.2.4 and removal of 19.3.3.

- 19.3.4 on sampling does not make clear if it is referring to program-level, portfolio-level or other savings.

- REQ.19.3.4.1.2, Sample Size Calculation. It should be made clear that the reference to cv values are just examples and not an indication of a requirement.

- REQ.19.3.4.1.5, Sample Bias Control:  Change “should include” to “may include”.

- REQ.19.3.5.1,	Energy Efficiency Value Calculation Variables: This section should be deleted as it is unclear in its intent and because prior requirements allow the inclusion of approaches, such as deemed savings and IPMVP Option A, that do not require the measurement of energy or demand.  In fact many M&V approaches require the measurement of factors such as operating hours versus “energy”, since ‘energy use’ (e.g. Watts) is obtained from nameplate ratings.  This requirement also seems to conflict with REQ.19.3.6.1.  It is removed in the redline version we are sending.

- Please note that we have added language that points the reader to specific, industry standard references, such as IPMVP, EM&V Forum Glossary, NAPEE Guide (updated version), RTF database, and ASHRAE 14 as supplemental resources.

Respectfully Submitted,

Kevin Warren - Working Group Co-Chair

Julie Michals - NEEP, Working Group Co-Chair

Rodney Sobin - Alliance to Save Energy, Working Group Co-Chair

Steve Kromer - Board of Directors, EVO

Steve Schiller -Board of Directors, EVO

Carla Frisch - Energy Efficiency and Renewable Energy, US DOE

See definitions of measure, project, program and portfolio as agreed to by Definitions sub-committee during conference call of 11/30/11.