Comments Submitted by E. Winkler on behalf of AESO, California ISO, ERCOT, IESO, ISO New England, New Brunswick System Operator, Midwest ISO, New York ISO, PJM, SPP


INFORMAL COMMENTS
Quadrant:
Wholesale Electric Quadrant

Recommendations: 
WEQ request for informal comments on the proposed measurement and verification business practice standards for Wholesale Electric Market Energy Efficiency Products
Submitted By:
AESO, California ISO, ERCOT, IESO, ISO New England, New Brunswick System Operator, Midwest ISO, New York ISO, PJM, SPP
Date:
November 8, 2010

The ISOs/RTOs listed above are submitting the following comments for consideration by the DSM-EE Wholesale Energy Efficiency Working Group.  In addition to these comments, the ISOs/RTOs are submitting redlined changes for consideration.
1) General cleanup of capitalization of defined terms and removed capitalization of undefined terms.
2) General grammatical cleanup and changes for clarity.

3) Page 2, WEQ.020.000-1. Abbreviations and Acronyms.  Updated Abbreviation/Acronym list: ANSI, ASHRAE, c.v., FEMP, HVAC, IEEE, kHz, M&V, RMS.
4) Page 2, WEQ.020.000-2. Definition of Terms. Reorganized definitions to be alphabetical; modified Demand Reduction Value, Energy Efficiency Capacity Resource and Measurement and Verification; removed Governing Documents (already defined in Phase II DR M&V standards).
5) Page 4, WEQ.020.2.1.1. Added  clarifying language about documents in conflict “these standards and Governing Documents.”
6) Page 5, WEQ.020.3.1. Added to title for clarity that these are not requirements but “use criteria in wholesale markets”
7) Page 5, WEQ.020.3.1.2-4. Added applicability to Governing Documents

8) Pages 5&6, WEQ.020.3.2.1-11. Added qualifier that “Plan should include”. 
9) Page 6&7, WEQ.020.3.3. Removed subsections and put requirement in main body of section.

10) Page 7, WEQ.020.3.3.2. Changed “monthly or at least annually” to “at least annually”.  Has same meaning.
11) Page 7, WEQ.020.3.4. Removed subsections and put requirement in main body of section.
12) Page 7, WEQ.020.3.5. Removed subsections and put requirement in main body of section.

13) Page 7&8, WEQ.020.3.6.1.  Added language after each methodology describing what the methodology is.  Provided footnote reference to source for IPMVP.

14) Page 9, WEQ.020.3.7.1.  Renumbered four baseline conditions to standards format.

15) Page 9, WEQ.020.3.8.1.  Added description of general requirements for Statistical Significance requirements. Reorganized subsections.
16) Page 10, WEQ.020.3.9.1.  Reorganized subsections and clarified a sentence 
17) Page 10, WEQ.020.3.9.2.  Changed reference to Governing Documents

18) Page 11, 20.3.10.  Reorganized subsections and some sentences

19) Page 11-12, WEQ.020.3.11.  Added footnote reference to FEMP M&V Guidelines.

20) Page 13, Supporting Documentation.  Added Description of Request and Recommendation.
